NOTE FROM THE IPPC SECRETARIAT: Proper formatting for tables and keys will be applied before publishing the diagnostic protocol.

| [1] | Draft Annex to ISPM 27 – Tomato spotted wilt virus, Impatiens necrotic spot virus and Watermelon silver mottle virus (2004-019) |
| --- | --- |
| [2] | Status box This is not an official part of the standard and it will be modified by the IPPC Secretariat after adoption. Date of this document 2016-06-28 Document category Draft annex to ISPM 27 (Diagnostic protocols for regulated pests) Current document stage To DP notification period Origin Work programme topic: Viruses and phytoplasmas (2006-009), CPM-1 (2006) Original subject: Tospoviruses (TSWV, INSV, WSMoV) (2004-019) Major stages 2005-12 First draft presented to Technical Panel om Diagnostic Protocols (TPDP) (meeting) 2013-04 Submitted to expert consultation on draft diagnostic protocols on IPP 2013-06 Draft presented to TPDP (meeting) 2014-08 TPDP e-decision for approval to submit to the SC for approval for member consultation (2014_eTPDP_Aug_01) 2014-12 SC e-decision for approval for member consultation (2015_eSC_May_01) 2015-02 Consultation period 2015-12 DP drafting group reviewed draft and responses to member comments 2016-02 TPDP e-decision for approval to submit to the SC for approval for adoption (2016_eTPDP_Mar_02) 2016-03 SC e-decision for approval to be submitted to the 45 day DP Notification Period (2016_eSC_May_13) 2016-07 DP Notification Period (objection received) 2016-09 TPDP virtual meeting 2016-10 TPDP approved the revised draft and responses to objection (2016_eTPDP_Oct_02) 2016-12 SC e-decision for approval to be submitted to the 45 day DP Notification Period (2017_eSC_May_01) 2016-12 DP notification period for adoption: objection received 2017-04 TPDP approval of revised draft DP and responses to objection (2017_eTPDP_Apr_02) 2017-05 SC approval to be submitted to the DP notification period (2017_eSC_May_13) Discipline leads history 2004-05 Gerard CLOVER (NZ) 2010-11 Delano JAMES (CA, Discipline Lead) 2012-07 Brendan RODONI (AU, Referee) Consultation on technical level The first draft of this diagnostic protocol was prepared by (lead author and editorial team): Mr Thomas GERMAN (Department of Entomology, University of Wisconsin-Madison, United States) Ms Jane MORRIS (Immunological and Molecular Methods Team (PLHC), Central Science Laboratory (CSL) / Plant Pest and Disease Programme, Fera, United Kingdom) Mr Gerhard PIETERSEN (Plant Protection Research Institute, Agricultural Research Council, South Africa) Ms Concepciόn JORDÁ-GUTIÉRREZ (Universidad Politécnica, Spain) The draft, in whole or part, has been commented on by: Mr Gerard CLOVER (Plant Health and Environment Laboratory, Ministry of Agriculture and Forestry, New Zealand) The draft has been reviewed by: Mr Richard KORMELINK (Wageningen University, Netherlands) Mr Scott ADKINS (USDA, United States) Mr Hanu PAPU (Washington State University, United States) Mr John SHERWOOD (Plant Pathology Department, University of Georgia, United States) Mrs Annelien ROENHORST (National Plant Protection Organization, Netherlands) Main discussion points during development of the diagnostic protocol The scope of the diagnostic protocol was refined to target only the species considered to be the most economically important or most common. This does not exclude the possibility that at some later time other Tospovirus species may be added to the protocol or separate protocols prepared, as the need arises and depending on the availability of suitable and validated diagnostic methods. The specificity of the various assays described is a concern, as is the limited availability of validation and sensitivity data. This contributed to the decision to exclude some assays recommended by expert reviewers. Some reviewers questioned the fact that real-time RT-PCR was not included as a recommended assay for detection/identification. It was felt that the lack of specificity of the assays described in publications limited their usefulness, but their existence is mentioned. Some reviewers wondered if it was necessary to include such an extensive list of herbaceous host indicators in the protocol. An extensive list is valuable because not all countries and labs have access to the same species, and some species may vary in symptom expression from one region, climate or country to another. - Footnotes and brand names (based on SC decision and according to TPDP instruction to authors): If in the DP there is more than one mention to a brand name, the second mention (and the sub sequential mentions) to a brand name shall be associated with the footnote number with the full text (e.g. If the first mention to a brand name is “footnote 1”, the subsequent mentions to brand names should be accompanied by the same footnote number). - Inclusion of information on specificity and on cross-reactions tests (more recent literature) and information on interpretation of results for ELISA tests. Notes 2014-10 Edited 2016-01 Edited This is a draft document |
| [3] | Contents |
| [4] | To be added later. |
| [5] | Adoption |
| [6] | This diagnostic protocol was adopted by the Commission on Phytosanitary Measures in 20--. |
| [7] | The annex is a prescriptive part of ISPM 27 (Diagnostic protocols for regulated pests). |
| [8] | 1. Pest Information |
| [9] | The genus Tospovirus includes the plant-pathogenic, thrips-transmitted members of the family Bunyaviridae. Tospoviruses are transmitted exclusively by thrips belonging to the family Thripidae, subfamily Thripinae (Riley et al., 2011). There are eleven definite members of the genus Tospovirus, of which Tomato spotted wilt virus (TSWV) is the type species, and at least 15 tentative members (King et al., 2012). The latest information on classification of the genus Tospovirus may be obtained from the International Committee on Taxonomy of Viruses (see http://ictvonline.org). Tospoviruses have been classified according to serological differences but more recent classifications are based on molecular data (de Avila et al., 1993). Viruses in the family Bunyaviridae have genomes composed of three negative or ambisense single-stranded RNAs that occur as ribonucleoprotein complexes (RNPs). Characteristic pleomorphic virus particles are formed by enclosure of RNPs in a host-derived membrane studded with surface projections composed of virally encoded glycoproteins. The viruses of this family are quasi-spherical, enveloped plant viruses 70–110 nm in diameter (Mumford et al., 1996b; EPPO, 1999a). |
| [10] | Tospoviruses cause devastating crop losses because of their wide distribution, broad host range (approximately 1 000 plant species) and the circulative replicative relationship between the virus and its thrips vector. This diagnostic protocol covers the three most economically important tospoviruses: TSWV, Impatiens necrotic spot virus (INSV) and Watermelon silver mottle virus (WSMoV). Examples of economically important hosts for TSWV are Arachis hypogaea (peanut), Capsicum annuum (sweet pepper), Carica papaya (papaya), Lactuca sativa (lettuce), Nicotiana tabacum (tobacco), Solanum lycopersicum (tomato) and Solanum tuberosum (potato) (EPPO, 1999a). Ornamental hosts for TSWV include Alstroemeria spp., Antirrhinum spp., Begonia spp., Celosia spp., Gerbera spp., Impatiens spp., Iris spp. and Zinnia spp. (EPPO, 1999a). INSV also causes significant damage in vegetable crops as well as in ornamental plants, including Ageratum spp., Begonia spp., Chrysanthemum spp. and Impatiens spp. (EPPO, 1999b; Windham et al., 1998, revised in 2015). WSMoV is a pathogen of cucurbits, the principal hosts being Citrullus lanatus (watermelon) and Cucumis melo (melon) (EPPO, 1999c). Spread or movement of all three of the viruses and their vectors on infected nursery stock is common, making detection and removal of infected material crucial. |
| [11] | TSWV is one of the most widespread plant viruses and occurs in countries of Africa, Asia, Central America and the Caribbean, Europe, North America, Oceania and South America (EPPO, 1999a). INSV has a more restricted geographic distribution than TSWV, occurring within Africa, Asia, Australasia, Central America and the Caribbean, Europe and North America (EPPO, 1999b). WSMoV is currently restricted to Asia and possibly parts of South America (EPPO, 1999c). The limited distribution described for the latter two viruses may reflect the fact that they were distinguished recently (EPPO, 1999b). |
| [12] | The three viruses are all transmitted and spread in nature by thrips (Frankliniella spp. and Thrips spp.), which acquire virus during the larval stages and transmit it via the adults. The viruses are not reported to be seed- or pollen-transmitted or mechanically transmitted by contact between plants. However, experimentally, they may be transmitted mechanically or by grafting (EPPO, 1999a, 1999b, 1999c). |
| [13] | 2. Taxonomic Information |
| [14] | Name: Tomato spotted wilt virus (TSWV) |
| [15] | Synonyms: Pineapple yellow spot virus (EPPO, 1999a) |
| [16] | Taxonomic position: Bunyaviridae, Tospovirus |
| [17] | Common names: None |
| [18] | Name: Impatiens necrotic spot virus (INSV) |
| [19] | Synonyms: None |
| [20] | Taxonomic position: Bunyaviridae, Tospovirus |
| [21] | Common names: None |
| [22] | Name: Watermelon silver mottle virus (WSMoV) |
| [23] | Synonyms: Watermelon silver mottle tospovirus, Watermelon silvery mottle virus, Watermelon tospovirus, TSWV-W (EPPO, 1999c) |
| [24] | Taxonomic position: Bunyaviridae, Tospovirus |
| [25] | Common names: None |
| [26] | 3. Detection |
| [27] | All plant parts of infected hosts, except seeds and pollen, can potentially harbour the three viruses. Lists of hosts of TSWV, INSV and WSMoV hosts are provided in EPPO (1999b), (1999a) and (1999c), respectively. |
| [28] | Tospoviruses generally induce symptoms that include leaf necrosis, chlorosis, ring patterns, mottling, silvering, local lesions and stunting. Symptoms depend on the strain of the virus, the host plant, and the environmental conditions at the time of infection and plant growth. However, in combination with other information such as the presence of thrips, symptoms can be an indicator for the presence of a tospovirus. More detailed symptom descriptions for TSWV, INSV and WSMoV are given below and have been described also in Cho et al. (1987), Lisa et al. (1990), Yeh et al. (1992), Daughtrey (1996) and Chatzivassiliou et al. (2000). |
| [29] | TSWV symptoms on tomato include leaf bronzing, curling, necrotic spots, necrotic streaks and stunting of the plants. Fruit symptoms are usually either irregular yellow–orange flecks and occasionally rings on red and green fruits, or necrotic lesions or rings on other fruits. Ripe fruits of affected plants have paler red or yellow skin. Affected plants may have severe necrosis and sometimes die prematurely. On C. annuum, the first symptom is vein yellowing, which is usually followed by chlorosis, stunting and yellowing of the plant, chlorotic line patterns or mosaics with necrotic spots on leaves, and necrotic streaks on stems extending to terminal shoots. Yellow spots or necrotic streaks may be observed on ripe fruits (EPPO, 1999a). On L. sativa, the main symptom is the appearance of numerous necrotic lesions; other symptoms include leaf discoloration and one-sided growth. On N. tabacum, necrotic lesions, necrotic rings and chlorotic rings are observed on leaves. |
| [30] | INSV symptoms on New Guinea impatiens hybrids include stunting, leaf spots and black discoloration at the leaf bases. A range of symptoms occur on ornamental plant hosts such as Alstroemeria spp., Gladiolus spp. and Lobelia spp., and on vegetable crops such as C. annuum, Cichorium endivia (endive), Cucumis sativus (cucumber) and L. sativa (EPPO, 1999b). |
| [31] | WSMoV symptoms on C. lanatus include foliar mottling, crinkling, yellow spotting and narrowing of leaf laminae as well as the growth of small, malformed fruits with necrotic spots or silver mottling, a reduced fruit set, severe stunting, shortened internodes, upright growth of branches and tip necrosis. On C. melo, foliar mottling, stunting, upright growth of branches and tip blight are observed (Yeh et al., 1992; EPPO, 1999c). |
| [32] | Appropriate sample selection is important for the detection of tospoviruses because they can be unevenly distributed in naturally infected hosts. Virus titre is likely to be low in hosts that have been infected recently by viruliferous thrips, depending on environmental conditions and on the host species or cultivar. Symptomatic leaves (or parts of symptomatic leaves, for example around necrotic lesions) should be used when available. It is recommended that newly expanded leaves should be selected rather than senescing material. Leaves should be stored at 4 °C for no more than seven days before processing, or at –80 °C if storage for an extended period is required. |
| [33] | Detection and identification of TSWV, INSV and WSMoV can be achieved using biological, serological or molecular tests following the flow diagram shown in Figure 1. Lateral flow tests may be used as a preliminary screening tool for virus detection in symptomatic material. |
| [34] | The tests described in Figure 1 are the minimum requirements to detect and identify the three viruses (e.g. during routine diagnosis of a pest widely established in a country), but further tests may be required where the national plant protection organization (NPPO) requires additional confidence in the identification (e.g. detection in an area where the virus is not known to occur). For example, sequencing of amplicons generated using molecular tests may be done. When a virus is suspected to be present in a new region or host it is recommended that both a serological test and a molecular test be used for detection. |
| [35] | The recommended techniques for the tests are described in the following sections. In all tests, positive and negative controls must be included. |
| [36] | In this diagnostic protocol, methods (including reference to brand names) are described as published, as these defined the original level of sensitivity, specificity and/or reproducibility achieved. The use of names of reagents, chemicals or equipment in these diagnostic protocols implies no approval of them to the exclusion of others that may also be suitable. Laboratory procedures presented in the protocols may be adjusted to the standards of individual laboratories, provided that they are adequately validated. |
| [37] | Figure 1. Minimum requirements for the detection and identification of Tomato spotted wilt virus, Impatiens necrotic spot virus and Watermelon silver mottle virus (e.g. for the routine diagnosis of a pest widely established in a country). |
| [38] | DAS-ELISA, double-antibody sandwich enzyme-linked immunosorbent assay; RT-PCR, reverse transcription-polymerase chain reaction; TAS-ELISA, triple-antibody sandwich enzyme-linked immunosorbent assay. |
| [39] | 3.1 Biological detection |
| [40] | Herbaceous indicator species used to detect TSWV, INSV and WSMoV are given in Table 1. At least two species and at least two plants per species should be used, and positive and negative controls should be included in biological tests. |
| [41] | Indicator plants should be propagated from seed, planted in a well-drained soil mixture and maintained in an insect-proof facility at approximately 20–25 °C. Indicator plants should be kept in the dark for 24 h before inoculation to enhance susceptibility. Plant material to be tested should be macerated with chilled inoculation buffer (0.01 M phosphate buffer, pH 7.0, containing 1% sodium sulphite) using a chilled mortar and pestle; approximately 1 g tissue to 4 ml buffer. Tospoviruses are very labile therefore buffers should be kept ice-cold and inoculum used as soon as possible after preparation. Sap extract should be applied to the leaves of young plants with a small amount of celite (mixed with sap) or carborundum powder (applied lightly to leaves). Using a gloved ﬁnger, the sap should be gently rubbed down the top surface of the lamina away from the plant stem. The inoculum should be allowed to sit on the leaves for a minimum of 1 min, then the leaves should be washed carefully to remove any residual abrasive powder. Following inoculation, the indicator plants should be maintained at either approximately 20 °C (for TSWV and INSV) or approximately 20–25 °C (for WSMoV). Symptoms usually develop within 7 to 28 days, depending on the indicator plant and the inoculum type and concentration. |
| [42] | Herbaceous indexing is considered to be a reliable and sensitive method of detection, but there are no quantitative data published on its specificity, sensitivity or reliability. It is not a rapid test (symptom development requires at least seven days after inoculation), it requires dedicated facilities (such as temperature-controlled greenhouse space) and the symptoms may be confused with those of other pests (in particular other tospoviruses). However, virus concentration is often greater in infected herbaceous indicator species than in the natural host plants. TSWV, INSV and WSMoV can be detected more reliably by other tests described in the protocol by testing inoculated herbaceous indicator plants. |
| [43] | Table 1. Selected herbaceous indicator species for Tomato spotted wilt virus, Impatiens necrotic spot virus and Watermelon silver mottle virus |
| [44] | Species†,‡ Family Symptoms Reference Tomato spotted wilt virus Petunia hybrida cultivars Pink Beauty and Minstrel Solanaceae Local necrotic lesions on inoculated leaves, not systemic Brunt et al. (1996); Kormelink (2005) Nicotiana tabacum cultivars Samsun and White Burley; Nicotiana glutinosa; Nicotiana clevelandii; Nicotiana rustica Solanaceae Local necrotic lesions on inoculated leaves, systemic necrotic patterns and leaf deformation Brunt et al. (1996); Kormelink (2005) Nicotiana benthamiana Solanaceae Chlorotic to necrotic ring spots, local lesions on inoculated leaves, systemic chlorosis, mosaic stunting Vaira et al. (1993); Louro (1996) Cucumis sativus Cucurbitaceae Chlorotic spots with necrotic centres, not systemic Brunt et al. (1996); Kormelink (2005) Datura stramonium Solanaceae Chlorotic and necrotic spots and rings on inoculated leaves, systemic mosaic and mottling Vaira et al. (1993) Lycopersicon esculentum cv. Marmande Solanaceae Chlorotic to necrotic spots and rings on inoculated leaves, systemic mosaic, systemic chlorosis and necrotic spots Vaira et al. (1993); Brunt et al. (1996) Impatiens spp. Balsaminaceae Chlorotic to necrotic spots or rings on inoculated leaves, systemic chlorotic to necrotic spots Daughtrey et al. (1997) Impatiens necrotic spot virus Impatiens spp. Balsaminaceae Some necrotic spots or rings, systemic chlorotic or necrotic spots Brunt et al. (1996) Nicotiana tabacum cv. White Burley Solanaceae Local necrotic lesions on inoculated leaves (some isolates) Vaira et al. (1993); Daughtrey et al. (1997) Nicotiana benthamiana Solanaceae Chlorotic to necrotic ring spots or local lesions on inoculated leaves, systemic chlorosis and stunting Vaira et al. (1993); Daughtrey et al. (1997) Nicotiana clevelandii Solanaceae Local necrotic lesions on inoculated leaves, systemic mosaic Vaira et al. (1993) Datura stramonium Solanaceae Chlorotic spots or systemic mosaic Vaira et al. (1993); Daughtrey et al. (1997) Petunia hybrida Solanaceae Small necrotic spots on inoculated leaves, not systemic Daughtrey et al. (1997) Lycopersicon esculentum Solanaceae Variable between isolates, lesions on inoculated leaves only Vaira et al. (1993); Daughtrey et al. (1997) Watermelon silver mottle virus Nicotiana benthamiana Solanaceae Systemic mottling Yeh et al. (1992) Datura stramonium Solanaceae Local lesions on inoculated leaves, systemic mottling or necrotic spots Yeh et al. (1992) Petunia hybrida Solanaceae Local lesions on inoculated leaves, not systemic Yeh et al. (1992) Chenopodium amaranticolor; Chenopodium quinoa Chenopodiaceae Local lesions on inoculated leaves, not systemic Yeh et al. (1992) Cucumis sativus Cucurbitaceae Systemic chlorotic spots and mottling, rolling of leaf edges Yeh et al. (1992) Nicotiana rustica Solanaceae Local lesions, systemic necrotic spots and mottling Yeh et al. (1992) |
| [45] | † The indicator species are in the order recommended for each virus. ‡ The names used in the table are the names mentioned in the references cited (e.g. Lycopersicon esculentum is used in the listed references while the accepted binomial name for tomato is Solanum lycopersicum). |
| [46] | 3.2 Serological detection |
| [47] | 3.2.1 Lateral ﬂow tests |
| [48] | Lateral flow tests can be done on symptomatic material in the field and they provide results within a few minutes. However, there are no quantitative data available on the specificity, sensitivity or reliability of lateral flow tests, and false negatives and false positives may occur. Positive tests must be confirmed by additional serological or molecular tests. |
| [49] | Lateral flow tests are commercially available for TSWV and INSV and may be used to rapidly detect these viruses. No tests are currently available for WSMoV. The tests are designed for use with symptomatic material. Different formats are available from Agdia, Forsite Diagnostics1 and Neogen1, and the tests should be done according to these manufacturers’ instructions. There is no positive or negative control; rather, there is an internal control to verify the test has performed as it should. |
| [50] | 3.2.2 DAS-ELISA and TAS-ELISA |
| [51] | Double-antibody sandwich (DAS)-enzyme-linked immunosorbent assay (ELISA) or triple-antibody sandwich (TAS)-ELISA should be performed using kits that have been assessed for their reliability and specificity. Some tests may cross-react with other tospoviruses. All tests should be done according to the manufacturer’s instructions. ELISA is highly recommended for screening large numbers of samples. |
| [52] | Samples should be tested in duplicate using two wells on the microtitre plate, and with appropriate controls run alongside. Positive controls can be infected tissue or virus maintained in indicator plants (frozen at −80 °C or lyophilized). Negative controls should preferably be healthy plant material from the same species as that being tested as well as extraction buffer. A healthy negative control is important as certain plant extracts, for example Fuchsia, may give false positive results (Louro, 1996). |
| [53] | The ELISA methodologies, including reagents, were validated in a European Union DIAGPRO test performance study (SMT 4-CT98-2252) (EPPO, 2004) with all laboratories accurately detecting TSWV and INSV (antisera source: Neogen-Adgen1) and WSMoV (antiserum source: DSMZ1). The respective antisera reacted only with the homologous virus species. Although test performance studies have been conducted, identification based on serological methods can be affected by cross reactions (See Supplemental Data in Hassani-Mehraban et al., 2016). |
| [54] | 3.2.3 Interpretation of ELISA results The recommendations for the interpretation of ELISA results described below are based on the EPPO protocol PM 7/125 (1) (EPPO 2015). |
| [55] | The serological test will be considered valid only if: |
| [56] | the positive controls included in the test produce the expected colour or colorimetric response |
| [57] | and the negative controls included in the test produce a negative response and do not produce a response similar to the positive control. The ELISA is considered positive if the average optical density (OD) value from each of the duplicate sample wells is ≥2× the OD value of the negative control of healthy plant extracts. When using polyclonal antibodies, it is essential that the negative controls are as similar as possible to the matrix tested in the same plate. The ELISA is considered negative if the average optical density (OD) value from each of the duplicate sample wells is <0.1 or is <2× the OD value of the negative control of healthy plant extracts. The test should be repeated when duplicate wells differ by more than 50% OD value. |
| [58] | 3.3 Molecular detection |
| [59] | Molecular methods may be more expensive and/or time-consuming than serological methods, especially for large-scale testing. However, molecular methods are generally more sensitive than serological methods (see, for example, Chu et al. (2001)). The reverse transcription (RT)-polymerase chain reaction (PCR) method described in this diagnostic protocol enables the detection of TSWV, INSV or WSMoV using species-specific primers, or tospovirus species (including Groundnut ringspot virus (GRSV) and Tomato chlorotic spot virus (TCSV) as well as TSWV, INSV and WSMoV) using genus-specific primers. Liu et al. (2009) described primers for RT-PCR detection of INSV that target the nucleoprotein gene and generate an amplicon approximately 364 base pairs (bp) in size, but no data were provided on reaction conditions or specificity. The protocols described below give some indication of specificity. |
| [60] | Real-time RT-PCR methods have been published for TSWV but not for INSV or WSMoV. However, the specificity of the TSWV method published by Roberts et al. (2000) and Dietzgen et al. (2005) has not been reported, while the method of Boonham et al. (2002) cross-reacts with GRSV and TCSV. Detection of a tospovirus using real-time RT-PCR may result in an inability to confirm the identity of the virus using other methods because of the inherent sensitivity of real-time RT-PCR. If it is used as a confirmatory test then the issue of the lack of specificity of the real-time RT-PCR may not be a concern. The real-time RT-PCR method described by Boonham et al. (2002) has been used for monitoring the presence of viruliferous thrips, and can detect virus even in individual thrips. |
| [61] | In addition, both Chen et al (2012) and Hassani-Mehraban et al. (2016) described generic and specific primers for use in RT-PCR for the detection and/or identification of tospoviruses. This protocol provides the sequences of the generic primers that can be used for the detection of TSWV, INSV and/or WSMoV. Sequence analysis of the amplicons obtained by the tests described by Hassani-Mehraban et al. (2016) can be used for provisional identification of the species.The specific primers for TSWV, INSV and WSMoV described in the latter publication were used only to confirm the identity of isolates and have not been fully validated or optimised for routine use. |
| [62] | For molecular tests, plant extracts that are fresh or frozen (stored between −20 and −80 °C for periods of up to one year) can be used. Extraction of RNA should be done using the RNeasy Plant Mini Kit (Qiagen1), SV Total RNA Isolation System (Promega1) or any other appropriately validated protocol, according to the manufacturer’s instructions. |
| [63] | 3.3.1 Conventional RT-PCR |
| [64] | Generic primers of Mumford et al. (1996a) for tospoviruses: |
| [65] | S1 UNIV-forward (F): 5′-TGT A (G/A) TG (T/G)TCCAT(T/A)GCA-3′ |
| [66] | S2 UNIV-reverse (R): 5′-AGA GCA AT (T/C) GTG TCA-3′ |
| [67] |  |
| [68] | Primers of Mumford et al. (1994) and (1996a) for TSWV (primers L1 and L2) and INSV (primers S1 and S2), respectively: |
| [69] | L1 TSWV-R: 5′-AAT TGC CTT GCA ACC AAT TC-3′ |
| [70] | L2 TSWV-F: 5′-ATC AGT CGA AAT GGT CGG CA-3′ |
| [71] | S1 INSV-F: 5′-AAA TCA ATA GTA GCA TTA-3′ |
| [72] | S2 INSV-R: 5′-CTT CCT CAA GAA TAG GCA-3′ |
| [73] | Primers of Chu et al. (2001) for WSMoV: |
| [74] | WSMoV-NR: 5′-ACA GAA AGG TTA GCA CTG AA-3′ |
| [75] | WSMoV-NF: 5′-ACA GAG GAC TCC ACT CCC GG-3′ |
| [76] | The RT reaction is done in a microfuge tube containing 10 μl reaction mixture composed of: 0.2 μM reverse primer (S2 UNIV-R, L1 TSWV-R, S2 INSV-R or WSMoV-NR), 1 mM dNTPs, 2 µl of 5× M-MLV buffer, 100 U M-MLV reverse transcriptase, 0.5 U RNase inhibitor and 1 µl RNA sample. The reaction conditions are: 37 °C for 1 h. |
| [77] | Following RT, 40 μl of PCR reaction mixture is added to the tube. The mixture is composed of: 0.2 μM forward primer (S1 UNIV-F, L2 TSWV-F, S1 INSV-F or WSMoV-NF), 1.5 mM MgCl2, 5 μl of 10× Taq polymerase buffer and 1.25 U Taq DNA polymerase. The reaction is performed under the following thermocycling conditions: 5 min at 94 °C; 30 cycles of 1 min at 94 °C, 1 min at 48 °C (S1/S2 UNIV primers), 50 °C (WSMoV-NR/NF primers) or 55 °C (S1/S2 INSV and L1/L2 TSWV primers) and 1 min at 72 °C; followed by a final extension for 10 min at 72 °C. The PCR products are analysed by gel electrophoresis. |
| [78] | The S1/S2 INSV and L1/L2 TSWV primers produce a 602 bp and a 276 bp amplicon with INSV and TSWV, respectively. The WSMoV-NR/NF primers produce a 700 bp amplicon with WSMoV. The generic S1/S2 UNIV primers produce a 871 bp amplicon with TSWV, INSV and other tospoviruses, or a 933 bp amplicon with WSMoV. Broad-spectrum degenerate primers of Chen et al. (2012) for Tospovirus: gM410-F: 5′-AAC TGG AAA AAT GAT T(T/C) (A/T/C/G) (T/C) TTG TTG G-3′ gM870c-R: 5′-ATT AG(C/T) TTG CA(T/G) GCT TCA AT(A/T/G/C) AA(A/G)G C-3′ First strand cDNA synthesis is carried out at 50 °C for 30 min and terminated by heating at 94°C for 2 min followed by PCR amplification carried out as follows; 35 cycles of 94 °C for 30 sec, 52 °C for 30 sec and 72 °C for 30 sec, with a final extension step of 72 °C for 10 min. The degenerate primers gM410-F and gM870c-R were designed based on the NSm gene sequences of a range of tospoviruses including TSWV, INSV and WSMoV and they amplify a 0.5 kb fragment. All tosopviruses included in the study, except peanut chlorotic fan-spot virus (PCFV), were detected including the viruses targeted in this protocol. No amplification was observed with healthy controls or with non-tospoviruses included in the study (Chen et al., 2012). Primers for generic detection of American clade 1 tospoviruses (including TSWV and INSV; Hassani-Meharaban et al., 2016) • AM1-F: 5’-GGG GGA TCC AGA GCA ATT GTG TC-3’ • AM1-R: 5’- CTT TGC TTT TCA GCA CAG TGC A-3’ Primers for generic detection of Asian clade 1 tospoviruses (including WSMoV; Hassani-Mehraban et al., 2016) • AS-EA-F: 5’-GGG GGA TCC AGA GCA ATC GAG G-3’ • AS1-R: 5’-GCT TCA GTC CTC TTA AAT GTC C-3’ Following RNA extraction, 1 μl RNA extract is added to the following reaction mixture: 16.0 μl water, 5 μl One-step RT-PCR buffer (Qiagen), 1 μl dNTPs (10 mM each), 0.5 μl forward primer, 0.5 μl reverse primer, 1 μl One-step RT-PCR enzyme mix (Qiagen). Reverse transcription at 50˚C for 30 min; denaturation at 95 ˚C for 15 min; 35 cycles consisting of denaturation at 94 ˚C for 30 s, annealing at 50 ˚C (American clade 1 primers) or 52 ˚C (Asian clade 1 primers) for 30 s, elongation at 72 ˚C for 60 s; terminal elongation at 72 ˚C for 5 min; maintaining at 20 ˚C. American clade1 and Asian clade 1 primers will produce amplicons of approximately 760 and 370 bp, respectively. |
| [79] | In the DIAGPRO test performance study laboratories detected TSWV, INSV and WSMoV accurately, but there were insufficient molecular data to compare detection with the serological tests. The specificity of the molecular tests has been evaluated by Mumford et al. (1996a) and Chu et al. (2001). Mumford et al. (1996a) showed that the primers S1 INSV-F and S2 INSV-R were specific under the conditions of the study for INSV and did not cross react with TSWV, TCSV or GRSV. Hassani-Mehraban et al., 2016 listed at least 29 tospovirus species, not all of which are officially recognized by the ICTV (http://www.ictvonline.org/virusTaxonomy.asp) and not all of them were tested for cross-reactions by Mumford et al. (1996a). The broad-spectrum degenerate primers described by Chen et al. (2012) were able to detect isolates of TSWV, INSV, WSMoV and other tospoviruses. Species identification was possible by restriction fragment length polymorphism (RFLP) analysis or sequence analysis of the amplicon. The American clade 1 and Asian clade 1 primers described by Hassani-Mehraban et al. (2016) also have been shown to detect isolates of TSWV, INSV and WSMoV, respectively. Provisional species identification was possible by sequence analysis of the amplicons. |
| [80] | 3.3.2 Real-time RT-PCR |
| [81] | The real-time RT-PCR described by Boonham et al. (2002) was used to detect all isolates of TSWV included in the analysis. Positive results were observed also with the tospoviruses TCSV and GRSV, but no reactions were observed with INSV, WSMoV, Iris yellow spot virus (IYSV) or Chrysanthemum stem necrosis virus (CSNV). The total volume of the reaction was 25 µl, and reactions were carried out in 96-well reaction plates using the TaqMan EZ RT-PCR Kit (PE Biosystems1), but with the addition of 25 U M-MLV reverse transcriptase (Mumford et al., 2000). |
| [82] | Cetyl trimethylammonium bromide (CTAB) extraction was carried out as described by Boonham et al. (2002). Leaf tissue (100–200 mg) was ground to a fine powder in liquid nitrogen using a mortar and pestle then placed in a sterile microcentrifuge tube. The ground tissue was mixed with 1 ml homogenizing buffer (2% CTAB, 100 mM Tris-HCl, pH 8.0, 20 mM ethylenediaminetetraacetic acid (EDTA), 1.4 M NaCl, 1% Na2SO3, 2% polyvinylpyrrolidone (PVP)-40). After incubation at 65 °C for 10 min, two chloroform: isoamyl alcohol (24:1) extractions were carried out. RNA was precipitated out of the aqueous layer by combination with an equal volume of 4 M LiCl, incubation overnight at 4 °C, and centrifugation for 30 min. The pellet was resuspended in 200 µl Tris-EDTA (TE) buffer containing 1% sodium dodecyl sulfate (SDS). To this was added 100 µl of 5 M NaCl and 300 µl ice-cold isopropanol, then the suspension was incubated at –20 °C for 30 min. Following a 10 min centrifugation the pellet was washed with 70% ethanol, re-pelleted and dried. |
| [83] | After CTAB extraction the final pellet was resuspended in 50 µl diethylpyrocarbonate (DEPC)-treated water, and 1 µl RNA was used to prepare the final volume of 25 µl for the reaction (Mumford et al., 2000). Plates were cycled at 48 °C for 30 min, 95 °C for 10 min, and 40 cycles of 60 °C for 1 min and 95 °C for 15 s. Using suitable positive and negative controls each laboratory or user should validate the cycle threshold (Ct) values that represent a positive result. When positive results are obtained, TSWV-specific primers may be used to confirm identity as can RFLP analysis or sequence analysis of amplicons obtained by conventional RT-PCR. |
| [84] | Primers: |
| [85] | TSWV-CP-17-F: 5′-CTC TTG ATG ATG CAA AGT CTG TGA-3′ |
| [86] | TSWV-CP-100-R: 5′-TCT CAA AGC TAT CAA CTG AAG CAA TAA-3′ |
| [87] | Probe: |
| [88] | TSWV-CP-73T: FAM-5′-AGG TAA GCT ACC TCC CAG CAT TAT GGC AAG-3′TAMRA |
| [89] | 3.3.3 Controls for molecular tests |
| [90] | For the test result obtained to be considered reliable, appropriate controls – which will depend on the type of test used and the level of certainty required – should be considered for each series of nucleic acid isolation and amplification of the target pest or target nucleic acid. For RT-PCR a positive nucleic acid control, an internal control, a negative amplification control (no template control) and a negative extraction control are the minimum controls that should be used. |
| [91] | Positive nucleic acid control. This control is used to monitor the efficiency of the test method (apart from the extraction) and with RT-PCR, the amplification. Pre-prepared (stored) virus-derived nucleic acid, whole genome amplified DNA or a synthetic control (e.g. cloned PCR product) may be used. |
| [92] | Internal control. For conventional and real-time PCR, plant internal controls (e.g. a housekeeping gene (HKG) such as nad5, or the ribosomal RNA gene) should be incorporated into the protocol to eliminate the possibility of PCR false negatives due to nucleic acid extraction failure or degradation or the presence of PCR inhibitors. The internal control primers should preferably be used in a duplex reaction with the target virus primers. However, because this may be difficult to achieve without reducing the sensitivity of the test, it is recommended, where practical, to run a duplex reaction of the virus primers with the HKG primers and also a simplex reaction with only the virus primers. Alternatively two separate simplex reactions (one for the plant marker and one for the target virus) may be performed. An RT-PCR using internal control primers (primers designed to detect a sequence conserved in plants such as the 5S ribosomal RNA gene (Kolchinsky et al. (1991)) may be used to conﬁrm that RNA of sufficient quality for amplification has been extracted. |
| [93] | The nad5 mitochondrial NADH dehydrogenase 5 gene fragment has been shown to be a reliable indicator of the performance of the extraction procedure and RT step for conventional RT-PCR (Menzel et al., 2002). The nad5 primers are: sense, 5’-GATGCTTCTTGGGGCTTCTTGTT-3’; and antisense, 5’-CTCCAGTCACCAACATTGGCATAA-3’. The primers have been tested against many plant species, including S. tuberosum and other Solanum species (S. bonariensis, S. dulcamara, S. jasminoides, S. nigrum, S. pseudocapsicum, S. rantonnetii, S. sisymbrifolium), Acnistus arborescens, Atropa belladonna, Brugmansia spp., Capsicum spp., Cestrum spp., Lochroma cyanea, Nicotiana spp. and Physalis spp. (Seigner et al., 2008). |
| [94] | When an internal control is not mentioned in the description of a PCR method, the laboratory should choose an internal control and validate it. |
| [95] | Negative amplification control (no template control). This control is necessary for conventional and real-time RT-PCR to rule out false positives due to contamination during preparation of the reaction mixture. PCR-grade water that was used to prepare the reaction mixture is added at the amplification stage. |
| [96] | Positive extraction control. This control is used to ensure that nucleic acid from the target virus is of sufficient quantity and quality for RT-PCR. Viral nucleic acid is extracted from known infected host tissue or healthy plant tissue that has been spiked with the virus. This helps validate the extraction procedure, ensuring that if the target virus is present in the plants being tested detection should occur. |
| [97] | The positive control should be approximately one-tenth of the amount of leaf tissue used per plant for the RNA extraction. If bulking of samples is done then the quantity of positive control should be adjusted accordingly (e.g. if ten lots of 20 mg sample are bulked for RNA extraction, then the positive control should consist of 2 mg infected leaf + 198 mg healthy plant tissue). If this is not detected then the test should be repeated or the bulking rate reduced until reliable detection is achieved. |
| [98] | For RT-PCR, care needs to be taken to avoid cross-contamination due to aerosols from the positive control or from positive samples. The positive control used in the laboratory should be sequenced so that this sequence can be readily compared with sequence obtained from PCR amplicons of the correct size. It is possible that the control and the PCR amplicon may have the same sequence even in the absence of contamination, particularly if the target region is conserved. Alternatively, synthetic positive controls can be made with a known but unusual sequence that, again, can be compared with PCR amplicons of the correct size. |
| [99] | Negative extraction control. This control is used to monitor contamination during nucleic acid extraction and/or cross-reaction with the host tissue. The control comprises nucleic acid that is extracted from uninfected host tissue and subsequently amplified. If suitable uninfected host tissue is not available clean extraction buffer may be used. Multiple controls are recommended to be included when large numbers of positive samples are expected. |
| [100] | 3.3.4 Interpretation of PCR results |
| [101] | For both conventional PCR and real-time PCR, the pathogen-specific PCR will be considered valid only if: |
| [102] [103] | the positive control produces a product of the correct size for the virus |
| [104] | The negative extraction control and the negative amplification control do not produce a product of the correct size for the virus. |
| [105] | If the nad5 internal control primers are used, the negative extraction control, the positive extraction control (if used) and each of the test samples must produce a 181 bp amplicon (nad5). Failure of the samples to amplify with the internal control primers suggests, for example, that the RNA extraction has failed, the nucleic acid has not been included in the reaction mixture, the RT step has failed, compounds inhibitory to PCR are present in the RNA extract, or the RNA or DNA has degraded. |
| [106] | The test on a sample will be considered positive if it produces an amplicon of the correct size. |
| [107] | Using real-time RT-PCR Roberts et al. (2000) showed that TSWV can be detected reliably in as little as 500 fg total RNA, and the method is approximately ten-fold more sensitive than detection by agarose gel analysis of amplicons with ethidium bromide staining. The real-time RT-PCR assay described by Dietzgen et al. (2005) was able to detect TSWV in a bulked sample of 1 infected leaf in 1 000 uninfected leaves, while ELISA could detect only 1 in 200 or 1 in 800, depending on the host. |
| [108] | 4. Identification As described in section 3.1, herbaceous indicators may be used for virus identification but at least two plant species and at least two plants per species should be used. In addition, positive and negative controls should be included in the test. |
| [109] | ELISA-based methods may be used for identification. As described in section 3.2.2, in an EU DIAGPRO test performance study all participating laboratories were able to accurately detect TSWV, INSV and WSMoV using the appropriate antiserum. Confirmation using a second method is recommended due to potential cross reactions as described by Hassani-Mehraban et al. (2016). |
| [110] | As described in section 3.3.1, under the conditions of the validation studies, the primer pairs used for RT-PCR each produce an amplicon of a distinct size that can be used to identify the virus present in a sample. The amplicons may be sequenced to confirm identification, especially in situations where the virus is detected for the first time. |
| [111] | Real-time RT-PCR is not being recommended for identification because the specificity of the methods described by Roberts et al. (2000) and by Dietzgen et al. (2005) is unknown, while the method of Boonham et al. (2002) cross-reacts with GRSV and TCSV. |
| [112] | When positive and negative controls give the expected results, sequence analysis of the PCR product is usually not necessary except to specifically identify tospoviruses amplified using generic primers. Sequencing should also be done when an NPPO requires additional confidence in the result; for example, detection of a pest in an area where it is not known to occur. The International Committee on Taxonomy of Viruses states that when the nucleocapsid (N) protein sequence shows less than 90% amino acid identity, a different tospovirus species is indicated (Plyusnin et al., 1012) |
| [113] | 5. Records |
| [114] | Records and evidence should be retained as described in section 2.5 of ISPM 27 (Diagnostic protocols for regulated pests). |
| [115] | In cases where other contracting parties may be affected by the results of the diagnosis, in particular in cases of non-compliance and where the virus is found in an area for the first time, the following records and evidence and additional material should be kept for at least one year in a manner that ensures traceability: |
| [116] | The original sample (labelled appropriately), kept frozen at −80 °C or lyophilized and kept at room temperature. Note that lyophilization will affect viability |
| [117] | RNA extractions and RT-PCR amplification products, if relevant, kept at −80 °C. |
| [118] | 6. Contact Points for Further Information |
| [119] | Further information on this protocol can be obtained from: |
| [120] | Plant Pest and Disease Programme, Fera Science Limited, Sand Hutton, York, Y041 1LZ, United Kingdom (Jane Morris; e-mail: jane.morris@fera.co.uk; tel.: +44 1904 462000; fax: +44 1904 462111; http://fera.co.uk/plantClinic/index.cfm). |
| [121] | Department of Entomology, University of Wisconsin, 237 Russell Labs, 1630 Linden Drive, Madison, WI 53706, United States (Thomas German; e-mail: tlgerman@wisc.edu; tel.: +1 608 262 2956; fax: +1 608 262 3322). |
| [122] | A request for a revision to a diagnostic protocol may be submitted by NPPOs, regional plant protection organizations (RPPOs) or Commission on Phytosanitary Measures (CPM) subsidiary bodies through the IPPC Secretariat (ippc@fao.org), which will in turn forward it to the Technical Panel on Diagnostic Protocols (TPDP). |
| [123] | 7. Acknowledgements |
| [124] | The first draft of this protocol was written by J. Morris (Plant Pest and Disease Programme, Fera Science Limited, United Kingdom (see preceding section)), T. German (Department of Entomology, University of Wisconsin, United States (see preceding section)), G. Pietersen (Plant Protection Research Institute, Agricultural Research Council, South Africa) and C. Jordá-Gutiérrez (Universidad Politécnica, Spain). In addition, contributions were made by D. Wright (Fera, United Kingdom) and G. Clover (Plant Health and Environment Laboratory, Ministry of Agriculture and Forestry, New Zealand). |
| [125] | 8. References The present annex refers to ISPMs. ISPMs are available on the International Phytosanitary Portal (IPP) at https://www.ippc.int/core-activities/standards-setting/ispms. |
| [126] | Boonham, N., Smith, P., Walsh, K., Tame, J., Morris, J., Spence, N., Bennison, J. & Barker, I. 2002. The detection of Tomato spotted wilt virus (TSWV) in individual thrips using real time fluorescent RT-PCR (TaqMan). Journal of Virological Methods, 101: 37–48. |
| [127] | Brunt, A.A., Crabtree, K., Dallwitz, M.J., Gibbs, A.J. & Watson, L. 1996. Viruses of plants: Descriptions and lists from the VIDE database. Wallingford, UK, CABI. 1484 pp. |
| [128] | Chatzivassiliou, E.K., Weekes, R., Morris, J., Wood, K.R., Barker, I. & Katis, N.I. 2000. Tomato spotted wilt virus (TSWV) in Greece: Its incidence following the expansion of Frankliniella occidentalis, and characterisation of isolates collected from various hosts. Annals of Applied Biology, 137: 127–134. |
| [129] | Chen, T.-C., Li, J.-T., Lin, Y.-P., Yeh, Y.-C., Kang, Y.-C., Huang, L.-H. & Yeh, S.-D. 2012. Genomic characterization of Calla lily chlorotic spot virus and design of broad-spectrum primers for detection of tospoviruses. Plant Pathology, 61: 183–194. |
| [130] | Cho, J.J., Mau, R.F.L., Mitchell, W.C., Gonsalves, D. & Yudin, L.S. 1987. Host list of plants susceptible to Tomato spotted wilt virus (TSWV). Research Extension Series 078. Honolulu, HI, College of Tropical Agriculture and Human Resources, University of Hawaii. 12 pp. |
| [131] | Chu, F.H., Chao, C.H., Chung, M.H., Chen, C.C. & Yeh, S.D. 2001. Completion of the genome sequence of Watermelon silver mottle virus and utilization of degenerate primers for detecting tospoviruses in five serogroups. Phytopathology, 91: 361–367. |
| [132] | Daughtrey, M.L. 1996. Detection and identification of Tospoviruses in greenhouses. Acta Horticulturae, 431: 90–98. |
| [133] | Daughtrey, M.L., Jones, R.K., Moyer, J.W. & Daub, M.E. 1997. Tospoviruses strike the greenhouse industry. Plant Disease, 81: 1220–1230. |
| [134] | de Avila, A.C., de Haan, P., Kormelink, R., Resende, R., Goldbach, R.W. & Peters, D. 1993. Classification of tospoviruses based on phylogeny of nucleoprotein. Journal of General Virology, 74: 153–159. |
| [135] | Dietzgen, R.G., Twin, J., Talty, J., Selladurai, S., Carroll, M.L., Coutts, B.A., Berryman, D.I. & Jones, R.A.C. 2005. Genetic variability of Tomato spotted wilt virus in Australia and validation of real time RT-PCR for its detection in single and bulked leaf samples. Annals of Applied Biology, 146: 517–530. |
| [136] | EPPO (European and Mediterranean Plant Protection Organization). 1999a. Tomato spotted wilt tospovirus. Data sheets on quarantine pests. EPPO Bulletin, 29: 465–472. |
| [137] | EPPO (European and Mediterranean Plant Protection Organization). 1999b. Impatiens necrotic spot tospovirus. Data sheets on quarantine pests. EPPO Bulletin, 29: 473–476. |
| [138] | EPPO (European and Mediterranean Plant Protection Organization). 1999c. Watermelon silver mottle tospovirus. Data sheets on quarantine pests. EPPO Bulletin, 29: 489–492. |
| [139] | EPPO (European and Mediterranean Plant Protection Organization). 2004. Tomato spotted wilt tospovirus, Impatiens necrotic spot tospovirus, and Watermelon silver mottle tospovirus. Diagnostic protocols for regulated pests PM 7/34. EPPO Bulletin, 34: 155–157. |
| [140] | Hassani-Mehraban, A., Westenberg, M., Verhoeven, J.T.J., van de Vossenberg, B.T.L.H., Kormelink, R. & Roenhorst, J.W. 2016. Generic RT-PCR tests for detection and identification of tospoviruses. Journal of Virological methods 233: 89-96. |
| [141] | EPPO (European and Mediterranean Plant Protection Organization). 2015. PM 7/125 (1) ELISA tests for viruses. EPPO Bulletin, 45: 445-449. |
| [142] | King, A.M.Q., Adams, M.J., Carstens, E.B. & Lefkowitz, E.J. 2012. Ninth Report of the International Committee on Taxonomy of Viruses. San Diego, CA, Elsevier Academic Press. 1338 pp. |
| [143] | Kolchinsky, A., Kolesnikova, M. & Ananiev, E. 1991. “Portraying” of giant genomes using polymerase chain reaction amplification of ribosomal 5S genes. Genome, 34: 1028–1031. |
| [144] | Kormelink, R. 2005. Tomato spotted wilt virus. Descriptions of plant viruses. Available at http://www.dpvweb.net (last accessed 13 October 2014). |
| [145] | Lisa, V., Vaira, M.A., Milne, R.G., Luisoni, E. & Rapetti, S. 1990. Tomato spotted wilt virus in cinque specie coltivate in Liguria. Informatore Fitopatologico, 12: 34–41 (in Italian). |
| [146] | Liu, H.-Y., Sears, J.L. & Mou, B. 2009. Spinach (Spinacia oleracea) is a new natural host of Impatiens necrotic spot virus in California. Plant Disease, 93: 673. |
| [147] | Louro, D. 1996. Detection and identification of tomato spotted wilt virus and impatiens necrotic spot virus in Portugal. Acta Horticulturae, 431: 99–105. |
| [148] | Menzel, W., Jelkmann, W. & Maiss, E. 2002. Detection of four apple viruses by mutiplex RT-PCR assays with coamplification of plant mRNA as internal control. Journal of Virological Methods, 99: 81–92. |
| [149] | Mumford, R.A., Barker, I. & Wood, K.R. 1994. The detection of tomato spotted wilt virus using the polymerase chain reaction. Journal of Virological Methods, 46: 303–311. |
| [150] | Mumford, R.A., Barker, I. & Wood, K.R. 1996a. An improved method for the detection of Tospoviruses using the polymerase chain reaction. Journal of Virological Methods, 57: 109–115. |
| [151] | Mumford, R.A., Barker, I. & Wood, K.R. 1996b. The biology of the Tospoviruses. Annals of Applied Biology, 128: 159–183. |
| [152] | Mumford, R.A., Barker, I., Wood, K.R. & Boonham, N. 2000. Detection of Potato mop top virus and Tobacco rattle virus using a multiplex real-time fluorescent reverse-transcription polymerase chain reaction assay. Phytopathology, 90: 448–453. |
| [153] | Plyusnin, A., Beaty, B.J., Elliott, R.M., Goldbach, R., Kormelink, R., Lundkvist, A.,Schmaljohn, C.S., & Tesh, R.B. 2012. Bunyaviridae. In: A.M.Q. King, M.J. Adams,E.B. Carstens & E.J. Lefkowitz, eds. Virus Taxonomy: Ninth Report of theInternational Committee on Taxonomy of Viruses. Pp. 725-741. Elsevier Academic Press,San Diego, USA. 1327 pp.. |
| [154] | Riley, D.G., Joseph, S.V., Srinivasan, R. & Diffie, S. 2011. Thrips vectors of tospoviruses. Journal of Integrated Pest Management, doi:10.1603/IPM10020. |
| [155] | Roberts, C.A., Dietzgen, R.G., Heelan, A.A. & Maclean, D.J. 2000. Real-time RT-PCR fluorescent detection of tomato spotted wilt virus. Journal of Virological Methods, 88: 1–8. |
| [156] | Seigner, L., Kappen, M., Huber, C., Kistler, M. & Köhler, D. 2008. First trials for transmission of Potato spindle tuber viroid from ornamental Solanaceae to tomato using RT-PCR and an mRNA based internal positive control for detection. Journal of Plant Diseases and Protection, 115: 97–101. |
| [157] | Vaira, A.M., Roggero, P., Luisoni, E., Masenga, V., Milne, R.G. & Lisa, V. 1993. Characterization of two tospoviruses in Italy: Tomato spotted wilt and Impatiens necrotic spot. Plant Pathology, 42: 530–542. |
| [158] | Windham, A.S., Hale, F.A. & Yanes Jr, J. 1998 (revised in 2015). Impatiens necrotic spot virus: A serious pathogen of floral crops. SP370A. Nashville, TN, Agricultural Extension Service, University of Tennessee, 2pp. |
| [159] | Yeh, S.D., Lin, Y.C., Cheng, Y.H., Jih, C.L., Chen, M.J. & Chen, C.C. 1992. Identification of tomato spotted wilt-like virus on watermelon in Taiwan. Plant Disease, 76: 835–840. |

# Footnotes

In this diagnostic protocol, methods (including reference to brand names) are described as published, as these defined the original level of sensitivity, specificity and/or reproducibility achieved. The use of names of reagents, chemicals or equipment in these diagnostic protocols implies no approval of them to the exclusion of others that may also be suitable. Laboratory procedures presented in the protocols may be adjusted to the standards of individual laboratories, provided that they are adequately validated.