Thrips palmi

Annex to ISPM No. 27

INTERNATIONAL STANDARDS FOR 
PHYTOSANITARY MEASURES

Annex to ISPM No. 27 (DIAGNOSTIC PROTOCOLS FOR REGULATED PESTS)

Thrips palmi

(200-)

CONTENTS

Endorsement	2

1.	Pest information	2

2.	Taxonomic information	2

3.	Detection	2

4.	Identification	3

4.1	Morphological identification of the adult thrips	3

4.1.1	Preparation of thrips for microscopic examination	3

4.1.2	Identification of the family Thripidae	4

4.1.3	Identification of the genus Thrips	4

4.1.4 	Identification of Thrips palmi	4

4.2 	Molecular assays for identifying all life stages of Thrips palmi	10

4.2.1	SCAR marker-generated sequence-based real-time PCR assay for Thrips palmi 	10

4.2.2	COI sequence-based real-time PCR assay for Thrips palmi	10

4.2.3	ITS2 sequence-based PCR-RFLP assay for nine species of thrips including Thrips palmi 	11

4.2.4 	COI sequence-based PCR-RFLP assay for ten species of thrips including Thrips palmi	11

5.	Records	12

6.	Contact points for further information	12

7.	Acknowledgements	12

8.	References	12

Endorsement

This diagnostic protocol was adopted by the Commission on Phytosanitary Measures in ----.

1.	Pest Information

Thrips palmi Karny is a polyphagous plant pest, especially of species in the Cucurbitaceae and Solanaceae. It appears to have originated in Southern Asia and to have spread from there during the latter part of the twentieth century. It is now present throughout Asia and is widespread throughout the Pacific and the Caribbean. Otherwise, it occurs locally in North, Central and South America, Africa and Oceania. For more general information about T. palmi, see EPPO/CABI (1997) or Murai (2002).

The species causes economic damage to plant crops both as a direct result of its feeding activity and as a result of its ability to vector tospoviruses such as Groundnut bud necrosis virus, Melon yellow spot virus and Watermelon silver mottle virus. It is extremely polyphagous, and has been recorded from more than 36 plant families. It is an outdoor pest of Benincasa hispida, Capsicum annuum, Citrullus lanatus, Cucumis melo, Cucumis sativus, Cucurbita spp., Glycine max, Gossypium spp., Helianthus annuus, Nicotiana tabacum, Phaseolus vulgaris, Pisum sativum, Sesamum indicum, Solanum melongena, Solanum tuberosum and Vigna unguiculata. In glasshouses, economically important hosts are Capsicum annuum, Chrysanthemum spp., Cucumis sativus, Cyclamen spp., Ficus spp., Orchidaceae and Solanum melongena. The thrips may be carried on plants for planting, cut flowers and fruits of host species as well as on packing material.

T. palmi is almost completely yellow coloured and its identification is hampered by its small size (1.0–1.3 mm) and great similarity with other yellow species of Thrips.

2. 	Taxonomic Information

-	Name:	Thrips palmi Karny, 1925

-	Synonyms:	Thrips clarus Moulton, 1928

Thrips leucadophilus Priesner, 1936

Thrips gossypicola Ramakrishna & Margabandhu, 1939

Chloethrips aureus Ananthakrishnan & Jagadish, 1967

Thrips gracilis Ananthakrishnan & Jagadish, 1968

-	Taxonomic position: 	Insecta, Thysanoptera, Terebrantia, Thripidae, Thripini

3. 	Detection

T. palmi has six developmental stages, which are usually found in different habitats:

-	egg	in the leaf, flower and fruit tissue

-	larva I	on the leaves, flowers and fruits

-	larva II	on the leaves, flowers and fruits

-	pupa I	in the soil

-	pupa II	in the soil

-	adult	on the leaves, flowers and fruits

On plant material, most of the above-ground parts of the plant may potentially carry T. palmi; the parts of the plant infested can differ according to variables such as host and individual T. palmi population characteristics.

During visual examination of plant material for the presence of T. palmi, attention must be paid to silvery feeding scars on the leaf surfaces of host plants, especially alongside the midrib and the veins. Heavily infested plants are often characterized by a silvered or bronzed appearance of the leaves, stunted leaves and terminals, and scarred and deformed fruits. Detection may be hampered in the following circumstances:

-	low-level infestation may produce little or no detectable symptoms

-	the presence on the plant of the eggs stage only, within the plant tissue (for example after external treatment which may have removed visible life stages).

Individual specimens are best collected in a fluid called AGA, which is a mixture of 10 parts of 60% ethyl alcohol with 1 part glycerine and 1 part of acetic acid. Several methods can be used to collect thrips specimens (Mantel and Vierbergen, 1996; modified):

-	Thrips may be individually removed from the plant (leaves, flowers or fruit) into microtubes containing AGA using a moist, fine brush.

-	Thrips may be beaten from plant parts onto a small plastic tray (e.g. a white tray for dark-coloured specimens or onto a black tray for light-coloured specimens). The thrips usually start walking across the tray rather than flying off, allowing time for the thrips to be picked off with a moist, fine brush. The thrips are easily seen on the tray using just a hand lens, but an experienced observer can also see them easily with the naked eye.

-	Plant parts may be sealed in a plastic bag for 24 hours, with a piece of filter paper to absorb condensation. Most thrips will leave the plant parts and can then be collected from the inside of the bag.

-	A Berlese funnel can be used to process plant material such as flowers, turf, leaf litter, moss and even dead branches of trees. The funnel contains a sieve on which the plant material is deposited. The bottom of the funnel beneath the sieve leads into a receptacle containing 10% ethyl alcohol. The funnel is placed under an electric lamp (60 W), and the heat and light will cause any thrips present in the plants to escape by heading down towards the receptacle. After an appropriate period (8 hours for cut flowers), the content of the receptacle can then be checked under a stereo-microscope.

-	Thrips may be monitored (winged adults only) using coloured sticky traps. The attractivity of the colour varies for different thrips species, but blue or white traps are good for T. palmi though yellow traps will also work. For microscopic slide preparation and identification, the thrips will have to be removed from the traps using dichloromethane or a turpentine substitute.

There are no recognised methods for extracting thrips pupae from the soil.

If the specimens are to be stored, they should be transferred to 60% ethyl alcohol and kept in the dark, preferably at temperatures well below 0°C to prevent loss of colour.

4. 	Identification

Identification of thrips species by morphological examination is restricted to adult specimens because there are no adequate keys for the identification of eggs, larvae or pupae. However, the presence of larvae in samples can give important additional information such as confirming their development on the host plants. If adult material is available, morphological identification is the primary method of identification. Using this protocol with good-quality slide preparations should allow adult T. palmi to be identified with certainty by morphological examination alone.

In cases where adult material is not available, or the adult specimens are atypical or damaged, then molecular assays can be used. Such assays can be applied to all life stages. For the identification of eggs, larvae or pupae by this method, it is recommended that at least two different molecular assays be performed. The molecular assays in this protocol have been developed for specific purposes and evaluated against a restricted number of species.

4.1 	Morphological identification of the adult thrips

4.1.1 	Preparation of thrips for microscopic examination

For microscopic examination, adult thrips must be mounted on microscope slides. Material to be archived in a reference collection is best macerated, dehydrated and mounted in Canada balsam (Mound and Kibby, 1998). However, the initial slide preparation protocol takes three days to complete. For routine identifications, a water-soluble mountant is rapid and relatively inexpensive. The following steps for mounting thrips are recommended by Mound and Kibby (1998). The specimens are transferred from the collecting fluid into clean 70% ethyl alcohol. If the specimens are reasonably flexible, attempt to open the wings and straighten the antennae using micro-pins. A drop of Hoyers Mountant (50 ml water, 30 g gum arabic, 200 g chloral hydrate, 20 ml glycerine) is placed onto a 13 mm diameter cover slip. A single thrips is placed into this drop, ventral side uppermost, and a slide then gently lowered onto the drop. The slide is inverted as soon as the mountant has spread sufficiently and then immediately placed into an oven at 35–40oC for at least 6 hours before attempting study. The slide should be left in the oven for approximately 3 weeks at 35–40oC to dry the mountant, before being ringed with nail varnish and appropriately labelled.

4.1.2 	Identification of the family Thripidae

T. palmi belongs to the family Thripidae, which includes about 1850 species in 260 genera. In most species, the antennae have seven or eight segments (occasionally nine or six); the terminal segments are usually small, and slender sensory trichomes jut from segments III and IV (these are usually forked). The forewings (if present) are usually slender, with two longitudinal veins each bearing a series of setae. The abdomen of the female has a serrated ovipositor, which is turned down at the apex. The males are usually smaller, and may bear one or more glandular areas on their median sternites.

4.1.3 	Identification of the genus Thrips

The genus Thrips contains almost 280 species from all parts of the world, though the genus is primarily from the Holarctic and the Old World tropics. Members of the genus have the following shared characteristics: only two pairs of ocellar setae (pair I being absent); antennae with seven or eight segments, III and IV with forked sense cones; the pronotum with two pairs (rarely one or none) of major posteroangular setae, and with three to four pairs of posteromarginal setae; female macropterous or micropterous (occasionally apterous); forewings with the setal row on the first vein usually interrupted; metascutum with striate or reticulate sculpturing, campaniform sensillae present or absent, median pair of setae at or behind the anterior margin; tarsi 2-segmented; the abdominal tergites V–VIII with paired ctenidia laterally, with the tergite VIII ctenidia posteromesad to the spiracles; and the sternites and pleurotergites with or without accessory setae.

A simplified summary of the main characteristics is given in Table 1 and is accompanied by illustrative line drawings (Figures 1 and 2).

Identification of the adults can be carried out with keys. Mound and Kibby (1998) give a key to 14 Thrips species of economic importance. In addition, a CD-ROM identification aid for thrips is available which includes an identification system to 100 pest species from around the world based on photomicrographs (Moritz et al., 2004).

More comprehensive keys to the genus are to be found, produced on a regional basis (no such key has been produced for the Afrotropical region):

Asia: Bhatti (1980) and Palmer (1992) provide keys for the identification of species of Thrips occurring in the Asian tropics.

Australasia: Mound and Masumoto (2005) provide a key to the Thrips species of Australasia (but note that on page 42, they erroneously apply a characteristic of T. flavus – ocellar setae III close together behind the first ocellus – to T. palmi).

Europe: zur Strassen (2003) has produced the most recent comprehensive key to the species of Europe (in German).

North, Central and South America: Nakahara (1994) provides a key for Thrips species from the New World. A key to the species of Thrips found in Central America is given by Mound and Marullo (1996) though only one of these species is native to the region. Only species of Thrips that were transported there by the international trade in plants are to be found in South America.

4.1.4 	Identification of Thrips palmi

Morphological characteristics of Thrips palmi

Bournier (1983), Sakimura et al. (1986) and zur Strassen (1989) all provide detailed descriptions of T. palmi. Sakimura et al. (1986) gave a list of major diagnostic characters to distinguish T. palmi from the other known species of the genus Thrips, and a modified version of this is given here:

1.	A clear yellow body without any greyish or brownish blotch, but with slightly thickened blackish body setae.

2. 	The interocellar setae standing either just outside of the ocellar triangle, or touching the tangent lines connecting the anterior ocellus and each of the posterior ocelli.

3. 	The metanotum with striate sculpture in the medial area that converges mesad posteriorly.

4. 	Three distal setae (occasionally two) on the first vein of the forewing.

5. 	Abdominal tergite II with four lateral setae.

6. 	Abdominal sternites without accessory setae.

7. 	Abdominal tergites II to V with setae S2 dark and subequal to S3.

8. 	Abdominal tergite VIII with comb complete.

9. 	Male sternites III–VII each with a transverse glandular area.

A simplified summary of the main characteristics is given in Table 1 and is accompanied by illustrative line drawings (Figures 1 and 2).

Comparison with similar species (species that are yellow, or sometimes yellow, without darker body markings)

Two Indian species (T. alatus and T. pallidulus) are very similar to T. palmi, although little is known of their biology:

-	Thrips alatus Bhatti – antennal segment V is uniform brown (often pale basally in T. palmi); abdominal tergites III and IV with setae S2 paler and much weaker than S3 in both sexes; the striate metanotal sculpture usually not converging posteriorly; India, Nepal.

-	Thrips pallidulus Bagnall – metanotal sculpture is medially reticulate, not striate; India.

Three common Palearctic species (but also with wider distributions) that may be confused with T. palmi are T. flavus, T. nigropilosus and T. tabaci:

-	Thrips flavus Schrank – ocellar setae pair III are inside the ocellar triangle (located outside the ocellar triangle in T. palmi); the length of antennal segment VI is 54–60 (m (42–48 (m in T. palmi); the metanotal sculpture does not converge posteriorly; common flower thrips throughout Asia, Europe.

-	Thrips nigropilosus Uzel – three lateral setae on abdominal tergite II; no campaniform sensillae (metanotal pores) on the metanotum (present in T. palmi); often with dark abdominal markings (T. palmi is pale bodied); abdominal tergites IV–V with the pair of median setae (S1) more than 0.5 times as long as median length of these tergites (less than 0.3 times in T. palmi); common leaf feeding species, sometimes a pest under glass, Asia, Australasia, East Africa, Europe, North America.

-	Thrips tabaci Lindeman – three lateral setae on abdominal tergite II; no campaniform sensillae (metanotal pores) on the metanotum (present in T. palmi); usually four (occasionally two to six) setae on the distal half of the first vein of the forewing; highly variable in coloration; polyphagous pest with a worldwide distribution.

Two further European species (T. alni and T. urticae) are less commonly encountered but may be confused with T. palmi. Females of T. alni are particularly similar in morphology to those of T. palmi.

-	Thrips alni Uzel – abdominal tergites II–V with setae S2 pale (dark in T. palmi); seta S2 much weaker than seta S3 on tergite V (these setae are subequal in T. palmi); seta S1 subequal to seta S2 on tergite VIII (S1 is much weaker than S2 in T. palmi); antennal segment V is uniform brown; the male with narrow oval glandular areas on abdominal sternites III-VI (broad transverse glandular areas present on sternites III–VII in T. palmi); restricted to the leaves of Alnus, Europe, Siberia, Mongolia.

-	Thrips urticae Fabricius – a pair of setae on the anterior margin of the pronotum almost twice as long (usually more than 30 (m) as any of the discal setae (not so in T. palmi, always less than 25(m); abdominal tergites usually with a grey area medially; no anterior pores present on abdominal tergite IX (usually present in T. palmi); restricted to Urtica dioica, Europe.

Thrips morphology is subject to variation even within a single species. The characters for T. palmi given in this protocol will allow the user to identify this species. Nevertheless, some characters are sometimes subject to slight variation. Thus, in T. palmi antennal coloration can vary from the most commonly observed state (as illustrated in Figure 2.1), as can the number of distal setae on the forewing, etc.

Table 1: Diagnostic features of the genus Thrips and of T. palmi

Specimens can be recognized as Thrips by the following combination of characters (see Figure 1 for the location of the various features):

| Antenna | comprising seven or eight distinct segments: segments III and IV with forked trichomes or sense cones | (Figs 2.1 & 2.2) |
| --- | --- | --- |
| Head | with two pairs of ocellar setae (II and III); pair I missing | (Fig. 2.3) |
| Pronotum | with two pairs of posteroangular setae | (Fig. 2.4) |
| Forewing | 1st vein – row of setae with gaps (most species) | (Fig. 2.5) |
| Abdominal tergites V to VIII | with paired ctenidia (combs – each comprising a series of ridges) | (Fig. 1) |
| Abdominal tergite VIII | with ctenidia posterior and medial to the spiracles | (Fig. 2.6) |

Specimens can be identified as Thrips palmi Karny by the presence of the following characters:

| Body colour | clear yellow body with no dark areas on the head, thorax or abdomen: antennal segments I and II are pale | (Fig. 2.1) |
| --- | --- | --- |
| Antennal segment V | usually yellowish at basal ⅓ to ½ | (Fig. 2.1) |
| Antennal segment VI | length = 42–48(m | (Fig. 2.1) |
| Head: ocellar setae pair III | with their bases outside or tangential to the ocellar triangle | (Fig. 2.3) |
| Forewing: 1st vein | with two or three setae in the distal half | (Fig. 2.5) |
| Metanotum | with a pair of metanotal pores (campaniform sensillae); with striate sculpturing, usually converging posteriorly | (Fig. 2.7) |
| Abdominal pleurotergites | ridges without microtrichia; accessory setae absent | (Fig. 2.8) |
| Abdominal tergite II | with four lateral setae | (Fig. 2.9) |
| Abdominal tergites III and IV | S2 almost equal to S3 | (Fig. 2.10) |
| Abdominal tergite VIII | with complete posteromarginal comb of microtrichia | (Fig. 2.6) |
| Abdominal tergite IX | usually with two pairs of pores (anterior and medial) | (Fig. 2.11) |
| Male: sternites | transverse glandular areas on sternites III to VII | (Fig. 2.12) |

Figure 2. Characters of Thrips palmi (drawn by S. Kobro, Norwegian Crop Protection Institute, Norway)

Fig. 2 continued.

4.2 	Molecular assays for identifying Thrips palmi

Four molecular assays have been published that can be used in the discrimination of T. palmi and these are described below. A CD-ROM identification system is also available and includes molecular data for a number of thrips species (Moritz et al., 2004). The specificity of each assay is described below. This indicates the thrips species against which each assay was evaluated and the original use for which the assay was designed.

Requirements for controls

With all molecular methods the use of appropriate controls is essential; a validated T. palmi positive extract should be included as an additional sample to ensure that amplification has been successful. PCR amplification, either for TaqMan or PCR-RFLP, should also be performed on a sample with no template where the DNA extract is replaced with water. This negative control guards against possible reagent contamination and false positives.

DNA extraction

DNA may be extracted from single eggs, adults, puparia or larvae. DNA is extracted using DNA extraction methods suitable for insects. For example:

-	The thrips may be ground in a lysis buffer in a microtube using a miocropestle and the High Pure PCR Template Preparation Kit (Roche) then used according to the instructions in the mammalian tissue protocol. The DNA is eluted with 50 (l of 10 mM Tris, pH 8.5.

-	Alternatively, a thrips may be ground in 50 (l nuclease-free water before the addition of 50 (l of a 1:1 (volume to volume) slurry of Chelex 100 resin (Bio-Rad) and nuclease-free water, and then being heated to 95ºC for 5 min and centrifuged at 11,000 g for 5 min. The supernatant is transferred to a new microtube and stored at −20ºC.

4.2.1 	SCAR marker-generated sequence-based real-time PCR assay for Thrips palmi

This assay of Walsh et al. (2005) was designed as a species-specific assay against T. palmi for use by the phytosanitary authorities in England and Wales. It was evaluated by screening the assay against 21 other species of thrips, including ten in the genus Thrips. These were predominantly, but not exclusively, European species.

Methodology

The T. palmi-specific PCR primers and TaqMan probe used in this assay are as follows:

PCR primer: P4E8-362F (5’-CCGACAAAATCGGTCTCATGA-3’)

PCR primer: P4E8-439R (5’-GAAAAGTCTCAGGTACAACCCAGTTC-3’)

TaqMan probe: P4E8-385T (FAM 5’-AGACGGATTGACTTAGACGGGAACGGTT-3’ TAMRA).

Real-time PCR reactions are set up using the TaqMan PCR core reagent kit (Applied Biosystems) with 1(l (10–20 ng) of DNA extract, 7.5 pmol of each primer and 2.5 pmol probe in a total volume of 25(l. Plates are cycled at generic system conditions (10 min at 95(C and 40 cycles of 1 min at 60(C, 15 s at 95(C) on either ABI Prism 7700 or ABI 7900HT Sequence Detection Systems (Applied Biosystems), using real-time data collection. Ct values lower than 40 indicate the presence of T. palmi DNA.

4.2.2	COI sequence-based real-time PCR assay for Thrips palmi

This assay of Kox et al. (2005) was designed as a species-specific assay against T. palmi for use by the phytosanitary authorities in the Netherlands. It was evaluated by screening the assay against 23 other species of thrips, including 11 in the genus Thrips. These were predominantly, but not exclusively, European species.

Methodology

The Thrips palmi-specific PCR primers and TaqMan probe used in this assay are as follows:

PCR primer: Tpalmi 139F* (5’-TCA TGC TGG AAT TTC AGT AGA TTT AAC-3’)

PCR primer: Tpalmi 286R* (5’-TCA CAC RAA TAA TCT TAG TTT TTC TCT TG-3’)

TaqMan probe: TpP (6-FAM 5’-TAG CTG GGG TAT CCT CAA-3’ MGB)

* Primers adjusted for greater sensitivity. (NB: “R” indicates “either A or G”.)

The 25 (l reaction mixture contains: 12.5 (l of 2x Taqman Universal master mix (Applied Biosystems), 0.9 (M each primer, 0.1 (M Taqman probe, 1.0 (l DNA. The real-time PCR is performed in a suitable instrument for detection of reporter fluorescence, such as ABI Prism 7700 or 7900 Sequence Detection Systems (Applied Biosystems) using the following conditions: 10 min at 94°C; then 40 cycles of 15 s at 94°C and 60 s at 60°C. Ct values lower than 40 indicate the presence of T. palmi DNA.

4.2.3	ITS2 sequence-based PCR-RFLP assay for nine species of thrips including Thrips palmi

This assay (Toda and Komazaki, 2002) was designed to separate nine species of thrips, including T. palmi, that are found in fruit trees in Japan: Frankliniella occidentalis (Pergande), F. intonsa (Trybom), T. hawaiiensis Morgan, T. coloratus Schmutz, T. flavus, T. tabaci, T. palmi, T. setosus Moulton, Scirtothrips dorsalis Hood.

Methodology

The PCR primers (located in the 5.8 S and 28 S regions flanking the ITS2 region of ribosomal DNA) used in this assay are as follows:

5’-TGTGAACTGCAGGACACATGA-3’

5’-GGTAATCTCACCTGAACTGAGGTC-3’.

T. palmi generates a 588-bp PCR-product (longer or shorter fragments are produced from the other species). The 20 (l-reaction mixture is composed as follows: 1 μM each primer, 250 μM dNTPs (Promega), 1 Unit AmpliTaq Gold DNA polymerase (Applied Biosystems), 2 μl 10 x reaction buffer [with 25 mM MgCl2], 0.5 µl DNA. The PCR was performed in a 96-well Peltier-type thermocycler (e.g. PTC200, MJ-Research) with the following parameters: 9 min at 94oC, 35 cycles of 30 s at 94oC, 30 s at 50oC, and 1 min at 72oC, followed by a final extension for 10 min at 72oC and quickly cooled to room temperature. The PCR products are analysed by agarose gel electrophoresis.

5 (l PCR product (without purification) is digested with the enzyme RsaI according to the manufacturer’s instructions. Digested PCR products are separated by agarose gel electrophoresis.

Restriction fragment sizes produced by T. palmi when the ITS2 fragment is digested with RsaI are as follows: 371, 98, 61 and 58 bp.

4.2.4	COI sequence-based PCR-RFLP assay for ten species of thrips including Thrips palmi

This assay of Brunner et al. (2002) was designed to separate ten species of thrips, including T. palmi, which are mostly, but not exclusively, pest species found in Europe: Anaphothrips obscurus (Müller), Echinothrips americanus Morgan, Frankliniella occidentalis, Heliothrips haemorrhoidalis (Bouché), Hercinothrips femoralis (Reuter), Parthenothrips dracaenae (Heeger), Taeniothrips picipes (Zetterstedt), Thrips angusticeps Uzel, T. palmi, T. tabaci.

Methodology

The PCR primers (located in the mitochondrial COI gene sequence) used in this assay are as follows:

mtD-7.2F (5’-ATTAGGAGCHCCHGAYATAGCATT-3’)

mtD9.2R (5’-CAGGCAAGATTAAAATATAAACTTCTG-3’).

These primers amplify a 433-bp fragment in all the species separated by this assay. The 50 (l-reaction mixture was composed as follows: 0.76 μM each primer, 200 μM dNTPs (Promega), 1 Unit Taq DNA polymerase (Roche), 5 (l 10 x reaction buffer [with 15 mM MgCl2], 1 µl DNA. The PCR was performed in a 96-well Peltier-type thermocycler (e.g. PTC200, MJ-Research) with the following parameters: 1 min 94oC, 40 cycles of 15 s at 94oC, 30 s at 55oC, and 45 s at 72oC, followed by a final extension for 10 min at 72oC and quickly cooled to room temperature. To gauge the fragment size produced after amplification, 5 µl of the PCR products can be analysed by agarose gel electrophoresis.

5 µl PCR product (without purification) is digested with the enzymes AluI and Sau3AI in separate reactions according to the manufacturer’s instructions. Digested PCR products are separated by agarose gel electrophoresis.

Restriction fragment sizes produced by T. palmi when the COI fragment is digested with AluI and Sau3AI are as follows:

AluI:		291 and 194 bp

Sau3AI:	350 and 135 bp.

5.	Records

The records detailed in ISPM No. 27 (Diagnostic protocols for regulated pests) should be kept.

In cases where other contracting parties may be adversely affected by the diagnosis, the records and evidence (in particular, slide-mounted specimens, or DNA extracts kept in a freezer, as appropriate) should be kept for one year.

6.	Contact points for further information

Entomology Section, Department of Diagnostics, Plant Protection Service, P.O. Box 9102, 6700 HC Wageningen, Netherlands.

Pest and Disease Identification Team, Central Science Laboratory, Sand Hutton, York YO41 1LZ, United Kingdom.

7.	Acknowledgements

The first draft of this protocol was written by D.W. Collins, Pest and Disease Identification Team, Central Science Laboratory, Sand Hutton, York, YO41 1LZ, United Kingdom; G. Vierbergen, Dr. L.F.F. Kox, Plant Protection Service, Section of Entomology, Wageningen, Netherlands; and Ing. Agr. N.C. Vaccaro, Sección Entomología, INTA-EEA Concordia, Argentina. Line drawings for Figure 2 were produced by S. Kobro, Norwegian Crop Protection Institute, Norway.

8.	References

Bhatti, J.S. 1980. Species of the genus Thrips from India (Thysanoptera). Systematic Entomology, 5: 109–166.

Bournier, J.P. 1983. Un insecte polyphage: Thrips palmi (Karny), important ravageur du cotonnier aux Philippines. Cotonnier et Fibres Tropicales, 38: 286–288.

Brunner, P.C., Fleming, C. & Frey, J.E. 2002. A molecular identification key for economically important thrips species (Thysanoptera: Thripidae) using direct sequencing and a PCR-RFLP-based approach. Agricultural and Forest Entomology, 4: 127–136.

EPPO/CABI. 1997. Thrips palmi. In I.M. Smith, D.G. McNamara, P.R. Scott & M. Holderness, eds. Quarantine Pests for Europe, 2nd edition. Wallingford, UK, CAB International. 1425 pp.

Kox, L.F.F., van den Beld, H.E., Zjilstra C. & Vierbergen, G. 2005. Real-time PCR assay for the identification of Thrips palmi. Bulletin OEPP/EPPO Bulletin, 35: 141–148.

Mantel, W.P. & Vierbergen, G. 1996. Additional species to the Dutch list of Thysanoptera and new intercepted Thysanoptera on imported plant material. Folia Entomologica Hungarica, 57 (Suppl.): 91–96.

Moritz, G., Mound, L.A., Morris, D.C. & Goldarazena, A. 2004. Pest thrips of the world: visual and molecular identification of pest thrips (CD-ROM), Centre for Biological Information Technology (CBIT), University of Brisbane. ISBN 1-86499-781-8.

Mound, L.A. & Kibby, G. 1998. Thysanoptera. An Identification Guide. 2nd edition. Wallingford, UK, CAB International. 70 pp.

Mound, L.A. & Marullo, R. 1996. The thrips of Central and South America: an introduction (Insecta: Thysanoptera). Memoirs on Entomology, International, 6: 1–488.

Mound, L.A. & Masumoto, M. 2005. The genus Thrips (Thysanoptera, Thripidae) in Australia, New Caledonia and New Zealand. Zootaxa, 1020: 1–64.

Murai, T. 2002. The pest and vector from the East: Thrips palmi. In R. Marullo, & L.A. Mound, eds. Thrips and Tospoviruses: Proceedings of the 7th International Symposium on Thysanoptera. Italy, 2–7 July 2001, pp. 19–32. Canberra, Australian National Insect Collection.

Nakahara, S. 1994. The genus Thrips Linnaeus (Thysanoptera: Thripidae) of the New World. USDA Technical Bulletin No. 1822. 183 pp.

Palmer, J.M. 1992. Thrips (Thysanoptera) from Pakistan to the Pacific: a review. Bulletin of the British Museum (Natural History). Entomology Series, 61: 1–76.

Sakimura, K., Nakahara, L.M. & Denmark, H.A. 1986. A thrips, Thrips palmi Karny (Thysanoptera: Thripidae). Entomology Circular No. 280. Division of Plant Industry, Florida; Dept. of Agriculture and Consumer Services. 4 pp.

Toda, S. & Komazaki, S. 2002. Identification of thrips species (Thysanoptera: Thripidae) on Japanese fruit trees by polymerase chain reaction and restriction fragment length polymorphism of the ribosomal ITS2 region. Bulletin of Entomological Research, 92: 359–363.

Walsh, K., Boonham, N., Barker, I. & Collins, D.W. 2005. Development of a sequence-specific real-time PCR to the melon thrips Thrips palmi (Thysan., Thripidae). Journal of Applied Entomology, 129 (5): 272–279.

zur Strassen, R. 1989. Was ist Thrips palmi? Ein neuer Quarantäne-Schädling in Europa. Gesunde Pflanzen, 41: 63–67.

zur Strassen, R. 2003. Die terebranten Thysanopteren Europas und des Mittelmeer-Gebietes. In  Die Tierwelt Deutschlands. Begründet 1925 von Friedrich Dahl, 74: 5–277. Keltern, Goecke & Evers.

# Text boxes

pronotum

posteroangular seta

forewing

1st vein

ctenidia

abdominal tergite VIII

mesonotum

(9) Abdominal tergite II: four lateral setae

(8) Abdominal pleurotergite

Two pairs of pores

(11) Abdominal tergite IX

(1) Antenna: seven segments; length of segment VI:

42–48 μm.

metanotum

forked sense cones

III

IV

(2) Antenna: segments III and IV with forked sense cones

ocellar setae pair II

ocellar setae pair III

(3) Head: with two pairs of ocellar setae (pair I missing)

(4) Pronotum: two pairs of posteroangular setae

(5) Forewing: first vein – row of setae with gaps in distal half (most species)

three distal setae

ovipositor (ventral)

Figure 1. Location of general characters of Thrips (♀ – dorsal view)

abdominal tergite II

four setae in a row

antennal segment V

antennal segment IV (with forked sense cones)

tergites (dorsal view); pleurotergites lateral, sternites ventral

2nd vein

Metanotal pores

converging sculpture

(7) Metanotum

comb complete

ctenidium

spiracle

(6) Abdominal tergite VIII: spiracle lying anterior and lateral to ctenidium

(10) Tergite II–IV, female: S2 about same size as S3 (from zur Strassen, 1989).

(12) Sternite V of male

ocelli

ocellar setae

spiracle

posteromarginal comb

postocular setae

antennae