ALL COMMENTS - Draft ISPMs for member consultation, June 2008 DRAFT ISPM: STRUCTURE AND OPERATION OF POST-ENTRY QUARANTINE FACILITIES

|  | 1. Section | 2. para nber | 3. sentence/ row/indent | 4. Type of comment | 5. Proposed rewording | 6. Explanation | 7. Country, RPPO, etc. |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | General comments | G |  |  | As noted in Australia's comments on the potato microtuber draft, the audience and application of this standard should be determined so that the level of detail and prescription for design features can be drafted consistently ie. minimum requirements for each proposed level of containment, or higher? The level of detail for establishing facilities for potato microtubers (as described in the draft ISPM released for consultation) should be examined and incorporated into this draft ISPM as appropriate, since a number of the facility descriptions are equally applicable in this standard. Lack of detail in describing containment facilities does not assist in building capacity in those countries that do not have experience or expertise to interpret generalised terms eg “well built”. At PEQ1 and above, there is a need to exclude people and other organisms (eg monkeys, birds) that may remove plant material without control as the plant itself could be the vector of the pest. There needs throughout to be a definition of things such as 'small' and 'appropriate'. Both of these vary widely in interpretation - a definition of appropriate size meshes/vents could be that smallest dimensions is 50% of the smallest body measurement of the smallest organisms the facility is permitted to contain. And small is given in some absolute measurement (diameter, body width/length) in mm or micrometres. For all facilities particular issues apply to the material used for ceilings, openings and building joints. The concept is that an impenetrable box is created so that there is control over all organisms entering and exiting. Ceilings should not be made of inappropriate material and there should be at the higher levels total sealing of the ceiling. Lights etc should be flush or integral with the ceiling but outside the secured box. They should be able to be changed from outside and not form a weak point. Joints, power points, doors should be sealed so that security is maintained should the building move and settle with time. | Australia |
|  | General comments | G |  | Substantive | New definition needed for ‘containment’ or replace with ‘quarantine’ | Should use the IPPC defined terms of ‘containment’ and ‘quarantine’ – these are not interchangeable. ‘Quarantine’ should be used where the action of quarantine is being undertaken (glossary – official confinement of regulated articles for observation and research or for further inspection, testing and/or treatment). Containment more appropriately reflects the role of the structure and operations in order to not let plants or regulated pests out. This is consistent with the standard dictionary definition for contain/ containment. However in ISPM 5 containment is defined as the application of phytosanitary measures in and around an infested area to prevent spread of a pest. Should the IPPC definition be reviewed? | Australia |
|  | GENERAL COMMENTS | G |  | Unknown | The draft standard uses both “quarantine facility” in places and “PEQ facility/ies”. While PEQ facilitiy/ies is probably OK the use of quarantine facility should be changed to quarantine station as the definition in ISPM 5 notes that quarantine station replaces quarantine facility (for example, Section 2.4 of this draft). |  | Australia |
|  | GENERAL COMMENTS | G |  | Unknown | ISPM 5 includes a number of definitions that relate to plants (including plants, plants for planting, plant products, planting and plants in-vitro). The use of “plants” may imply that the material is imported for research/processing. The draft seems to be focused on “plants for planting” and as such this defined term should be used throughout the draft standard. | See proposed revision to scope | Australia |
|  | General comments | G |  | Substantive | 'Quarantine stations' was used replace 'facilities' 'quarantine' was used to replace 'containment' This standard should be directly linked to the ISPMs on PRA. The provisions of the PEQ stations should be linked to the biological characteristics of the potential quarantine pests of the imported plant. An initial re-draft of the draft standard prepared by NZ was briefly presented and there was general support for it from the SWP Members attending the regional workshop on draft standards. |  | PPPO |
|  | General comments | G | Todo la norma | Technical | En todo el texto de la norma el termino “contención” debe ser sustituido por el termino “confinamiento”. | El uso del termino contención no corresponde con la definición de dicho termino de la NIMF N° 5, por ello el termino no permite la mejor comprensión de algunos aspectos del texto de la norma. | Costa Rica |
|  | General comments | G |  | Technical |  | Considerar las instalaciones de contención para realizar investigaciones con plagas cuarentenarias y otros organismos importados. | Costa Rica |
|  | General comments | G |  | Substantive Substantive Editorial | PEQ levels are rather arbitrarily defined and not helpful in order to justify the link between requirements and PEQ levels. At this stage to change the approach is difficult but another possible approach is provided in the Annex. The SC may consider further work on this standard before it is ready for adoption. Concentrate on the expected results. Quality management systems are now being used in the field of plant health and have been useful in laboratories. In general, these systems define the results to be obtained rather than prescribing ways to reach objectives. NPPOs have to fix expected results but the best way to obtain such results is under the responsibility of those operating containment facilities. To align with this approach, redrafting of some sentences is required. For instance, having “a list” (a paper with a series of names) of staff authorized to enter the facility is just one way to check and trace that only authorised people are entering. Some containment facilities could for instance prefer to include authorisation in individual information sheets and provide each authorized person with a badge allowing doors to open, according to time and day restriction plus full traceability for instance, which is better in terms of control... Consistency between the appendix and text of standard should be checked | European Commission and its 27 member states, EPPO |
|  | General comments | G |  | Substantive |  | The standard should tackle the disposal and/or decontamination equipments, treatments and processes | Lebanon |
|  | General comments | G |  | Substantive | The use of the term “containment” in this standard is not in line with the definition contained in ISPM No. 5 Glossary of phytosanitary terms where “containment” is defined as Application of phytosanitary measures in and around an infested area to prevent spread of pest. The term “quarantine” is a better term as it is defined in ISPM No. 5 Glossary of phytosanitary of terms as Official confinement of regulated articles for observation and research or for further inspection, testing and/or treatment. Therefore, the term “quarantine” should be used in lieu of “containment” throughout the standard. If the term “containment” was to be used in this standard, a revised definition will need to be proposed and adopted by the Commission for Phytosanitary Measures (CPM). Also, ISPM No. 5 Glossary of phytosanitary terms is defining “quarantine station” as being an Official station for holding plants or plant products in quarantine. The term “quarantine station” should therefore be used instead of “facilities” throughout this standard. Again, the term “containment facilities” if chosen to be used, will need to be defined and submitted for adoption at CPM. | Canada |
|  | General comments | G |  | Technical | The use of the term containment does not correspond with the definition of this term in ISPM N° 5. For that reason, the term does not allow the best understanding of some aspects of the text in this draft. En todo el texto de la norma el termino “contención” debe ser sustituido por el termino “confinamiento”. | Que el título se ajuste al contenido y al ámbito de la norma, que se cumpla con la especificación no. 24 El uso del término contención no corresponde con la definición de dicho término de la NIMF N° 5, por ello el término no permite la mejor comprensión de algunos aspectos del texto de la norma. | Mexico |
|  | General comments | G |  | Substantive Substantive Substantive Technical Technical Technical Substantive Technical Technical Technical Technical Technical Technical Technical Technical | This draft is not in good condition so as to continue the process for its approval. It is accepted that the project describes a frame as general reference for designing post-entry quarantine facilities (PEQ). To this regard, it is recommended to have as a technical guide or similar document to provide orientation to the contracting parties for the design. In the case that the establishment of standards continues, it is suggested to convene a new group of experts in charge to revise sections 1 & 2 of this draft, in order to word an introductory part that considers a wide scope (shipment of plants for planting, biological control agent, beneficial organisms, pests for investigation purposes, pests for diagnosis), envisaging preparation of annexes by type of organism to replace the one of section 3. These annexes shall analize in each case, what levels of confinement (biosecurity) are applicable to the type of articles contained in the scope; for instance, an annex for plants for planting that specifies what levels of confinement (biosecurity) are required for this case. Limitation of the scope of this draft standard also sets limits for its utility. The one that is proposed is different from the approved draft and it should be clearly defined, specifying what is included and what is not (for instance, whether it includes or not germplasm) The standard should be addressed to designing and operation of PEQ falicities and not to their selection as phytosanitary measure. (ISPM 11) The document implies that the PEQ is the only option for risk management or that it is a prerequisite for the application of other measures. The facilities (containments) imply high investment costs for the countries, although there may not be necessary to have this type of structures, as explained in the previous paragraph. The text of the document is ambiguous and many times it refers to the case of organisms or to requirements, especially applicable to containment of organisms, which is not adequate for plants. Section 3, in particular, is more appropriate for biological control agents, beneficial organisms and pests, and is not strictly linked to contention of plant consignments. Terms used in the text are confusing. Interpretation of terms should be reviewed, for instance: use of the term “contention” (it might be better “confinement”, that is included in the definition of “quarantine” in ISPM 5). “Escape” is interpreted as the impossibility to contain a pest; and “Security” is used as a synonim of “Contention”. The word “security” is proposed in the amendment to ISMP No. 5, 2008 as part of the term “Phytosanitary security (of a consignment)” Other types of contention facilities (confinements) that are neither mentioned , nor considered are, for instance: refrigerated chambers, security deposits, sealed containers, that might be used in the case of consignment of plants, if appropriate. PEQ(1) is not adequately described and does not provide indications about management of field sites, which is one of the most useful tools in the region of Latin America and the Caribbean. The PEQ (2) text, although stating that there is no need of special design features, is too strict about physical and operational requirements, then its application is difficult and exagerated, taking into consideration the level of risk involved. It is considered that PEQ(3) is maximum security level necessary for the consignment of plants. PEQ(4) is overly demanding for plants but is appropriate for the management of organisms which have been explicitely excluded in the scope of this document. In the document there is no explanation about the procedures to build table in annex 1, and it is not clear what are the variables to be included or how to use the table. | El Salvador, Guatemala, Honduras, OIRSA |
|  | General comments | G | The whole standard | Technical | 1) In the whole text, the term “contention” should be replaced by the term “confinement” | 1) The term “contention” is not used in agreement with its definition in ISPM No. 5, and that is the reason why its use in this project of ISPM does not permit an adequate comprehension of the text. | El Salvador, Guatemala, Honduras, OIRSA |
|  | General comments | G |  |  | It is recognized that the project describes a general reference framework to design post entry quarantine facilities and for this reason it is advisable to consider it as “Technical Guidelines” or a similar document, providing orientation to IPPC contracting parties to design them. If this document finally follows the standard setting process to reach the status of an ISPM, it is advisable to call for another EWG charged to review sections 1 and 2 of this draft, to produce an introductory section that considers a wide scope (consignments of plants, biological control agents, beneficial organisms, pests for research purposes, pest as controls for diagnostics) and foreseeing the production of Annexes for each type of organism to replace section 3. These Annexes should consider for each case of articles mentioned in scope, the containment level that is applicable, for instance, one Annex for consignments of plants for planting, establishing the required characteristics for containment. The limitation of the scope of this draft ISPM, conditions also it usefulness and is different from the one that has been approved in the specification. It also has to be clearly defined, specifying what is included or not (for instance, the case of germplasm) The text must be addressed to design and operation of PEQ facilities and not to it consideration as a phytosanitary measure. The document presupposes that PEQ is the only option for risk management or a previous condition to the application of other phytosanitary measures, what is not the case. Facilities involve high costs of investment to countries, and this kind of structures are not totally necessary, as a result of what has been explained in the previous bullet point. The text of the document is ambiguous and makes many reference to the case of organisms or to requirements applicable to the case of organisms, what is not appropriate for the case of plants. Section 3 particularly is more adequate for contention of biological control agents, beneficial organisms, pests for research purposes and pest as controls for diagnostics, and not directly related to containment of plant consignments. Use of terms is confusing and the meaning of some of them must be reviewed because they are not the ones used in IPPC definitions (the definition of “Quarantine” uses the term “confinement” instead of “containment”) or they are mentioned as synonyms to express contention or the impossibility to contain (escape, security) Other types of containment facilities that could be used, if appropriate, are not mentioned, as for instance: refrigerated chambers, safe deposits, sealed containers, among others, for plant consignments. PEQ1 is not adequately described and gives no indication on the management of field sites that is one of the more useful tools. Even establishing that no specific design characteristics are needed for PEQ2, the text on physical and operational requirements are too strict, what makes difficult it application and is exaggerated considered the level of risk involved. PEQ3 is the maximum level of safety considered as necessary to manage plant consignments. PEQ4 is too exigent for the case of plants and appropriate for management of organisms which were specifically excluded from the scope of this draft. There is no explanation in the document on the procedures to build the table in Annex 1 and it is not clear which are the variables to be included or how it has to be used. | Argentina, Brazil, Chile, Paraguay, Uruguay, COSAVE |
|  | General comments | G |  | Substantive | New Zealand feels this standard is too prescriptive and not sufficiently based on the biological characteristics of potential pests. We have drafted a re-write of this standard. | s | New Zealand |
|  | General comments |  |  | Technical/editorial | As a guideline for the post-entry quarantine facilities, some information such as the requirements of surrounding environment and the mesh requirement to screen house should be considered. The PEQ facilities are divided into 4 levels, and PEQ 3, PEQ 4 are almost have same requirements, if possible, the PEQ level can be combined in 3 levels. Another issue is the use of term “consignment” and ”consignment of plants”, ”NPPO” and ”NPPOs”, those should be check one by one and used in a consistent way. |  | China |
|  | Specific comments | S |  | Substantive | Access to all levels of PEQ facilities should be controlled for people and other organisms. | The statement in para 86 that the facility should not be accessible to the general public is applicable to all levels of PEQ | Australia |
|  | Specific comments | S |  | Substantive |  | Lack of consistency between text and Table 1 in the Annex in terminology – text refers to escape and consequences of escape; table escape and establishment. Establishment is only one consequence of escape, others include emergency response, loss of confidence in systems, compromised market access | Australia |
|  | Specific comments | S |  | Substantive | ISPM 5 includes a number of definitions that relate to plants (including plants, plants for planting, plant products, planting and plants in-vitro). The use of “plants” may imply that the material is imported for research/processing. The draft seems to be focused on “plants for planting” and as such this defined term should be used throughout the draft standard. |  | PPPO |
|  | Specific comments | S |  | Substantive |  | Addition of 2 more references: ISPM No 20: Guidelines for phytosanitary import regulatory system ISPM No 23: Guidelines for Inspection | Lebanon |
|  | title | 1 | Title | Substantive | Guidelines for the designStructure and operation of post-entry quarantine facilities for holding consignments of plants for planting in quarantine | Design, rather than structure, used in Scope section Makes clear the purpose of the standard and is consistent with proposed amendment to scope To more clearly identify the coverage of the standard - PEQ facilities can, and are, used by many NPPOs for research etc (not just for plants for planting) | Australia |
|  | title | 1 | Change of title | Substantive | Structure and operation of post-entry-quarantine stations. | Peq stations is defined in ISPM 5 | PPPO |
|  | title | 1 | Title | Substantive | STRUCTURE AND OPERATION OF POST-ENTRY QUARANTINE FACILITIES STATIONS FOR CONSIGNMENTS OF PLANTS AND PLANT PRODUCTS | It is important to specify in the title that the standard is outlining requirements specifically for consignments of plants as this is the scope of this standard. Plant products are added to the title (and scope) as, for example, grain is by definition a plant product and could conceivably be tested in a post entry quarantine station before release. | Canada |
|  | title | 1 | Title | Technical | Design and operation of post-entry quarantine facilities | More descriptive title | United States |
|  | SCOPE | 5 |  |  |  | Ajustarlo para que refleje lo señalado en la especificación no. 24 Ajustarlo a los tipos de envíos para incluir: plantas , agentes de control biológico, benéficos, plagas con fines de investigación o diagnóstico y los que quedarán excluidos (germoplasma, OMV) Las variables en la matriz deben estar en concordancia con lo que dice la tabla, el párrafo 91 no corresponde a la información en la tabla | Mexico |
|  | SCOPE | 5 | Párrafo nuevo | Technical | Esta norma no considera También se pueden necesitar las instalaciones de contención para realizar investigaciones con plagas cuarentenarias y otros organismos importados., pero esto se encuentra fuera del ámbito de esta norma. | Ubicación apropiada conforme al texto | Mexico |
|  | SCOPE | 5 | Sentence 1 Sentence 2 | Substantive | This standard describes general guidelines for the design and operation of post entry quarantine (PEQ) facilities for holding consignments of plants in containment and undertaking quarantine on imported plants for planting so that regulated pests potentially associated with them can not transfer and/or escape prior to their release of the plants for planting by the NPPO of the importing country. Four PEQ containment levels are specified described, which reflect the combination of physical design and operational procedures of the post entry quarantine facility in place to prevent release of regulated pests with different transfer and/or escape characteristics. Four containment levels are described specified | This makes the purpose and outcome of PEQ and the role of the facility very clear. This is closer to what the standard, as drafted, is providing guidance on. By referring to plants for planting, the scope excludes plant parts and plant products. It may include plants in vitro if they are plants for planting. Introduces the concept of containment levels and their relationship to the characteristics of the pest they are intended to hold. “specified” is prescriptive for a document providing guidance to NPPOs and the contains limited information on how facilities could/should be established. additionally, makes it consistent with the second para in “outline of requirements” | Australia |
|  | SCOPE | 5 | 1st sentence, 1st line, 2nd line 2nd sent | Substantive | Delete 'design' and replace with 'structure' Delete 'facilities' and replace with 'station' Delete 'containment' and replace with 'quarantine' Four levels of PEQ are described. | Use defined definitions in the glossary | PPPO |
|  | SCOPE | 5 | 1. Sentence 1 2. New sentence 3 | Editorial Substantive | 1. ... facilities for holding consignments of plants in containment 2. Containment facilities for imported quarantine pests in isolation are outside the scope of this standard. | 1. Not necessary 2. Text moved from para 18 (and modified). Clarifies an important element (plants only) of scope. | EC, EPPO |
|  | SCOPE | 5 | 1. Sentence 1 and 2 2. After Para. 5 | Editorial Substantive | This standard describes general guidelines for the design and operation of post-entry quarantine (PEQ) facilities stations for holding consignments of plants and plant products in containment quarantine. Four containment quarantine levels are specified. Add a new para., initially para. 18: Containment facilities Quarantine stations may also be required to conduct research with quarantine pests and other imported organisms, but this is outside of the scope of this standard. | 1. As per General comments made above and as per comment made for paragraph 1. The change in words as shown in column 5. should be made consistently throughout the standard. 2. Move para. 18 to the Scope as this statement is needed to clarify the scope of the standard. | Canada |
|  | SCOPE | 5 | Sentence 1 | Substantive | This standard describes general guidelines for the design and operation of post-entry quarantine (PEQ) facilities for holding consignments of plants ¹ in containment. | Add footnote: Although the scope of this draft ISPM only refer to plants it may also be applied to beneficial organisms | South Africa |
|  | SCOPE | 5 | Sentence 1 | Substantive | This standard describes general guidelines for the design and operation of post-entry quarantine (PEQ) facilities for holding consignments of plants regulated articles in containment. | Use of “plants” limits the application of this ISPM. It is proposed to broaden the scope to apply to all regulated articles as defined in ISPM 5 that may need to be contained. | Zambia |
|  | REFERENCES | 7 | references | Substantive | include ISPM 2 and ISPM 20 | both of these ISPMs should provide valuable material for this standard. | Australia, PPPO |
|  | REFERENCES | 9 | New reference | Technical | Framework for pest risk analysis, 2007. ISPM No. 2, FAO, Rome | See comment at [23] | EPPO, European Union |
|  | definitions | 11 | Sentence 1 | Editorial | ... of phytosanitary terms used in thisthe present standard... |  | Australia, PPPO |
|  | OUTLINE OF REQUIREMENTS | 12 | 1. Sentence 1 2. Sentence 2 Sentence 5 | Substantive Substantive Substantive | 1. The pest risk associated with the importation of consignments of plants regulated articles into a country may be managed by the use of post-entry quarantine (PEQ) facilities that provide appropriate containment for teh risk that has been identified with the consignments being imported. 2. Pest risk assessment is required to determine the level of PEQ for a specified consignment of plants regulated articles The PEQ facility may consist of a field site, screen house, glasshouse, phytotron and/or laboratory. | 1. Use of ”plants” limits the application of this ISPM. It is proposed to broaden the scope to apply to all regulated articles as defined in ISPM 5 that may need to be contained. 2. Pest risk assessment is required for all regulated articles, not only plants. Another specialised operation | Zambia |
|  | OUTLINE OF REQUIREMENTS | 13 |  | Translation | El riesgo de plaga relacionado con la importación de envíos de plantas a un país puede manejarse mediante el uso de instalaciones de cuarentena posentrada (CPE) que proporcionenposibiliten el confinamiento la contención apropiada para el riesgo que se ha identificado con dichos envíos. Es necesaria la evaluación del riesgo de plaga para determinar el nivel de CPE para un envío de plantas especificado. Los requisitos de manejo del riesgo de plaga determinan el diseño y la operación de la instalación de CPE. La instalación de CPE puede constar de un sitio de campo, invernadero con malla, invernadero y/o laboratorio. | The pest risk associated with importation of consignments of plants into a country may be managed by the use of post-entry quarantine (PEQ) facilities that provide the appropriate containment for the risk that has been identified with the consignments being imported. , Pest, risk assessment is required to determine the level of PEQ for a specified consignment of plants. , Pest, risk management requirements determine the design and operation of the PEQ facility. The PEQ facility may consist of a field site, screen house, glasshouse and/or laboratory | Mexico |
|  | OUTLINE OF REQUIREMENTS | 13 | New para at start of section | Substantive | A pest risk analysis of a proposed import of consignment of plants for planting should be carried out by the NPPO prior to import to determine the level of risk. This will determine the level of risk associated with the import and determine how the imported consignment should be dealt with on arrival in the importing country. The NPPO may determine that the risk The pest risk associated with importatation of consignments of plants into a country may be managed by the use of post-entry quarantine | Need the 1st step in the process to be made clear at the start | Australia |
|  | OUTLINE OF REQUIREMENTS | 13 | sentence 1 | Substantive | 1. ...quarantine (PEQ) facilities that provide the appropriate level of quarantine containment for the risk that has... | 1. Containment is a defined term Application of phytosanitary measures in and around an infested area to prevent the spread of pest. The correct term here is probably “quarantine” official confinement of regulated articles for observation and research or for further inspection, testing and/or treatment. | Australia, PPPO |
| 4 | OUTLINE OF REQUIREMENTS | 13 | sentence 2 | Substantive | ...of PEQ for a specified consignment of plants for planting. | ISPM 5 includes a number of definitions that relate to plants (including plants, plants for planting, plant products, planting and plants in-vitro). The use of “plants” may imply that the material is imported for research/processing. The draft is focused on “plants for planting” and as such this defined term should be made clear in the scope or used throughout the draft standard. | Australia |
|  | OUTLINE OF REQUIREMENTS | 13 | 2nd sentence | Substantive | ...of PEQ for a specified consignment of plants. | ISPM 5 includes a number of definitions that relate to plants (including plants, plants for planting, plant products, planting and plants in-vitro). The use of “plants” may imply that the material is imported for research/processing. The draft seems to be focused on “plants for planting” and as such this defined term should be used throughout the draft standard. | PPPO |
|  | OUTLINE OF REQUIREMENTS | 13 | 1. Sentence 1 2. Sentence 2 | Technical Editorial | 1. Delete, replace with “For certain consignments of plants, the National Plant Protection Organization (NPPO) may decide after pest risk analysis (PRA) that post entry quarantine (PEQ) is required to manage pest risks.” 2. Pest risk assessment analysis is required to determine the level of PEQ containment for a specified consignment of plants. | 1. Clarifies that PEQ is not the first choice for managing pest risks. Consistency with Background. 2. Pest risk analysis is where pest management measures are determined. Replacement of PEQ with containment – clarity. | EC, EPPO |
|  | OUTLINE OF REQUIREMENTS | 13 | 2nd row | Editorial | use of post-entry quarantine (PEQ) facilities that provide the appropriate containment to manage the risk that has... |  | United States |
|  | OUTLINE OF REQUIREMENTS | 13 |  | Technical | PEQ facility may consist of a field site, screenhouse, glasshouse phytotron and/or laboratory | For post entry screening of high risk germplasm materials where it is affordable | Nigeria |
|  | OUTLINE OF REQUIREMENTS | 14 |  | editorial | For each PEQ containment level, a procedural manual approved by the NPPO should show ……. | Clarity | China |
|  | OUTLINE OF REQUIREMENTS | 14 |  | Substantive | For each PEQ quarantine level, a procedural manual approved by the NPPO should show ....... | Clarity | PPPO |
|  | OUTLINE OF REQUIREMENTS | 14 | 2nd sentence | Substantive | ... manual should show how the PEQ facility meets and maintains the level of containment requiremented. | Need to demonstrate that the facility can be maintained, not just established Concept of containment levels and relationship to the characteristics of the pest they are intended to hold. | Australia |
|  | OUTLINE OF REQUIREMENTS | 14 | Sentence 1 | Editorial | Four levels of PEQ containment (PEQ1 to PEQ4) are described. For all PEQ containment levels, an operating procedures manual should show how the PEQ facility (PEQ1 to PEQ4) meets the containment requirements. | Replacement of PEQ by containment level is advisable for clarity | EC, EPPO |
|  | OUTLINE OF REQUIREMENTS | 15 | 1st sentence | Substantive | ...unlikely to transfer to a suitable host escape and where the consequences of escape transfer, as determined by the contracting party's NPPO, are low to moderate. | Just to highlight that the NPPO will determine the consequences. | Australia, PPPO |
|  | OUTLINE OF REQUIREMENTS | 15 | First line | Technical | Field sites or screen house | Both screen house and field site are PEQ level 1 | Lebanon |
|  | OUTLINE OF REQUIREMENTS | 15 | 1. Sentence 1 2. Sentence 5 | Technical Technical | 1. Field sites provide the lowest containment level, PEQ1, and are suitable for consignments of plants that may be infested with quarantine pests that are unlikely to escape and where the consequences of escape are low to moderate. 2. PEQ3 introduces requirements relating to air pressure control and air filtration avoiding pests escaping by air, as well as... | 1. Not necessary to provide examples in the outline of requirements. No examples given for other PEQ levels. 2. It is recommended to present the objectives to be reached (“avoid pests escaping by air”, which implies that a risk assessment is done) rather than mean of containment (“pressure control and air filtration”). It is not because the pressure is controlled and the air filtered that no escape is possible... Basically the key point is the dissemination possibilities of given organisms. | EC, EPPO |
|  | BACKGROUND | 16 | Sentence 1 | Substantive | Imported consignments of plants, plant products and other regulated articles can present a risk to plant health because they have the potential to introduce quarantine pests. | Add to adequately broaden scope of background to include plant products and other regulated articles that presents a plant health risk | Zambia |
|  | BACKGROUND | 17 |  | Editorial | Se utiliza el análisis de riesgo de plagas (ARP) con el fin de evaluar los riesgos de plagas e identificar las medidas apropiadas para las vías particulares. Para varios productos que se comercian comercializan en el ámbito internacional, las ONPF de los países importadores identifican las medidas de manejo del riesgo que mitigan el riesgo de plaga sin establecer requisitos después de la entrada. Para algunos productos, las ONPFs pueden decidir si algunos envíos deberían retenerse después de su entrada al país, dentro de una instalación que proporcione un nivel de contención conocido, con el fin de disminuir el riesgo a un nivel aceptable. Esto permite realizar una prueba global para detectar la presencia de plagas, tiempo para manifestar síntomas y aplicar el tratamiento apropiado, de ser necesario. | Término más apropiado Eliminar por ser reiterativo del manejo de riesgo. | Mexico |
|  | BACKGROUND | 17 | oración 2 | Editorial | Para varios productos que se comercian en el ámbito internacional, las ONPF de los países importadores identifican las medidas de manejo del riesgo que mitigan el riesgo de plaga sin establecer requisitos después de la entrada. | Eliminar por ser reiterativo del manejo de riesgo. | Costa Rica |
|  | BACKGROUND | 17 | Sentence 1 | Substantive | Imported consignments of plants and plant products can present | See comment for paragraph 1 | Canada |
|  | BACKGROUND | 17 | 1st sentence New sentence 3A 4th sentence 5th Sentence | Substantive | Imported consignments of plants for planting can present a risk... ...pest risk analysis (PRA) is used. Risk analysis may indicate that the pest risk cannot be managed, in which case importation of the plant for planting may not be allowed. ...importing NPPOs identify risk management measures that manage the risk to an acceptable level without the need for the application of PEQ... mitigate pest risk without requirements after entry For some commodities and based on the risk analysis, NPPOs may decide that certain consignments should be held after entry into the country within a facility providing a known level of quarantine containment in order to reduce the risk of entry of regulated pests to an acceptable level. | See comments above To give the complete picture. “requirements after entry” is confusing as it implies post quarantine. In most countries a consignment has not “entered” a country until it has been released by the NPPO (if required). See general comments Clarifies the nature of risk being reduced. | Australia |
|  | BACKGROUND | 17 | 1st sentence 4th sentence 5th Sentence | Substantive Substantive Substantive | Imported consignments of plants for planting can present a risk... ...importing NPPOs identify risk management measures that manage the risk to an acceptable level without the need for the application of PEQ... mitigate pest risk without requirements after entry For some commodities, NPPOs may decide that certain consignments should be held after entry into the country within a facility providing a known level of quarantine containment in order to reduce the risk to an acceptable level. | ISPM 5 includes a number of definitions that relate to plants (including plants, plants for planting, plant products, planting and plants in-vitro). The use of “plants” may imply that the material is imported for research/processing. The draft seems to be focused on “plants for planting” and as such this defined term should be used throughout the draft standard. “requirements after entry” is confusing as it implies post quarantine. In most countries a consignment has not “entered” a country until it has been released by the NPPO (if required). Containment is a defined term Application of phytosanitary measures in and around an infested area to prevent the spread of pest. the correct term here is probably “quarantine” official confinement of regulated articles for observation and research or for further inspection, testing and/or treatment. The use of “quarantine” here also means that the sentence makes sense (as it was it was implied that by simply holding something in PEQ that would address the concerns whereas “quarantine” can include testing and treatment). | PPPO |
|  | BACKGROUND | 17 | 1. Sentence 1 2. Sentence 3 3. Sentence 5 4. Sentence 6 | Editorial Technical | 1. ... plants can present a risk to plant health because they have the potential ... 2. is used should be carried out 3. For some commodities, NPPOs may, based on a PRA, decide that a quarantine period is part of the import requirements or is necessary for certain consignments should be held after entry into the country because of uncertainty about the presence of pests in that consignment. A post entry quarantine period within a facility providing a known level of containment may be prescribed in order to reduce the risk to an acceptable level. 4. ... time for the expression of signs or symptoms. | 1. Simpler language 2. Conventional phrasing 3. To clarify that quarantine measures should be based on PRA and to add more specific text on the types of circumstances under which PEQ facilities are used. 4. To cover pests as well as pathogens | EC, EPPO |
|  | BACKGROUND | 17 | Line eight | Technical | NPPOs might decide that certain suspected consignments ... | Only suspected consignments are held | Lebanon |
|  | BACKGROUND | 17 | Last sentence | Technical | This allows for comprehensive testing for the presence of pests, time for the expression of signs or symptoms, and appropriate action if necessary. | More technically correct | United States |
|  | BACKGROUND | 17 | first row |  | plant materials | seeds and other parts of plants can also present a risk to plant health because of the poteltial to introduce quarantine pests | Viet Nam |
|  | BACKGROUND | 18 | Whole paragraph | Substantive | Delete | Amended and moved to scope. Sets an important element (plants only) of scope | EC, EPPO |
|  | BACKGROUND | 18 | The whole para. | editorial | Move the whole para. to scope as a second para. | This para deals with some issue which are not included in this atandard, this statement should be in scope. | China |
|  | BACKGROUND | 18 | Oración 1 |  | También se pueden necesitar las instalaciones de contención para realizar investigaciones con plagas cuarentenarias y otros organismos importados, pero esto se encuentra fuera del ámbito de esta norma. | Eliminar y reubicar este párrafo en el ámbito | Mexico |
|  | BACKGROUND | 18 | Sentence 1 Sentence 1 | Editorial Substantive | Containment facilities may also be required used for to conducting research... Quarantine Containment facilities may also be required to conduct research... | Grammar | Australia |
|  | BACKGROUND | 18 |  | Substantive | Quarantine Containment facilities may also be required to conduct research... | Containment is a defined term Application of phytosanitary measures in and around an infested area to prevent the spread of pest. the correct term here is probably “quarantine” official confinement of regulated articles for observation and research or for further inspection, testing and/or treatment. | PPPO |
|  | BACKGROUND | 18 | Sentence 1 | Substantive | Move para. 18 after para. 5: Containment facilities may also be required to conduct research with quarantine pests and other imported organisms, but this is outside of the scope of this standard. | Delete the entire sentence as para. 18 is moved under Scope. | Canada |
|  | BACKGROUND | 19 | Entire para | Substantive | Move para. 19 after para. 22: Post-entry quarantine (PEQ) may be required for the following reasons: - containment of imported plant material that needs to be screened for quarantine pests that cannot be detected by inspection at the point of entry - containment of plant material suspected on import of being infested with quarantine pests for further investigation and possible confirmation of the identity of the pest - following detection of pests, mitigation of risk by application of appropriate phytosanitary measures. | Move para. 19 to General requirements as it is a more appropriate location. | Canada |
|  | BACKGROUND | 19 | 1st sentence | Editorial | PEQ may be required... |  | PPPO, Korea (Republic of), China |
|  | BACKGROUND | 19 | Sentence 1 | Substantive | Post-entry quarantine (PEQ) may also be required for the following reasons. | Add “also” to clarify that the point of entry related situations does not exclude the principle of PRA | Ghana , Zambia |
|  | BACKGROUND | 19 | Oración 1 Sangría 3 | Editorial Editorial | Puede exigirse requerirse la cuarentena postentrada (CPE) por las siguientes razones: después de la detección de las plagas de mitigación del riesgo mediante la aplicación de las medidas fitosanitarias apropiadas. | Termino más adecuado al español. Mejora la redacción y comprensión | Mexico, Costa Rica |
|  | BACKGROUND | 19 | 1st dash point 2nd dash point | Substantive | quarantine containment of imported plants and any propagative material derived from them material that needs to be.... - quarantine containment of plant material with an undetermined phytosanitary status at import to allow for suspected on import of being infested with quarantine pests for further... | There may be a need to test seed, grafted material for indexing, tissue culture and risk around this activity also needs to be managed by the quarantine station The correct term here is probably “quarantine” official confinement of regulated articles for observation and research or for further inspection, testing and/or treatment. The process of quarantine will verify status. | Australia |
|  | BACKGROUND | 19 | Add indent | Substantive | New indent - containment of plants for scientific and breeding purposes from e.g. high risk origin that may be prohibited to import for commercial purposes | Another important reason for using PEQ facilities | EC, EPPO |
|  | BACKGROUND | 19 |  | Editorial | Detected by inspection measures available at the point of entry | Detection measures are applied by the entry point staff of the facilities are available | Lebanon |
|  | BACKGROUND | 20 | Sentence 1 | Technical | ..., and the consignment released or destroyed as appropriate | Completeness | Australia |
|  | BACKGROUND | 20 | Oración 1 | Technical Editorial | El propósito de la CPE es contener tanto la planta como cualquier plaga cuarentenaria que esté potencialmente asociada con ésta, de tal forma que ninguna pueda escapar de la instalación antes de haber concluido las actividades de inspección, prueba, tratamiento, y monitoreo verificación necesarios que se requieran, y se libere el envío. | Termino mas adecuado conforme a la NIMF n° 5. Mejor redacción y comprensión del texto. | Costa Rica, Mexico |
|  | BACKGROUND | 20 | 2nd line | Editorial | ....escape from the facility... |  | Korea (Republic of) , PPPO, China |
|  | BACKGROUND | 20 | Sentence 1 & 2 | Substantive | The purpose of PEQ is to contain both the plants, other regulated articles and any quarantine pest potentially associated with them so that neither can escape the facility before the required inspection, testing, treatment and verification activities have been completed, and the consignment is released. | For clarity and consistency | Zambia |
|  | GENERAL REQUIREMENTS | 21 | Heading | Editorial | Delete 'General' | Superfluous: no corresponding ' Specific' | EC , EPPO |
|  | 1. PEQ Containment | 22 | Title | Substantive | 1. PEQ Containment Level Could be defined as 'the designated level of containment achieved by a PEQ facility to prevent the transfer and/or escape of regulated pests through implementation of an integrated suite of physical design measures and operational procedures'. | The section describes the concept of containment level delivered by the suite of design measures built into the quarantine station and effective operational procedures in place that prevent the transfer and/or escape of the regulated pests identified in the risk analysis. These physical and operational measures are integral to achieving the quarantine outcome (preventing release of regulated pests) but are in addition to the testing for presence of pests, expression of symptoms and application of treatments directed at the plant material itself. It is useful to clarify this relationship to ensure there is no confusion over terms and their meaning. | Australia |
|  | 1. PEQ Containment | 22 | Title | Substantive | PEQ Quarantine Containment | Containment is a defined term Application of phytosanitary measures in and around an infested area to prevent the spread of pest. the correct term here is probably “quarantine” official confinement of regulated articles for observation and research or for further inspection, testing and/or treatment. | PPPO |
|  | 1. PEQ Containment | 22 | New para | Substantive | ISPM No. 20 (Guidelines for a phytosanitary import regulatory systems), Section 4.2.2 notes that NPPOs may specifically authorise a requirement for PEQ. | Relevant reference | Australia, PPPO |
|  | 1. PEQ Containment | 22 | After Para. 22 | Substantive | New para. after para. 22 : Post-entry quarantine (PEQ) may be required for the following reasons: - containment of an imported plant material consignment of plants or plant products that needs to be screened for quarantine pests that cannot be detected by inspection at the point of entry - containment of a plant material consignment of plants or plant products suspected on import of being infested with quarantine pests for further investigation and possible confirmation of the identity of the pest - following detection of pests, mitigation of risk by application of appropriate phytosanitary measures. | Move para. 19 after para. 22. More appropriate location. Replace “plant material” with “consignment of plants” to be consistent throughout the standard. | Canada |
|  | 1. PEQ Containment | 23 | 1st sentence 2nd sentence New Sentence 3A | Substantive | The containment levels of PEQ facilities are Determining the containment level necessary for imported plants for planting is based on the principles outcomes of a pest risk analysis as described. The principles for risk analysis are described in ISPMs No.2 (Framework for pest risk analysis) and ISPM No. 11.... The pest risk assessment analysis determines the level of risk associated with the plants for planting and identifies measures, that may include PEQ, to manage the risks to an acceptable level. containment that is required. ...operating procedures of the PEQ facility. The facility should operate at the level commensurate with the highest identified risk contained at the PEQ. | Separates level of containment from quarantine operations that verify the quarantine status of imported material and reinforces risk based actions. PEQ conditions should be determined through PRA Clarification of procedures | Australia |
|  | 1. PEQ Containment | 23 | 1st sentence 2 nd sentence | Substantive Substantive | Determining the quarantine containment levels of PEQ facilities should be are based on the principles of pest risk analysis as described in ISPMs No. 2 (Framework for pest risk analysis) and No. 11 (Pest risk analysis for quarantine pests including analysis of environmental risks and living modified organisms). The pest risk assessment analysis determines the level of risk associated with the plants for planting and identifies measures, that may include PEQ, to manage the risks to an acceptable level. containment that is required. | Containment is a defined term Application of phytosanitary measures in and around an infested area to prevent the spread of pest. the correct term here is probably “quarantine” official confinement of regulated articles for observation and research or for further inspection, testing and/or treatment. PEQ conditions should be determined through PRA | PPPO |
|  | 1. PEQ Containment | 23 | 1. Sentence 1 2. Sentence 2 3. Sentence 3 | Editorial Technical | 1. The definition of containment levels of PEQ facilities are is based on the principles of pest risk analysis as described in ISPM No. 2 (Framework for pest risk analysis) and ISPM No. 11 (Pest risk analysis for quarantine pests including analysis of environmental risks and living modified organisms). 2. The pest risk assessment determines the level of PEQ containment that is required. 3. Add: '... PEQ facility to be used'. | 1. Containment levels are based on pest risk analysis, rather than the principles of PRA. Add ISPM No. 2 because organisms of concern may not be known a priori as pests. 2. Clarity 3. To clarify this is about the 'use phase' not the 'design phase' | EC, EPPO |
|  | 1. PEQ Containment | 23 | Sentence 1 | Substantive | The containment levels of PEQ facilities are based on the principles of pest risk analysis as described in ISPM No. 11 (Pest risk analysis for quarantine pests including analysis of environmental risks and living modified organisms). | Delete sentence 1 as it does not add anything to the standard and there are no principles described per se in ISPM 11. | Canada |
|  | 1. PEQ Containment | 23 | Sentence 1 | Editorial | The containment levels of PEQ facilities are based on the principles of pest risk analysis as described in ISPM No. 11 (Pest risk analysis for quarantine pests including analysis of environmental risks and living modified organisms). | Use italics for consistency in reference format used | South Africa, Zambia, Ghana |
|  | 1. PEQ Containment | 23 | 1st row | Technical | The containment level of PEQ facilities selected for containment is based on the principles of pest risk analysis as described ... | For clarification | United States |
|  | 1. PEQ Containment | 24 | Oración 1 Oración 2 | Technical Technical | La ONPF debería determinar el nivel de contención necesario para un envío de plantas específico que entra a las instalaciones de CPE, basándose en una evaluación del riesgo de plagas para las plagas potenciales que pueden estar asociadas con el material vegetal importado o para el organismo importado mismo. La asignación de las condiciones de contención apropiadas, y de ser conveniente, los niveles de CPE pertinentes, también deberían tomar en cuenta las circunstancias pertinentes en el país y la biología de la plaga. | 1. Eliminar, no es consistente con el ámbito de la norma 2. Eliminar, ya esta contenido en párrafo N° 25 To be consistent, already this text is in paragraph N° 25 | Mexico |
|  | 1. PEQ Containment | 24 | 1st sentence 2nd sentence | Substantive | The NPPO should determine the containment level of quarantine and the appropriate containment level required for a specific consignment of plants entering PEQ facilities based on a pest risk analysis assessment for the potential pests that may be associated with imported plant material or for the imported organism itself. The assignment of the appropriate containment conditions, and if appropriate the relevant PEQ levels, should also take into account relevant circumstances in the country and the biology of the pest. | Quarantine and Containment level as the combination of physical structures and operational procedures to prevent escape and actions to determine pest status of imported plants for planting. Text added to the second sentence of para 23 will address this point. | Australia |
|  | 1. PEQ Containment | 24 | 1st sentence | Substantive | The NPPO should determine the containment level of quarantine required for a specific consignment of plants for planting entering PEQ facilities based on a pest risk analysis assessment for the potential pests that may be associated with imported plants for planting material or for the imported organism itself. | Containment is a defined term Application of phytosanitary measures in and around an infested area to prevent the spread of pest. the correct term here is probably “quarantine” official confinement of regulated articles for observation and research or for further inspection, testing and/or treatment. | PPPO |
|  | 1. PEQ Containment | 24 | 2nd sentence | Substantive | The assignment of the appropriate containment conditions, and if appropriate the relevant PEQ levels, should also take into account relevant circumstances in the country and the biology of the pest. | Text added to the second sentence of para 23 will address this point. | Australia, PPPO |
|  | 1. PEQ Containment | 24 | 1. Sentence 1 2. Sentence 2 | Technical | 1. The NPPO should determine the containment level required for a specific consignement of plants entering PEQ facilities based on a pest risk assessment for the potential pests that may be associated with imported plant material or for the imported organism itself. 2. The assignment of the appropriate containment conditions, and if appropriate the relevant PEQ levels, should also take into account relevant circumstances in the country and the biology of the pest. | 1. Use of the word “specific” is confusing: this standard is about general requirements for quarantine facilities. The scope of the standard does not now include import of pests. 2. Delete the sentence because it is confusing and the concept is covered by other parts | EPPO |
|  | 1. PEQ Containment | 24 | 1. Sentence 1 2. Sentence 2 | Technical | 1. The NPPO should determine the containment level required for a specific consignments of plants entering PEQ facilities based on a pest risk assessment for the potential pests that may be associated with imported plant material or for the imported organism itself. 2. The assignment of the appropriate containment conditions, and if appropriate the relevant PEQ levels, should also take into account relevant circumstances in the country and the biology of the pest. | 1. Use of the word “specific” is confusing: this standard is about general requirements for quarantine facilities. The scope of the standard does not now include import of pests. 2. Some NPPOs might not take the circumstances in the country into account and only base their assignment of containment conditions on the biology of the pest, see new example in Annex 1. | EC |
|  | 1. PEQ Containment | 24 | Third line Fifth line | Technical Technical | The NPPO should determine the containment level required for a specific consignment of plants entering PEQ facilities based on a pest risk assessment for the potential pests that may be associated with imported plant material or for the imported organism itself Country and the biology and behavior of the pest | To be consistent with the scope of the standard Pest behavior is an important factor | Lebanon |
|  | 1. PEQ Containment | 24 | Sentence 1 | Editorial | The NPPO should determine the containment quarantine level required for a specific consignment of plants entering PEQ facilities based on a pest risk assessment for the potential pests that may be associated with the imported plant material consignment of plants or plant products or for the imported organism itself. | New wording to be consistent throughout the standard as mentioned in General comments above and then for para. 22. | Canada |
|  | 1. PEQ Containment | 24 | Sentence 1 | Substantive | The NPPO should determine the containment level required for a specific consignment of plants regulated articles entering PEQ facilities based on a pest risk assessment for the potential pests that may be associated with imported plant material or for the imported organism itself. | Pest risk assessment is required for all regulated articles, not only plants and based on the PRA outcome an appropriate level of proetction or containment is determined. | South Africa |
|  | 1. PEQ Containment | 24 | End of para | Technical | (See ISPM No.11) | Reference to ISPM No.11 to clarify this paragraph | United States |
|  | 1. PEQ Containment | 24 | Sentence 1 & 2 | Substantive | The NPPO should determine the containment level required for a specific consignment of plants and regulated articles entering PEQ facilities based on a pest risk assessment for the potential pests that may be associated with imported plant material or for the imported organism itself | For consistemcy | Zambia |
|  | 1. PEQ Containment | 25 | 1. Oración 1 2. Oración 2 | Editorial Editorial | El Anexo 1 contiene información sobre los métodos para determinar los niveles de CPE y describe cuatro niveles de contención de CPE, que varían desde el nivel mas bajo, CPE1 (en que la instalación de CPE puede ser un campo abierto), hasta el alto, CPE4 (cuando la instalación de CPE es un laboratorio de cuarentena especializado). Los niveles de contención difieren en el número y tipo de requisitos que se recomiendan (véase el Apéndice 1). Los requisitos descritos abajo pueden necesitar ajustarse conforme a las circunstancias del manejo del riesgo de plaga especificado. | 1. Para clarificar el texto 1. Para clarificar el texto Will apply the same in the Spanish version for a better comprehension. | Mexico |
|  | 1. PEQ Containment | 25 | 1st sentence 3rd sentence | Substantive | Annex 1 provides guidance to NPPOs in contains information on methods for determining... ... adjusted according to the specific pest risks identified by pest risk analysis. management circumstances | ISPMs should provide guidance to NPPOs. Need to link back to PRA determining measures. | Australia |
|  | 1. PEQ Containment | 25 | 1st sentence 2nd sentence 3rd sentence | Substantive Substantive Substantive | Annex 1 provides guidance to NPPOs in contains information on methods for determining... The quarantine containment levels differ in the number... ... adjusted according to the specific pest risks identified by pest risk analysis. management circumstances | ISPMs should provide guidance to NPPOs. Containment is a defined term Application of phytosanitary measures in and around an infested area to prevent the spread of pest. the correct term here is probably “quarantine” official confinement of regulated articles for observation and research or for further inspection, testing and/or treatment. Need to link back to PRA determining measures. | PPPO |
|  | 1. PEQ Containment | 25 | Sentence 1 | Technical Editorial | Annex 1 contains options information on methods for determining PEQ levels and describes four levels of PEQ containment,... | To improve the sentence and clarify point; clarity. | EC, EPPO |
|  | 1. PEQ Containment | 25 | Sentence 3 | Editorial | The requirements for determining the required containment level, as described below, may need to be adjusted according to the specific pest risk management circumstances. | To link the indent to the main statement and to clarify containment level | South Africa |
|  | 1. PEQ Containment | 25 | Sentence 3 | Editorial | The requirements to determine containment level described below may need to be adjusted according to the specific pest risk management circumstances. | To clarify the reference to requirements mentioned in paragraph 26 | Zambia |
|  | 1. PEQ Containment | 26 | Oracion1 | Editorial | Una vez que se ha determinado el nivel necesario de contención para un envío específico que entre a la CPEcuarentena, la ONPF determina si ese nivel de contención puede proporcionarlo: | Consiste una abreviación ya indicada | Mexico, Costa Rica |
|  | 1. PEQ Containment | 26 | 1st sentence | Substantive | Once the required level of containment has been determined for a specific consignment entering quarantine, the NPPO determines whether that containment level can be provided by: |  | Australia |
|  | 1. PEQ Containment | 26 | Sentence 1 | Technical | Once the required level of containment has been determined for a specific consignment entering quarantine, the NPPO determines whether that containment level can be provided by: -an existing PEQ facility -a modification of its structural or operating conditions -quarantine in a different area -a new facility designed and constructed to meet requirements | The wording “specific consignment” suggests that this standard addresses individual NPPO decisions for specific situations. In that case these conditions (e.g. construction of a new facility) are not realistic. | EC, EPPO |
|  | 1. PEQ Containment | 26 | Sentence 1 | Substantive | Once the required level of containment has been determined for a specific consignment of plants entering quarantine, the NPPO determines whether that containment level can be provided by | To be consistent with the scope of the standard | Lebanon |
|  | 1. PEQ Containment | 26 | End of each bullet point | Editorial | Insert 'or' |  | PPPO |
|  | 1. PEQ Containment | 26 | Indent 2 | Substantive | - a modification of its structural or operating conditions of an existing facility | To clarify the statement that modifications may be made to “an existing facility” | South Africa, Zambia |
|  | 1. PEQ Containment | 26 | 2nd indent | Technical | - a modification of existing facility's structural or operating conditions | For clarification | United States |
|  | 2. PEQ Facilities | 27 | Heading | Editorial | Insert: 'General requirements for PEQ facilities' | To contrast properly with heading of section 3 | EPPO |
|  | 2. PEQ Facilities | 28 | Add after sentence 1. | Technical | The PEQ area should be clearly delimited. | Moved from para 50. This applies to all PEQ levels | EPPO |
|  | 2. PEQ Facilities | 29 | Sentence 1 | substantive | PEQ facilities should provide the appropriate level of containment for the level of risk associated with the import of consignments of plants. PEQ facilities may consist of a field site, screen house, glasshouse and/or laboratory. | To be consistent with the scope of the standard | Lebanon |
|  | 2. PEQ Facilities | 29 | Sentence 2 | Technical | PEQ facilities may consist of a field site, screen house, glasshouse and/or laboratory and supporting infrastructure. | Clarity | EPPO |
|  | 2.1 Location | 30 | Line one | Editorial | PEQ facilities should be located in areas that provide adequate isolation | The word Some isolation is not clear | Lebanon |
|  | 2.1 Location | 31 |  | Editorial Translation | Las instalaciones de CPE deberían estar ubicadas en áreas que proporcionen algún aislamiento, de ser posible, y estabilidad (por ejemplo, áreas no propensas a terremotos), con un mínimo de eventos climáticos severos, y algún tipo de separación de las áreas en donde abunden las especies de plantas relacionadas emparentadas (producción agrícola u hortícola, bosques o áreas de alta biodiversidad elevada). | 1. Mejorar la redacción del texto. 2. Termino mas adecuado al español | Mexico, Costa Rica |
|  | 2.1 Location | 31 | Sentence 1 | Editorial | some isolation (if possible), stability.... ..... are abundant, such as agriculture | Bracket text 'if possible' so clear referring to location, if this is what is meant Provides examples | Australia |
|  | 2.1 Location | 31 | 1st | technical | Add ‘e.g plant species, human activities, ’ | Provide some guides on what kinds of factors should be considered when the facility site are chosed. | China |
|  | 2.1 Location | 31 | Sentence 1 | Substantive | PEQ facilities should be located in areas that provide some isolation, if possible, stability... Replace sentence with: “In determining the location of the PEQ facility, the risks of accidental escape of quarantine organisms from the PEQ facilities in the case of an exceptional external event (e.g. earthquake, severe climatic event) should be addressed properly.” | Original text unnecessarily restrictive | EPPO |
|  | 2.2 Physical requirements | 33 | 1st line | Technical | Insert “and consignments of plants” at the end of “the biology of the pests” | The first thing which should be considered is to keep the viable of consignment when put it in facilities. The conditions in facilities should meet the requirements of plants growing. | China |
|  | 2.2 Physical requirements | 33 | Sentence 1 | Technical | should take into consideration the growth requirements of the plants, the biology of the possible pests identified by PRA | Facilities need to be suitable for plants and the likely pests | EPPO |
|  | 2.2 Physical requirements | 33 | Sentence 2 | Editorial | Office facilities and supporting service infrastructure should be available as required and should have suitable separation from the PEQ facilities as appropriate | Clearer Wording | Trinidad and Tobago |
|  | 2.2 Physical requirements | 33 | New last sentence new Sentences 2A-E | Substantive | ... facilities as appropriate. NPPOs may design facilities that contain a number of pests of similar biology (for example, insects, fungal pathogens, etc). 2A. The size of the facility should allow easy inspection of plants. 2B. All access to the facility should be restricted to authorised persons carrying out essential work only. 2C. The facility should remain locked at all times except when access by an authorised person is required. 2D. Access to the facility must not be through other areas where plants are being grown, ie. It must have its own entrance. 2E. All access points must be appropriately signed to indicate “Quarantine Area – Authorised Persons Only”. | Recognition that NPPOs are likely to develop a single facility designed for a range of pests. Physical requirements for facilities need additional information. | Australia |
|  | 2.2 Physical requirements | 33 | New last sentence | Substantive | ... facilities as appropriate. NPPOs may design facilities to a level to contain a number of pests of similar biology (for example, insects, fungal pathogens, etc). | Recognition that NPPOs are likely to develop a single facility designed for a range of pests. | PPPO |
|  | 2.2 Physical requirements | 34 |  | technical | Add a new dash point as last dash: access to water supply | Water supply is a very important requirement to PEQ facilities. | China, Korea (Republic of) |
|  | 2.2 Physical requirements | 34 | Dash 1 point 2 | Substantive | - access to water supply, accessible by road - delimitation of the stations should include external fencing - include moat | Necessary addition | PPPO |
|  | 2.2 Physical requirements | 34 | 1. Sentence 1 2. 3rd indent | Technical | 1. Physical requirements relate to: to consider include: 2. or air, water, solid and liquid waste | 1. Less restrictive 2. More complete | EPPO |
|  | 2.2 Physical requirements | 34 | Entire para. | Technical | Physical requirements relate to: - delimitation and delineation of the facility, external structural materials (for walls, floors, roof and windows), signage - design of openings (for doors, windows, air vents, drains and other conduits) - treatment systems (for air, water, solid waste) - equipment (e.g. specialized safety cabinets, back-up generators). | There is an assumption that the PEQ is an enclosed building but this is inconsistent with Section 3.1.1 where it is mentioned that for PEQ1 the PEQ facility may consist of a field site. Delineation and signage have been added to para. 34 to be consistent with the specific requirements outlined for PEQ1 in Section 3.1.2. | Canada |
|  |  | 36 | Sentence 1 | Editorial | PEQ facilities should either be operated by, or be authorized by the NPPO. | insert 2 commas (,) | Australia,PPPO |
|  |  | 36 | Sentence 1 | Substantive | PEQ facilities should either be operated by or be authorized by the NPPO and remains under its supervision. | More specific | Lebanon |
|  |  | 37 | 1st sentence | Substantive | Operational requirements to meet a specified level of quarantine containment involve... | Containment is a defined term Application of phytosanitary measures in and around an infested area to prevent the spread of pest. the correct term here is probably “quarantine” official confinement of regulated articles for observation and research or for further inspection, testing and/or treatment. | PPPO |
|  | 2.3 Operational requirements | 38 |  | Editorial | Se necesitan procedimientos específicos en la operación de la instalación para manejar los riesgos particulares relativos a la contención de envíos de plantas en la instalación de CPE cuarentena. El manual de procedimiento debería demostrar la forma en que la instalación cumpliría los requisitos sobre contención. Cuando se conozca una plaga cuarentenaria o se sospeche su presencia en el envío, los procedimientos operativos para las instalaciones de CPE deberían tomar en cuenta la biología de la plaga, incluyendo la forma en que se de dispersaión y establecimiento sus requisitos para establecerse en el ambiente. | 1.Abreviación acordada previamente confinar 2. Mejorar la redacción | Mexico, Costa Rica |
|  | 2.3 Operational requirements | 38 | 1st sentence | Substantive | Specific procedures are required in the operation of the facility to manage the particular identified risks relating to quarantine containment of the consignments of plants for planting in the quarantine facility. | The correct term here is probably “quarantine” official confinement of regulated articles for observation and research or for further inspection, testing and/or treatment. | Australia |
|  | 2.3 Operational requirements | 38 | 2nd sentence | Substantive | A procedural manual approved by the NPPO should show..... | Clarity | PPPO |
|  | 2.3 Operational requirements | 38 | 1. Sentence 2 2. Sentence 3 | Editorial Technical | 1. A procedural manual should show how the facility will meets the containment requirements. 2. Delete '...in the environment'. | 1. Better wording 2. Superfluous & confusing. The worry is the establishment in any 'surroundings' including in crops, not only in the 'environment' | EPPO |
|  | 2.3 Operational requirements | 38 | 2nd sentence |  | A procedural manual approved by the NPPO should show..... | Clarity | Korea, Republic of , China |
|  | 2.3 Operational requirements | 38 | Sentence 1 | Substantive | Specific procedures are required in the operation of the facility to manage the particular risks relating to containment of the consignments of regulated articles in the PEQ facility | Use of ”plants” limits the application of this ISPM. It is proposed to broaden the scope to apply to all regulated articles as defined in ISPM 5 that may need to be contained and for which the risk should be managed in the PEQ facility and consistency naming the facility.. | Zambia |
|  | 2.3 Operational requirements | 39 | Sangría 1 | Technical | - un funcionario calificado encargado (FCE) que tenga plena responsabilidad del mantenimiento de la instalación de CPE y de todas las actividades de CPE, además del personal necesario. When considering phytosanitary measures for such consignments, National Plant Protection Organizations (NPPOs) should apply measures based on the policy of managed risk | FALTA INCLUIR COMENTARIOS EN PORTAL Para ser consistente con el ámbito de la norma PEQ facilities should either be operated by or be authorized by the NPPO | Mexico Costa Rica |
|  | 2.3 Operational requirements | 39 | 1st sentence New dash point 13A new dash point 17A new dash point 17B 5. whole para | Substantive Technical Editorial | The system should include, as a minimum, as appropriate - a protocol for disposal of infested/diseased consignments - a documented and clearly visible emergency evacuation plan. - an effective and comprehensive induction program | The use of “should” and “as appropriate” seems inconsistent. protocol for disposal is a requirement Additional appropriate controls Additional appropriate controls These requirements would be more useful if they were grouped logically and listed under subheadings eg staffing (points 1-4), procedures (points 8-12) | Australia |
|  | 2.3 Operational requirements | 39 | First dash point | Substantive Editorial | - add after dashpoint second-to-last “and provision of disinfestation of facility before introduction of material for screening or in the event of pest occurrence” - add new dashpoint “provision for disposal of infested plant material” - add new dashpoint “provision for monitoring for pest occurrence in facility using traps etc.” - Replace dashpoint 12 “PEQ should have a security system appropriate to the quarantine level including the control of visitors” Remove (OIC) | Necessary additions. Unnecessary | Korea (Republic of), PPPO |
|  | 2.3 Operational requirements | 39 | 1. Sentence 1 2 Indent 1 3 Indent 2 4. Indent 3 5. Indent 6 6. Indent 7 7. Indent 8 8. Indent 9 9. Indent 11 10. Indent 12 11. Indent 13 12 Indent 14 New para | Editorial Substantive Technical | 1. The management system 2. replace with: “- key responsibilities concerning the maintaining of the PEQ facilities and activities should be described and attributed to staff members”. 3. - a means to control and register entry list of staff authorized staff to enter the facility 4. - a training programme procedure to ensure that all staff are adequately qualified, including training where appropriate. trained 5. - criteria for what constitutes a breach of quarantine containment, and a reporting system to ensure that any breaches are reported without any delays to the NPPO. 6. - provision for assessment and control (e.g. maintenance, calibration) of critical equipment 7. - contingency plans for fires for accidental release of consignments plants or pests from the facility and other emergencies 8. - a procedure for assessment of critical items including a schedule for internal audits, if relevant, to check that the facility meets the PEQ requirements (e.g. structural integrity and hygiene requirements) and to review the components of the quality system 9. - a procedure for identifying consignments in quarantine by suitable means (e.g. labelling of plants) to enable full traceability of the consignments through PEQ. 10. - a procedure to control risks related to visitors (e.g. record registry of visitors) 11 - a register of all consignments in the facility 12. - e.g. experiments, staff activity, treatments Equipment used in a PEQ facility (e.g. autoclaves and biological safety cabinets) should be well maintained and calibrated. All surfaces should be cleaned with a suitable disinfectant as appropriate. | 1. Consistency with previous text 2. Some countries may decide to have such an OIC, some others may prefer to split responsibilities between different staff members, the director of the PEQ facility being legally responsible for any problem. 3. The key item is to have well defined rules to authorise entry and to regulate the behaviour to have inside the facilities in order to keep the risk low. The list of authorised staff is just the visible part of the iceberg... 4. Employing trained staff is not enough. What is important is to evaluate the key points, what staff should know and so on and to draft a training programme adapted to the objectives. 5. Emphasis on the urgency 6. The key item is to have an assessment of the critical equipment, the corresponding risks in case of any defect, measures taken to reduce risks to an acceptable level, and rules to evaluate the appropriateness of such measures. 7. Measures taken to reduce the risk of intentional release should also be taken into consideration. 8. The schedule itself is part of what is necessary. An assessment of critical items to be checked, how it should be checked, according to which schedule is basically needed. Inappropriate to refer to a quality system 9. A full traceability of the consignment is needed (which includes identification). 10. What is important is to have an evaluation of the risks related to visitors, with a series of measures to reduce the risks to an acceptable level and an evaluation of the efficiency of such measures. The register is only part of what is needed. 11. Delete - the full traceability of the consignments should provide enough guarantee. Asking for a register is much to limited; other solutions are possible and should be decided by the one operating the quarantine facility. 12. records of staff activity should also be considered, depending on the risks Moved from 87 (and modified) because the concept applies to all PEQ facilities | EPPO |
|  | 2.3 Operational requirements | 39 | Add point at the end | Technical | - Maintenance staff should be part of the facility staff to carry out all the facility maintenance work | Each facility should have trained technicians as part of the staff to carry out all maintenance work required | Lebanon |
|  | 2.3 Operational requirements | 39 |  | Subst. substantial | Add 3 new dash points: provision of disinfestation of facility before introduction of material for screening or in the event of pest occurrence provision for disposal of infested plant material provision for monitoring for pest occurrence in facility using traps etc. Replace dash point 12 as follow: “PEQ should have a security system appropriate to the quarantine level including the control of visitors Remove (OIC) | Necessary additions. For PEQ facilities the disinfection, disposal , mornitoring and security system are necessary procedures and should have in manual. For abbreviation of OIC ,which is used only once in the standard, there is no necessary to mention the ab. | China |
|  | 2.3 Operational requirements | 39 | 1. Sentence 1 2. Indent 8 3. After Indent 17 | Editorial Technical Substantive | The system operational requirements should include, as appropriate: - effective contingency plans for fires, accidental release of consignments from the facility, electrical outages and other emergencies Add new indents: - use of dedicated/disposable personal protective equipment - use of primary containment devices (e.g. biological safety cabinets - adequate procedures for decontamination of waste | 1. Replace the word “system” by “operational requirements” for clarity. 2. Add “electrical outages” to be consistent with Appendix 1 where it is mentioned that a backup source of electricity is a physical requirement. 3. Add the three new indents. Para. 39 provides an extensive list of operational requirements that should be included in a procedural manual – the new indents are also important for containment and are listed as requirements for certain containment levels. | Canada |
|  | 2.3 Operational requirements | 39 | 1st indent 4th indent 12 row | Technical Editorial Editorial | - a qualified manager who has overall... - clearly defined staff responsibilities - a registry of visitors |  | United States |
|  | 2.4 Release from containment | 40 | title | Substantive | Release from quarantine containment | Containment is a defined term Application of phytosanitary measures in and around an infested area to prevent the spread of pest. the correct term here is probably “quarantine” official confinement of regulated articles for observation and research or for further inspection, testing and/or treatment. | Australia |
|  | 2.4 Release from containment | 41 | 2nd line | Technical | At the end of the first sentence add term“and free of quarantine pests”. | Only the consignments of plants are free from QP can they be released from PEQ facilities. | China |
|  | 2.4 Release from containment | 41 |  | Technical Translation | Los envíos deberían liberarse de las instalaciones de CPE cuarentena al concluirse la inspección, prueba, el tratamiento y monitoreo, la verificación necesarios. Las ONPFs pueden implementar sistemas para monitorear o rastrear los envíos una vez que hayan abandonado la instalación de contención de CPE. | To be consistent with an abbreviation already indicated add clearer wording 1Abreviación acordada previamente Termino más adecuado al español. De acuerdo con la NIMF N°5 | Mexico, Costa Rica |
|  | 2.4 Release from containment | 41 | sentence 1 new sentence 2a | Substantive | Consignments should be released from quarantine facilities by the NPPO on completion of quarantinethe required inspection, testing, treatment and verification. NPPOs may implement systems to monitor or trace consignments once they have left the PEQ containment facility if supported by PRA. Consignments that do not meet import requirements should be destroyed or re-exported | Containment is a defined term Application of phytosanitary measures in and around an infested area to prevent the spread of pest. the correct term here is probably “quarantine” official confinement of regulated articles for observation and research or for further inspection, testing and/or treatment. Responsibility of the NPPO to regulate. completeness | Australia |
|  | 2.4 Release from containment | 41 | Whole para | Substantive | Consignments should be released from quarantine facilities on completion of quarantinethe required inspection, testing, treatment and verification. NPPOs may implement systems to monitor or trace consignments once they have left the PEQ containment facility. | Containment is a defined term Application of phytosanitary measures in and around an infested area to prevent the spread of pest. The correct term here is probably “quarantine” official confinement of regulated articles for observation and research or for further inspection, testing and/or treatment. | PPPO |
|  | 2.4 Release from containment | 41 | 1. Sentence 2 2. New sentence 2 3. New sentence 3 | Substantive Editorial | 1. NPPOs may implement systems to monitor or trace consignments once they have left the PEQ containment facility 2. This may be after a specified time period identified as a result of PRA. 3. If consignments are removed from a PEQ facility they are considered to be free from quarantine pests. | 1. Delete sentence because once a consignment is released, the plant lot is to be considered as a “normal” imported lot. There is neither a legal basis nor is it practical to request more traceability. 2. Consistency with previous text 3. Modified 2nd sentence from para 74; more appropriate here | EPPO |
|  | 2.4 Release from containment | 41 | Sentence 1 | Substantive | Consignments of plants should be released from quarantine facilities on completion of the required inspection, testing, treatment and verification | To be consistent with the scope of the standard | Lebanon |
|  | 2.4 Release from containment | 41 |  | Editorial | ...treatment, and verification of quarantine pest free status. | Clarification. | Korea (Republic of) |
|  | 2.4 Release from containment | 41 | Sentence 1 | Technical | Consignments should be released from quarantine facilities on completion of the required inspection, testing, treatment and verification of the absence of quarantine pests. | New wording is added for clarity on the purpose of the standard. | Canada |
|  | 2.4 Release from containment | 41 | Sentence 41 | Substantive | Consignments should be released from PEQ facilities on completion of the required inspection, testing, treatment and verification. | For clarity and consistency | Zambia |
|  | 3. Specific Requirements for PEQ Facilities by Containment Level | 45 |  | Substantive | Appendix 1 provides a summary of the major requirements for PEQ facilities at all quarantine containment levels. | Containment is a defined term Application of phytosanitary measures in and around an infested area to prevent the spread of pest. the correct term here is probably “quarantine” official confinement of regulated articles for observation and research or for further inspection, testing and/or treatment. | PPPO |
|  | 3. Specific Requirements for PEQ Facilities by Containment Level | 45 | Sentence 1 | Technical | Change “requirements” to “recommendations” | This refers to an Appendix, which indicates recommendations | EPPO |
|  | 3.1 PEQ containment level 1 | 46 | Whole of PEQ containment | Technical |  | The draft ISPM on potatoes provides significant details on how facilities should be set up. This information should be incorporated in the relevant places in this draft. | Australia, PPPO |
|  | 3.1 PEQ containment level 1 | 46 | Title | Editorial | PEQ containment level 1 (PEQ1) |  | United States |
|  | 3.1.1 Type of facility and use, PEQ1 | 47 | Title | Editorial | Type of facility and use |  | United States |
|  | 3.1.1 Type of facility and use | 48 | oración 2 | Technical Translation | Las instalaciones de CPE1 son apropiadas para los envíos de plantas que pueden estar infestados de plagas cuarentenarias que tienen muy pocas probabilidades de dispersarse en forma natural o dispersarse por el aire, agua, insectos u otros vectores (por ejemplo, exclusivamente virus que se transmiten exclusivamente por injertos) y cuando las consecuencias del escape son bajas a moderadas. | Para clarificar el texto | Costa Rica , Mexico |
|  | 3.1.1 Type of facility and use, PEQ1 | 48 | 2nd sentence 2nd Sentence | Substantive Substantive | ...infested with quarantine pests that have a very low probability of transfer (Section 2.2.1.5, ISPM No. 11) are highly unlikely to disperse... ... and where the consequences of transfer escape are low to moderate. | Section 2.2.1.5 transfer to a suitable host – “escape” in itself is not bad but transferring to a suitable host is bad. | Australia |
|  | 3.1.1 Type of facility and use | 48 | 1st sentence 2nd sentence 2nd Sentence | Substantive Substantive Substantive | For PEQ1, the lowest quarantine containment level, the PEQ facility... ...infested with quarantine pests that have a very low probability of transfer (Section 2.2.1.5, ISPM No. 11) are highly unlikely to disperse... ... and where the consequences of transfer escape are low to moderate. | Containment is a defined term Application of phytosanitary measures in and around an infested area to prevent the spread of pest. the correct term here is probably “quarantine” official confinement of regulated articles for observation and research or for further inspection, testing and/or treatment. Section 2.2.1.5 transfer to a suitable host – “escape” in itself is not bad but transferring to a suitable host is bad. | PPPO |
|  | 3.1.1 Type of facility and use | 48 | Sentence 2 | Technical Substantive | PEQ1 facilities are appropriate for consignments of plants that may be infested with quarantine pests that are highly unlikely. ... and the consequences of escape are low to moderate | To make a better distinction between PEQ1 (cases of unlikely natural dispersion) and PEQ2 (cases of likely natural dispersion). Remove moderate. Cannot accept a moderate consequence for PEQ in open fields. (Also reflect this change in the Annex, para 92). | EPPO |
|  | 3.1.2 Physical requirements, PEQ1 | 49 | Title | Editorial | Physical requirements |  | United States |
|  | 3.1.2 Physical requirements, PEQ1 | 50 | New para | Substantive | Quarantine moat can be constructed around the PEQ to prevent crawling insects from entering the station There is a need to have a footbath at the entrance of the station. PEQ station will have to be fenced | Essential requirments in any PEQ stations | PPPO |
|  | 3.1.2 Physical requirements, PEQ1 | 50 | 1. Sentence 3 2. Sentence 4 | Technical | 1. The PEQ area should be clearly delimited 2. A means and system for destruction of waste, including where appropriate the infested plants, should be established. | 1. General requirement. Moved to para 28 2. Means are part of a system. It should also be clear that there is a system for disposal of infested plants. | EPPO |
|  | 3.1.2 Physical requirements, PEQ1 | 50 | Sentence 3 | Substantive | PEQ1 sites should have appropriate signage | All levels should have appropriate signage | Zambia |
|  | 3.1.3 Operational requirements, PEQ1 | 51 | Title | Editorial | Operational requirements |  | United States |
|  | 3.1.3 Operational requirements, PEQ1 | 52 |  | Technical Translation | Debería restringirse el acceso al sitio. Se recomienda que los sitios proporcionen las condiciones propicias para el desarrollo de señales signos de plagas y la manifestación de sus síntomas | Término mas adecuado al texto | Mexico Costa Rica |
|  | 3.1.3 Operational requirements | 52 | New Sentence 1A | Substantive | Access to the site should be restricted. A register of staff and visitors should be maintained that provides a record of entries into and from the facility. | Improved accountability and traceability | Australia |
|  | 3.1.3 Operational requirements | 52 | New 2nd sentence | Substantive | Only accessible to authorised visitors. | Essential requirement | PPPO |
|  | 3.1.3 Operational requirements | 52 | Sentence 1 | Editorial | Change “exhibited” to “expressed” | Better English | EPPO |
|  | 3.1.3 Operational requirements, PEQ1 | 52 | Line one | Technical | Access to the site should be restricted only for authorized staff | To avoid contamination only authorized staff can enter the facility | Lebanon |
|  | 3.2 PEQ containment level 2 | 53 |  | Substantive | PEQ quarantine containment level 2 | Containment is a defined term Application of phytosanitary measures in and around an infested area to prevent the spread of pest. the correct term here is probably “quarantine” official confinement of regulated articles for observation and research or for further inspection, testing and/or treatment. | PPPO |
|  | 3.2 PEQ containment level 2 | 53 | Title | Editorial | PEQ containment level 2 (PEQ2) |  | United States |
|  | 3.2.1 Type of facility and use, PEQ2 | 54 | Title | Editorial | Type of facility and use |  | United States |
|  | 3.2.1 Type of facility and use | 55 |  | Editorial Editorial | La contención del tipo CPE2 no necesita características de diseño especiales para la instalación de CPE, por encima mas allá de las adecuadas para un invernadero con malla, invernadero o laboratorio bien diseñado y funcional. Las instalaciones de CPE2 son idóneas para los envíos de plantas que pueden estar infestados de plagas cuarentenarias que tienen posibilidades de dispersarse en forma natural o con el aire, agua, insectos u otros vectores (por ejemplo, virus transmitidos por nematodos). Puede haber un riesgo moderado a alto de escape de plagas de moderado a alto, pero las consecuencias correspondientes del escape son de moderadas a bajas, respectivamente. | 1. Mejorar redacción 2. Mejorar redacción | Mexico Costa Rica |
|  | 3.2.1 Type of facility and use | 55 | 2nd sentence 3rd sentence | Substantive | PEQ2 facilities are suited for consignments of plants for planting that... There may be a moderate to high probability of transfer to a suitable host risk of escape of the pest, but the corresponding consequences of establishment escape are moderate to low, respectively. | see previous comments Use ISPM 11 language – see previous comments regarding transfer and establishment. | Australia |
|  | 3.2.1 Type of facility and use | 55 | 2nd sentence 3rd sentence | Substantive Substantive | PEQ2 facilities are suited for consignments of plants for planting that... There may be a moderate to high probability of transfer to a suitable host risk of escape of the pest, but the corresponding consequences of establishment escape are moderate to low, respectively. | see previous comments Use ISPM 11 language – see previous comments regarding transfer and establishment. | PPPO |
|  | 3.2.2 Physical requirements, PEQ2 | 56 | Title | Editorial | Physical requirements |  | United States |
|  | 3.2.2 Physical requirements, PEQ2 | 57 | At end of the para. | substantial | Waste water treatment facilities should be present. | Physical requirement need the waste water treatment facilities. | China |
|  | 3.2.2 Physical requirements | 57 | Sentence 2 New sentence 2A | Substantive | Glasshouses, screen houses and laboratories should have appropriately sized permanently fixed mesh with a maximum aperture of 500 microns covering vents, drains or other openings. Drains should drain to a suitable soil trap which is connected to sewerage or septic tank. | Increase specificity of “appropriately sized”. Note that size may be prescribed or could be explained as relative to the size of the organism or agent of dispersal (eg spore) that would achieve escape. No information is given for waste-water and/or soil that is to be removed from the facility via drains. | Australia |
|  | 3.2.2 Physical requirements | 57 | End of 2nd sentence |  | Waste water treatment facilities should be present. | Physical requirement necessary for operational requirements. | PPPO |
|  | 3.2.2 Physical requirements | 57 | 1. Sentence 1 2. Sentence 3 | Technical Editorial | 1. Delete 2. Local pests (e.g. rodents, white flies) should normally be controlled | 1. Any appropriate glasshouse could be used for PEQ2, don't need to specify the types of construction. Fabrics used to construct screen houses are not provided. 2. Consistency with Appendix | EPPO |
|  | 3.2.2 Physical requirements | 57 | 1. Sentence 1 2. After sentence 1 | Editorial Substantive | The A glasshouse should be constructed of regular glass or twin-skin plastic. Add a new sentence after sentence 1: A screen house should be covered with an appropriate size mesh without holes or tears. | 2. Add a new sentence for clarity, to define the physical requirements for a screen house and to be consistent with Para. 55 where screen house is one of the three structures enumerated beside glasshouse and laboratory. | Canada |
|  | 3.2.2 Physical requirements | 57 | Add new last sentence | Substantive | The facility should install the equipment to disinfest waste water before wasting to the outside of the facility. | Waste water treatment is mentioned Appendix 1. | Japan |
|  | 3.2.2 Physical requirements | 57 | New Sentence | Substantive | PEQ2 sites should have appropriate signage | New sentence included. All levels PEQ facilities should have appropriate signage | Ghana |
|  | 3.2.2 Physical requirements, PEQ2 | 58 |  | Technical Translation | La entrada a las instalaciones de CPE2 debería hacerse a través de un juego de dos puertas de un sistema de doble puerta separadas por un vestíbulo o antesala para disminuir el riesgo de escape o entrada de plagas. Las puertas deberían cerrarse automáticamente y estar ajustadas, y contar con los sellos y dispositivos que impidan el ingreso de plagas. cepillos apropiados. Deberían instalarse, de ser conveniente, dispositivos para monitoreo de insectos tales como trampas pegajosas o trampas de luz. La antesala debería contar con un lavamanos con un sistema manos libres. | Adecuado a la descripción que se hace en el texto. Términos más adecuados al texto. | Mexico, Costa Rica |
|  | 3.2.2 Physical requirements | 58 | 1. Sentence 3 1st sentence Sentence 2 New sentence 2A | Technical Substantive Editorial | ...should be provided in the anteroom with sufficient quantities of an appropriate disinfectant. ...into PEQ2 facilities should be through two doors separated by a vestibule or anteroom to reduce... ..appropriate seals and sweeps on top, bottom and side of doors. To maintain containment, the vestibule doors should be interlocked so that only one door at a time can be open. | Additional safeguards Seems to be inconsistent with 1st sentence of para 55 that notes that there is “...no special design features for the PEQ facility...” where as this sentence includes “...two doors separated by a vestibule or anteroom...” Addition relevant information Add security | Australia |
|  | 3.2.2 Physical requirements | 58 | 1st sentence | Substantive | ...into PEQ2 facilities should be through two doors separated by a vestibule or anteroom to reduce... | Seems to be inconsistent with 1sts sentence of para 55 that notes that there is “...no special design features for the PEQ facility...” where as this sentence includeds “...two doors seperated by a vestibule or anteroom...” | PPPO |
|  | 3.2.2 Physical requirements | 58 | 1. Sentence 1 2. Sentence 2 | Technical | 1. Entry into PEQ2 should may be through ... 2. Optionally tThe doors should be self-closing and locking. They should be and tight fitting, with appropriate seals and sweeps. | 1. A vestibule should be optional for this PEQ level. (The Appendix should also be adjusted, para 96). 2. Consistency with Appendix | EPPO |
|  | 3.2.2 Physical requirements, PEQ2 | 58 | Sentence 1 | Technical | Entry into PEQ2 facilities should be through two doors separated by a vestibule or anteroom to reduce the risk of pests escaping or coming in. | Remove the words “or anteroom” for consistency with other text in para. 80 Sentence 2 and Appendix 1. Or add the word “anteroom” anytime the word “vestibule” is mentioned and vice versa. | Canada |
|  | 3.2.2 Physical requirements, PEQ2 | 59 | At the end of the para. | substantial | Add a sentence as last sentence: Where crawling pests are a problem, a quarantine moat can be constructed arround the facilities. | There exists risks of some crawling pests invading to the facilities and damaging the consignments and spreading QP. | China |
|  | 3.2.2 Physical requirements | 59 | Oración 2 | translation | La instalación debería tener piso de concreto. Todas las superficies de la instalación deberían ser accesibles para limpiarse y construirse con un material suave liso e impermeable que permitan una descontaminación eficaz. | Término más adecuado al español | Mexico. Costa Rica |
|  | 3.2.2 Physical requirements | 59 | New sentence 3 | Technical | Add new sentence at the end Treatment of waste water may be required. | Consistency with Appendix | EPPO |
|  | 3.2.3 Operational requirements, PEQ2 | 60 | Title | Editorial | Operational requirements |  | United States |
|  | 3.2.3 Operational requirements, PEQ2 | 61 | Oración 1 | Technical | Todas las plantas deberían cultivarse en un medio de crecimiento libre de plagas (por ejemplo, sustratos estériles mezcla pasteurizada para siembra). | Comment to the spanish version: 1. To be consistent with the english text and for clearer wording Término técnico más apropiado | Mexico Costa Rica |
|  | 3.2.3 Operational requirements | 61 | Bracketed, | Substantive | change 'pasteurised' to sterilized potting mix | accuracy | PPPO |
|  | 3.2.3 Operational requirements | 61 |  |  | (eg sterilized potting mix) |  | Korea (Republic of) |
|  | 3.2.3 Operational requirements, PEQ2 | 61 |  | substantial | Modified the term in bracket as : (eg. sterilized potting mix) | The reason is in many cases the pasteurized potting mix can not meet the requirement to kill all the pest, therefore it is not a good example. | China |
|  | 3.2.3 Operational requirements, PEQ2 | 62 | Sentence 1 new sentence 1A Sentence 2 | Substantive | or shoe covers) which should be removed on exiting the facility and left for decontamination or use on next visit. A register of staff and visitors should be maintained providing a record of entries into and from the facility. Sterilised by autoclaving at 121°C 30min,; or steam treatment; or deep burial; or treatment with chemical | 1. no point in taking protective measures if not removed and left at facility 2. Improved accountability and traceability Sterilise and decontaminated need to be defined by authors | Australia |
|  | 3.2.3 Operational requirements | 62 | 1st sentence New sentences 2nd | Substantive Substantive | All PEQ staff and authorised visitors... Equipments and protective clothing used in the PEQ station should not be removed. In cases where these materials require cleaning these should be sterilized or decontaminated before removal from the station. Waste and equipment (e.g cutting implements) should sterilized or decontainated... | clarity | PPPO |
|  | 3.2.3 Operational requirements | 62 | Sentence 2 | Technical | Waste and equipment (e.g. cutting implements) and protective clothing should be sterilized or decontaminated before removal from the facility or suitably sealed for transport and destruction elsewhere | Protective clothing should be treated like waste and equipment. Decontamination may not be possible on site. | EPPO |
|  | 3.2.3 Operational requirements | 62 | 1. New sentence 2 is added after sentence 1 2. Sentence 2 Now becomes suggested new sentence 3 3. Sentence 2 Now becomes new sentence 4 | Substantive | 1. .....coat and dedicated footwear or shoe covers). Protective clothing should be sterilized or decontaminated within the facility after use. 2. Waste and equipment (e.g. cutting implements) should be sterilized or decontaminated before removal from teh facility) eEquipment (e.g. cutting implements) should be sterilized or decontaminated between lots or before removal from the facility. 3. Waste should be sterilized or decontaminated before removal from the facility or sealed and removed to an appropriate facility for destruction, decontamination or sterilization. | The paragraph has been split into three sentences and expanded as follows: 1. To inlcude and address the issue of handling and sterilization or decontamination of clothing in a facility. 2. Delete existing sentence 2 and slit it into two new sentences that address wate and equipment respectively. Add new sentence to indicate that equipment should also be sterilized or decontaminated for use for each new consignment to prevent cross-contamination between different consignments in each facility. 3. Add new sentence to address how waste removal should be handled. Include the option to seal and remove for destruction, decontamination or sterilization at another appropriate facility to accomodate situations where decontamination or sterilization at/ within PEQ facility is not possible. | South Africa |
|  | 3.3 PEQ containment level 3 | 63 |  | Substantive | PEQ quarantine containment level 3 | Containment is a defined term Application of phytosanitary measures in and around an infested area to prevent the spread of pest. the correct term here is probably “quarantine” official confinement of regulated articles for observation and research or for further inspection, testing and/or treatment. | PPPO |
|  | 3.3 PEQ containment level 3 | 63 | Title | Editorial | PEQ containment level 3 (PEQ3) |  | United States |
|  | 3.3.1 Type of facility and use, PEQ3 | 64 | Title | Editorial | Type of facility and use |  | United States |
|  | 3.3.1 Type of facility and use, PEQ3 | 65 | sentence 1 sentence 2 | Substantive | The physical and operational requirements for PEQ3 containment are substantially more stringent than those for lower levels. PEQ3 facilities may consist of a contained and secure glasshouse or laboratory. They are suited for quarantine containment of consignments of plants for planting where there is a moderate to high probability of transfer to a suitable host escape and where the consequences of the pest establishing an escape would be serious (e.g. aphid-transmitted viruses). | Para 44 notes that each level incorporates the requirements from the previous levels and therefore this sentence is not needed. | Australia, PPPO |
|  | 3.3.1 Type of facility and use | 65 |  | Technical | Los requisitos físicos y operativos para la contención del tipo CPE3 son considerablemente más estrictos que los de los niveles inferiores. Las instalaciones del tipo CPE3 pueden constar de un invernadero o laboratorio contenido y seguro. Ellos son adecuados para la contención de envíos de plantas cuando hay una probabilidad moderada a alta de escape y cuando las consecuencias del escape puedan ser serias (por ejemplo, virus transmitidos por áfidos). | Eliminar término, no se entiende en el texto. | Costa Rica, Mexico |
|  | 3.3.1 Type of facility and use | 65 | 1. Sentence 1 2. Sentence 2 | Editorial Technical | 1. The physical and operational requirements for PEQ3 containment are substantially more stringent than those for lower levels. 2. PEQ3 facilities may consist of a contained and secure glasshouse, growth rooms or laboratory | 1. Not useful, always the case from a lower level to a higher level. 2. Too restrictive, growth rooms for instance could be added and so on. | EPPO |
|  | 3.3.1 Type of facility and use | 65 | 1. Sentence 2 | Substantive | They are suited for containment of consignments of plants where there is a moderate to high probability risk of escape and where the consequences of an escape would be serious moderate to high (e.g. aphid-transmitted viruses) | Use “risk” and “moderate to high” to ensure consistent use of terminology throughout this standard and also to align clearly with the use of terminology in Annex 1. | South Africa Zambia |
|  | 3.3.1 Type of facility and use, PEQ3 | 65 | 3rd line | Editonal | Modified as: They are suited for containment of consignments of plants where there is that may be infested with quarantine pests which have a moderate to high probability of escape… | High probability of escape is used for the quarantine pest, not the consignment of plants. | China |
|  | 3.3.2 Physical requirements, PEQ3 | 66 | Title | Editorial | Physical requirements |  | United States |
|  | 3.3.2 Physical requirements, PEQ3 | 67 | New sentence 2A | Substantive | Glasshouses should not have windows that open to ensure no escape of pests. | Need to prevent escape or entry via windows | Australia |
|  | 3.3.2 Physical requirements | 67 | Add to end | Substantive | Where crawling pests are a problem, a quarantine moat can be constructed around the facility | To take account of particular conditions | PPPO |
|  | 3.3.2 Physical requirements | 67 |  | Translation | Las ventanas del invernadero y laboratorio deberían construirse con material resistente a quebraduras antirrotura (por ejemplo, vidrio de seguridad laminado). Las ventanas en los laboratorios deberían estar selladas y cerradas. | Término más adecuado al español. | Costa Rica Mexico |
|  | 3.3.2 Physical requirements | 67 | Sentence 1 | Technical | (e.g. laminated safety glass or twin walled polycarbonate) | Another example | EPPO |
|  | 3.3.2 Physical requirements, PEQ3 | 68 |  | Editorial | Las puertas de la antesala de la instalación de CPE3 deberían ser del tipo de cierre automático. Se Ddeberían establecerse contar con medidas de seguridad alrededor de la instalación. Así como También debería instalarse una alarma de seguridad. en la instalación de CPE3. | 1. Consistencia con el termino anterior 2. Para una mejor redacción y comprensión del texto. | Mexico Costa Rica |
|  | 3.3.2 Physical requirements | 68 | 1st sentence New sentence 1A sentence 3 New Sentence 3A | Technical Substantive | Doors opening to the anteroom of the PEQ facility should be self-closing and tight fitting, with appropriate seals and sweeps. ... should be self-closing. To maintain containment, the vestibule doors should be interlocked so that only one door at a time can be open. .... in the PEQ facility to (outline purpose of alarm)? A supply of backup electricity must be available for the facility in case of power outages. | Text added to make it consistent with Para 58 above 1. additional security what's the security alarm for? To alert to breakdowns, unauthorised entry? The security and air pressure require electricity to work. If there is no backup electricity, then the facility is not secure. | Australia |
|  | 3.3.2 Physical requirements | 68 | 1st sentence | Technical | Doors opening to the anteroom of the PEQ facility should be self-closing and tight fitting, with appropriate seals and sweeps. | Text added to make it consistent with Para 58 above | PPPO |
|  | 3.3.2 Physical requirements | 68 | Sentence 3 | Technical | A security alarm should may also be required to be installed in the PEQ facility. | Not sure this is always necessary (change also in the Appendix) | EPPO |
|  | 3.3.2 Physical requirements, PEQ3 | 68 | Sentence 1 | Editorial | Doors opening to the anteroom vestibule of the PEQ facility should be self-closing. | For consistency throughout the standard. See comments for para. 58. | Canada |
|  | 3.3.2 Physical requirements, PEQ3 | 69 | At the end of 2nd line | editorial | Add the word “usually” behind the word “is” | Consistent with the appendex 1, there exists exceptions. | China |
|  | 3.3.2 Physical requirements | 69 |  | Translation | El sistema de calefacción, ventilación y aire acondicionado (HVAC) debería poder contener retener organismos pequeños que se dispersen con el aire. Para este nivel de contención se necesita un sistema de filtración HEPA (high-efficiency particulate air) y de presión negativa de aire. | Comment to the spanish version: 1. To delete the word "contener" for clearer wording and better comprehension Término más adecuado al español. | Mexico Costa Rica |
|  | 3.3.2 Physical requirements | 69 | 1st sentence | Editorial | Delete (HVAC) | Unnecessary | PPPO, Korea (Republic of) |
|  | 3.3.2 Physical requirements | 69 | 1. Sentence 2 2. New 3rd sentence | Technical | 1. High-efficiency particulate air (HEPA) filtration and negative air pressure are normally required for this containment level. 2. A backup source of electricity is normally required | 1 and 2 consistency with Appendix | EPPO |
|  | 3.3.2 Physical requirements | 69 | Sentence 2 | Editorial | High-efficiency particulate air (HEPA) filtration and negative air pressure are should be required for this containment level. | Replace the word “are” for “should be” for consistency throughout the standard. | Canada, Japan |
|  | 3.3.2 Physical requirements, PEQ3 | 70 | At the end | substantial | Add a sentence as a last sentence: Backup electricity usually is required to maintain negative air pressure gradients. | Consistent with the appendex 1. | China |
|  | 3.3.2 Physical requirements, PEQ3 | 70 |  | Editorial | La presión del aire en las instalaciones de CPE3 debería ser menor que en las áreas adyacentes de tal forma que se mantenga una presión diferencial negativa para prevenir la salida pasiva de organismos transportados por el aire que están bajo contención. También se puede prevenir la salida de estos organismos mediante la filtración del aire saliente con los filtros HEPA, los cuales eliminan las partículas que midan más de 0.3 micra con 99.97% de eficacia. La contención de algunas especies de ácaros también puede necesitar el sistema de filtración HEPA. | Consistencia con el termino anterior | Mexico Costa Rica |
|  | 3.3.2 Physical requirements | 70 | 2nd sentence | Substantive | Quarantine Containment of some mite species may | Containment is a defined term Application of phytosanitary measures in and around an infested area to prevent the spread of pest. the correct term here is probably “quarantine” official confinement of regulated articles for observation and research or for further inspection, testing and/or treatment. | Australia |
|  | 3.3.2 Physical requirements | 70 | New 2nd sentence | Substantive | A dark room to trap flying insects might be required to separate a high risk PEQ room from a moderate risk room from where negative air pressure differential system is not available. | Essential requirement | PPPO |
|  | 3.3.2 Physical requirements | 70 | 1. Sentence 1 2. Sentence 3 | Technical | 1. Air pressure in the PEQ facilities should may be required to be lower than in adjacent areas so that a negative pressure differential is maintained to prevent passive egress of airborne organisms from containment. 2. delete | 1. Consistency with Appendix 2. Too restrictive, also applies to Thrips | EPPO |
|  | 3.3.2 Physical requirements | 70 | 1. Sentence 1 and 2 2. After sentence 2 | Technical Substantive | Air pressure in the PEQ facilities should be lower than in adjacent areas so that a negative pressure differential is maintained to prevent passive egress escape of airborne organisms from containment. Egress escape of airborne organisms is also prevented by filtration of outgoing air through HEPA filters, which remove particles greater than 0.3 microns with 99.97% efficiency. Add a new sentence after sentence 2: Regular checks to confirm inward directional airflow should be performed on entry. | 1. Replace the word “egress” with “escape” for clarity as the word “egress” is more commonly used in animal health and the word “escape” is generally used in plant protection and for consistency with the text in the Standard. 2. Since inward direction airflow is required in para. 81, it would be prudent to verify that it is functioning. | Canada |
|  | 3.3.3 Operational requirements, PEQ3 | 71 | Title | Editorial | Operational requirements |  | United States |
|  | 3.3.3 Operational requirements, PEQ3 | 72 | Sentence 1 and 2 | Technical | All shower may be required for staff members should shower on leaving the facility. This requirement does not apply to facilities containing non-airborne plant pathogens and arthropods. | Need for all staff to shower to contain surface-borne contaminants | Australia |
|  | 3.3.3 Operational requirements, PEQ3 | 73 | New Sentence 1A | Substantive | ..to maintain containment. A register of staff and visitors should be maintained that provides providing a record of entries into and from the facility. | Improved accountability and traceability | Australia |
|  | 3.3.3 Operational requirements, PEQ3 | 74 | Last sentence | substantial | Move this sentence to para. 52 as a last sentence. | In any level, the consignments should be free from QP when they are removed from PEQ. | China |
|  | 3.3.3 Operational requirements | 74 |  | Translation Editorial | Deberían implementarse procesos apropiados para asegurar la descontaminación del equipo (incluyendo los filtros) antes de sacarse retirarlo de la instalación. Si se retiran los envíos de la instalación de CPE3, estos deberían estar libres de plagas cuarentenarias | Término mas adecuado al español Consistencia con el termino anterior | Mexico, Costa Rica |
|  | 3.3.3 Operational requirements | 74 | 2nd sentence New Sentence 2A | Substantive | If consignments are removed from the PEQ facility they should be free of quarantine pests. All waste materials, including shipping dunnage, soil, plant material, should be disposed of by sterilising. | Section 2.4 of this draft includes guidance on the release of consignments from quarantine. Waste materials are not adequately covered in the standard. | Australia |
|  | 3.3.3 Operational requirements | 74 | 2nd sentence | Substantive | If consignments are removed from the PEQ facility they should be free of quarantine pests. | Section 2.4 of this draft includes guidance on the release of consignments from quarantine. | PPPO |
|  | 3.3.3 Operational requirements | 74 | Sentence 2 | Technical | Amend and move to 41 | A general point, better at 41 | EPPO |
|  | 3.3.3 Operational requirements | 74 | 1. Sentence 2 2. After Para 74 | Substantive Substantive | 1. If consignments are removed from the PEQ facility they should be free of quarantine pests. Add a new para. after para. 74: An emergency response plan should be available. | 1. Delete Sentence 2 as it is already covered under Section 2.4 (para. 41). It should apply to all PEQs and not only to PEQ3. 2. It is important to ensure that if an emergency occurred, procedures have been put in place to help address emergency scenarios. | Canada |
|  | 3.4 PEQ containment level 4 | 75 |  | Substantive | PEQ quarantine containment level 4 | Containment is a defined term Application of phytosanitary measures in and around an infested area to prevent the spread of pest. the correct term here is probably “quarantine” official confinement of regulated articles for observation and research or for further inspection, testing and/or treatment. | PPPO |
|  | 3.4 PEQ containment level 4 | 75 | Title | Editorial | PEQ containment level 4 (PEQ4) |  | United States |
|  | 3.4.1 Type of facility and use, PEQ4 | 76 | Title | Editorial | Type of facility and use |  | United States |
|  | 3.4.1 Type of facility and use, PEQ4 | 77 | Row 2 | Editional | …(whether deliberately imported or associated pests)… | Need to clarify the meaning of the sentence. If it is imported for pest itself or the plants with pest? | China |
|  | 3.4.1 Type of facility and use, PEQ4 | 77 | Sentence 2 | Substantive | These facilities are designed and operated specifically to contain consignments of plants for planting in quarantine (whether deliberately imported or associated pests) where both the risk of transfer to a suitable host escape and the consequences of establishment escape are high (e.g. airborne plant pathogenic fungi). | see previous explanations | Australia |
|  | 3.4.1 Type of facility and use | 77 |  | Substantive | PEQ4 facilities provide the highest quarantinecontainment level. These facilities are designed and operated specifically to contain consignments of plants for planting in quarantine (whether deliberately imported or associated pests) where both the risk of transfer to a suitable host escape and the consequences of establishment escape are high (e.g. airborne plant pathogenic fungi). | see previous explanations | PPPO |
|  | 3.4.1 Type of facility and use | 77 | Sentence 2 | Technical | These facilities are designed and operated specifically to contain consignments of plants in quarantine (whether deliberately imported or associated pests) where both the risk likelihood of escape and the consequences of escape are high | Don't understand what is meant by text in brackets. Change risk to likelihood (see para 92). | EPPO |
|  | 3.4.1 Type of facility and use | 77 | Sentence 2 | Substantive | These facilities are designed and operated specifically to contain consignments of plants and other regulated articles in quarantine (whether deliberately imported or associated pests) where both the risk of escape and the consequences of escape are high (e.g. airborne plant pathogenic fungi). | Add to adequately broaden scope of background to include plant products and other regulated articles that presents a plant health risk. | Zambia |
|  | 3.4.2 Physical requirements, PEQ4 | 78 | Title | Editorial | Physical requirements |  | United States |
|  | 3.4.2 Physical requirements, PEQ4 | 80 |  | Translation Translation | Para mayor seguridad, las puertas de entrada deberían ser de cierre automatico con llaves bisagra autocerrable. Con el fin de mantener la contención, las puertas del vestíbulo deberían contar con un sistema de entrelazado sincronizados de tal forma que solo se pueda abrir una puerta a la vez. | Termino más adecuado al español. Termino más adecuado al español. | Mexico Costa Rica |
|  | 3.4.2 Physical requirements | 80 | 2nd sentence | Substantive | To maintain quarantinecontainment, the vestibule doors | Containment is a defined term Application of phytosanitary measures in and around an infested area to prevent the spread of pest. the correct term here is probably “quarantine” official confinement of regulated articles for observation and research or for further inspection, testing and/or treatment. | Australia |
|  | 3.4.2 Physical requirements | 80 | 2nd sentence | Substantive | To maintain quarantinecontainment, the vestibule doors | Containment is a defined term Application of phytosanitary measures in and around an infested area to prevent the spread of pest. the correct term here is probably “quarantine” official confinement of regulated articles for observation and research or for further inspection, testing and/or treatment. | PPPO |
|  | 3.4.2 Physical requirements | 80 | Add after 2nd sentence | Technical | A security alarm should also be installed in the PEQ facility. | If made optional for PEQ3, then should be mandatory for PEQ4 | EPPO |
|  | 3.4.2 Physical requirements, PEQ4 | 81 |  | Translation Technical | Se debería contar con un sistema de ventilación que establezca un flujo de aire hacia el interior del laboratorio de tal forma que haya un flujo de aire direccional hacia el área de trabajo. Cuando los laboratorios tengan sistemas de suministro de aire, dichos sistemas de suministro y escape salida de aire deberían ser entrelazados sincronizados para asegurar el flujo continuo hacia el interior. Todas las campanas de extracción de gases que emitan hacia la atmósfera exterior deberían estar equipadas con filtros HEPA | Comment to the spanish version: 1. clearer wording 2. clearer wording Término más apropiado al español Término más apropiado al español Omisión de la versión de ingles. | Mexico Costa Rica |
|  | 3.4.2 Physical requirements, PEQ4 | 81 | 1. Sentence 1 2. Sentence 3 | Technical | 1. A ventilation system that establishes an inward flow of air into the laboratory should be provided so that there is a directional airflow into the working area. 2. All waste air, including from fume hoods that discharge to the outside atmosphere, should be filtered through fitted with HEPA filters. | 1. Not needed 2. Consistency with Appendix | EPPO |
|  | 3.4.2 Physical requirements, PEQ4 | 82 | Oración 3 | Translation | Se necesita un sistema auxiliar de electricidad de auxilio con el fin de mantener los gradientes de presión negativa de aire. Deberían instalarse, de ser apropiado, vestíbulos con duchas para antes de salir de la instalación. | Término más adecuado al español | Costa Rica Mexico |
|  | 3.4.2 Physical requirements | 82 | Sentence 4 | Editorial | Change to A shower is required for staff members on leaving the facility. | Better English (consistent with 74) | EPPO |
|  | 3.4.2 Physical requirements | 82 | 1. Sentence 1 2. Sentence 3 | Technical Editorial Substantive | Tandem filters, parallel filters, bubble-tight dampers or other configurations should be installed that allow one filter to be replaced while another supplies air. Backup electricity is should be required for air systems to maintain negative air pressure gradients and for other critical equipment, as necessary. | 1. Canada is questioning the use of double HEPA filtration. We do not see double HEPA-filtration necessary in PEQ-4 facilities as HEPA filters are relatively costly. We recommend that bubble-tight dampers be installed (to close the duct so that no air is exhausted) to facilitate the removal/replacement of HEPA filters. It is not required to have parallel filters when the same results can be achieved with a single HEPA filter. 2. Replace the word “is” by “should be” to be consistent throughout the standard. Also, It is necessary to provide backup electricity to any critical equipment that would be needed during a time of power outage as per Appendix 1. | Canada |
|  | 3.4.2 Physical requirements, PEQ4 | 83 | Oración 2 | Translation | Con los envíos de alto riesgo, los procedimientos que pueden causar la liberación de plagas deberían realizarse en un gabinete de seguridad biológica que contenga un filtro HEPA. Solo deberían manipularse en laboratorio abierto, los preparados las preparaciones que en los cuales se maten o contengan al organismo (por ejemplo, laminillas, tubos sellados). | Término más adecuado al español | Mexico Costa Rica |
|  | 3.4.2 Physical requirements | 83 | Sentence 2 | Editorial | ... the organism is has been killed | Better English | EPPO |
|  | 3.4.2 Physical requirements | 83 | 1. Sentence 1 2. After Para. 83 | Editorial Technical Substantive | With high-risk consignments of plants and plant products, primary containment devices should be used and procedures that could cause the release of pests should be conducted in a biological safety cabinet that contains a HEPA filter. Add new para. after para. 83: All liquid waste should be collected and treated. Drains should be routed to an effluent treatment system. | 1. To be consistent with the text throughout the standard. Rewording is necessary as it would be important to offer other equivalent possibilities not to limit the solutions to only one device. Please note that all biological safety cabinets are normally HEPA-filtered. 2. It is important to ensure that waste water is treated properly to avoid any escape of quarantine pests outside of the quarantine station. This should include water from sinks and showers. As such, all liquid waste must be collected (drains can be plugged and water collected in basins) or all drains must be routed to effluent treatment system. | Canada |
|  | 3.4.3 Operational requirements, PEQ4 | 84 | Title | Editorial | Operational requirements |  | United States |
|  | 3.4.3 Operational requirements, PEQ4 | 85 | Sentence 1: Include as new sentence 1 | Substantive | A shower should be required for staff members on entering and leaving the facility. Operational processes required... | Add for consistency and clarity because for PEQ 3 a shower is required as optional. But according to Appendix 1 it is required as compulsory for PEQ4. | South Africa, Zambia |
|  | 3.4.3 Operational requirements, PEQ4 | 86 | Sentence 2 | Substantive | ...should be worn in the facility and disposed off on exiting. | Completeness | Australia |
|  | 3.4.3 Operational requirements | 86 | 2nd sentence | Substantive | This facility should not be accessible to the general public | Moved to elsewhere | PPPO |
|  | 3.4.3 Operational requirements | 86 | After Sentence 3 | Substantive | Add new sentence after sentence 3: Full clothing change should be required on entry and exit of the post entry quarantine station. | As this is the highest quarantine level and staff members are required to wear protective clothing in entering the station and shower at exit they would need to change their clothes. | Canada |
|  | 3.4.3 Operational requirements | 86 | Sentence 2 | Substantive | D Disposable coverall suits or suitable alternatives should be worn in the facility. | For applicability of the Standard as the are cost implications | Ghana |
|  | 3.4.3 Operational requirements | 86 | Sentence 1 and 2 | Editorial | The facility should not be accessible to the general public and all access should be limited. A register of staff and visitors should be maintained providing a record of entries and exits of the laboratory. Disposable ... | To improve logical sequence of events that first exclude the general public from being visitors and then refer to the register that must be kept for staff and possible visitors. Move sentence 1 to become new sentence 2 and move sentence 2 to become new sentence 1. Lastly address clothes to be worn by staff and visitors, that are allowed to enter the facility. | South Africa |
|  | 3.4.3 Operational requirements | 86 | Sentence 1 and 2 Sentence 2 | Editorial Substantive Substantive | The facility should not be accessible to the unauthorised persons. A register of staff and visitors should be maintained providing a record of entries and exits of the laboratory. Disposable ... Disposable coverall suits or suitable alternatives should be worn in the facility. | Move sentence 1 to become new sentence 2 and move sentence 2 to become new sentence 1 to improve logical sequence that first exclude the general public from being visitors. Then reference to the register that must be kept for staff and possible visitors. Then address clothes to be worn by staff and visitors, that are allowed to enter the facility. For applicability of the Standard as the are cost implications | Zambia |
|  | 3.4.3 Operational requirements, PEQ4 | 87 | Whole paragraph | Technical | Delete - Move to new paragraph after 39 | Applies to all levels of PEQ, not just PEQ 4 | EPPO |
|  | ANNEX 1: TITLE | 89 |  | Substantive | Methods for assignment of PEQ QUARANTINE containment levels | Containment is a defined term Application of phytosanitary measures in and around an infested area to prevent the spread of pest. the correct term here is probably “quarantine” official confinement of regulated articles for observation and research or for further inspection, testing and/or treatment. | PPPO |
|  | ANNEX 1: TITLE | 89 | Heading | Technical | Methods for assigning designation of PEQ containment levels | Clearer English | EPPO |
|  | ANNEX 1: TEXT | 90 | Sentence 2 Sentence 2 | Substantive | The PEQ containment quarantine requirements will depend on the specific organism and other circumstances in the country e.g. climatic, environmental identified during the PRA. ...specific organisms and other circumstances ... | Containment is a defined term Application of phytosanitary measures in and around an infested area to prevent the spread of pest. The correct term here is probably “quarantine” official confinement of regulated articles for observation and research or for further inspection, testing and/or treatment. It is unlikely that there will be a single pest (or disease causing organism) for which a risk assessment (and Post Entry Quarantine) is necessary for any single consignment. It is unclear what PEQ would be required for pests of differing risk. | Australia |
|  | ANNEX 1: TEXT | 90 | 1st and 2nd sentence | Substantive | Several approaches can be used to assign quarantine containment levels of PEQ facilities. The PEQ quarantine containment requirements will depend on the specific organism and other circumstances in the country e.g. climatic, environmental identified during the PRA. | Containment is a defined term Application of phytosanitary measures in and around an infested area to prevent the spread of pest. the correct term here is probably “quarantine” official confinement of regulated articles for observation and research or for further inspection, testing and/or treatment. | PPPO |
|  | ANNEX 1: TEXT | 90 | Sentence 1 | technical | Several approaches can be used to assign designate containment levels | Clearer English | EPPO |
|  | ANNEX 1: TEXT | 90 | Sentence 2 | Editorial | The PEQ containment requirements will depend on the specific organism and other circumstances in the country (e.g. climatic, environmental). | Add brackets to improve consistent manner of using brackets in this standard | South Africa |
|  | ANNEX 1: TEXT | 91 | Oración 2 | Editorial | El riesgo de introducción de plaga esta en una función del tamaño del organismo, el método de dispersión, el potencial reproductor, el potencial de establecimiento, etc., mientras que las consecuencias del establecimiento de la plaga se relacionan con el impacto en el medio ambiente, las repercusiones al comercio, los factores económicos, etc. | Mejorar y clarificar la redacción | Mexico Costa Rica |
|  | ANNEX 1: TEXT | 91 | all Sentence 1 & 2 | Substantive | The quarantine containment levels are described in a matrix that combines the likelihood of pest transfer to a suitable host introduction and establishment with the consequence of their establishment (see Table 1). Factors that may be considered in determining the probability risk of pest transfer to suitable host are listed in ISPM 11 (section 2.2.1.5) introduction is a function of the size of the organism, dispersal method, reproductive potential, potential for establishment etc., while the consequences of pest establishment relate to impact on the environment, trade implications, economic factors etc. | Only known pests are addressed. In many circumstances, introduced plants may harbour pests that have not been identified, or do not have a diagnostic test available. How these fit into the matrix (and the entire document) is unclear. Containment is a defined term Application of phytosanitary measures in and around an infested area to prevent the spread of pest. the correct term here is probably “quarantine” official confinement of regulated articles for observation and research or for further inspection, testing and/or treatment. Section 2.2 of ISPM 11 notes that introduction comprises both entry and establishment. The use of introduction here should probably be “transfer to a suitable host” as the entry will occur because the consignment is moving into PEQ. | Australia |
|  | ANNEX 1: TEXT | 91 |  | Substantive | The quarantine containment levels are described in a matrix that combines the likelihood of pest transfer to a suitable host introduction and establishment with the consequence of their establishment (see Table 1). Factors that may be considered in determining the probability risk of pest transfer to suitable host are listed in ISPM 11 (section 2.2.1.5) introduction is a function of the size of the organism, dispersal method, reproductive potential, potential for establishment etc., while the consequences of pest establishment relate to impact on the environment, trade implications, economic factors etc. ISPM No. 11 (Pest risk analysis for quarantine pests including analysis of environmental risks and living modified organisms) provides guidelines for pest risk assessment. | Containment is a defined term Application of phytosanitary measures in and around an infested area to prevent the spread of pest. the correct term here is probably “quarantine” official confinement of regulated articles for observation and research or for further inspection, testing and/or treatment. Section 2.2 of ISPM 11 notes that introduction comprises both entry and establishment. The use of introduction here should probably be “transfer to a suitable host” as the entry will occur because the consignment is moving into PEQ. | PPPO |
|  | ANNEX 1: TEXT | 91 | 1. Insert new sentence 1 2. Sentence 1 | Substantive Technical | 1. One of these approaches is the following. 2. Change to: “In the Table below, Tthe containment levels are described in designated through a matrix that combines combining the likelihood of pest introduction escape and establishment with the consequences thereof. The likelihood risk of pest escape and establishment introduction ...” | 1 The method in the table is only the first example of an approach to assigning containment levels. 2. The term 'risk' used wrongly, the correct term here is 'likelihood'. The terms 'introduction and establishment' are also used wrongly, as 'introduction' includes 'establishment'. The concern is more precisely described as 'escape and establishment'. | EPPO |
|  | ANNEX 1: TABLE 1 | 92 | Row 1 Row 2 Rows 2, 3 & 4 Row 1 Column 1 Row 1 Column 2 | Substantive Editorial Substantive Substantive | Likelihood of escape, establishment and spread. Consequences of escape, establishment and spread Amend levels of containment Row 2 High/high should be no entry, level is unlikely to be permitted to enter in the first place because the pest risk analysis would indicate that the risk is too great. [Secretariat note: see revised table at end of document] Risk of escape Probability of transfer and establishment Consequence of transfer escape and establishment | Alignment of concepts and terminology with pest risk analyses Refers to transfer to a suitable host as a prerequisite for establishment | Australia |
|  | ANNEX 1: TABLE 1 | 92 | Row 2 Rows 2, 3 & 4 | substantive | Amend levels of containment Row 2 High/high should be no entry, level is unlikely to be permitted to enter in the first place because the pest risk analysis would indicate that the risk is too great. [row1] Risk of escape and establishment Consequence of escape and establishment Low Moderate High [row2] High PEQ2 PEQ 3 PEQ3 PEQ 4 PEQ4 no entry [row3] Moderate PEQ1 PEQ 2 PEQ2 PEQ 3 PEQ3 PEQ 4 [row4] Low PEQ1 PEQ 1 PEQ1 PEQ 2 PEQ2 PEQ 2 |  |
|  | ANNEX 1: TABLE 1 | 92 | Column 1 Column 2 | Substantive Substantive | Risk Likelihood of escape transfer and establishment Consequence of escape transfer and estblishment | Accurate use of language | PPPO |
|  | ANNEX 1: TABLE 1 | 92 | 1. Title 2. Row 1 3. Row 4, column 3 (moderate consequence of escape and establishment) | Technical Substantive | 1. Assignment Designation of PEQ containment 2. Change 'risk' to 'likelihood' 3. Change PEQ 1 to PEQ2 | 1. Clearer English 2. See para 91 3. See para 48 | EPPO |
|  | ANNEX 1: TEXT | 93 |  | Substantive | ...on specific biological characteristics that are relevant to transfer or escape of the organism that has been determined by risk analysis as likely to be present in the consignment. The level may also be based on a group of pests with similar biological characteristics (e.g. airborne fungi). | Refers to transfer to a suitable host as a prerequisite for establishment Notes that a PEQ facility can be established for groups of pests | Australia |
|  | ANNEX 1: TEXT | 93 |  | Substantive | Other approaches may be used to designate quarantine containment levels that are more directly based on specific biological characteristics of the organism likely to be present in the consignment or based a group of pests with similar biological characteristics (e.g. airborne fungi). | Containment is a defined term Application of phytosanitary measures in and around an infested area to prevent the spread of pest. the correct term here is probably “quarantine” official confinement of regulated articles for observation and research or for further inspection, testing and/or treatment. Notes that a PEQ facility can be established for groups of pests | PPPO |
|  | ANNEX 1: TEXT | 93 | Add new sentence and new table after sentence 1 | Substantive | For example, containment levels may be designated according to an evaluation of the potential means of dissemination of pests (see Table 2). Table 2: Designation of containment levels based on the means of pest escape (Table is in EPPO Extra...file) | An example of an alternative approach to designation of PEQ levels | EPPO, EC |
|  |  |  |  |  | Containment level Means of pest escape PEQ 1 Pests that can hardly be transmitted (e.g. pests transmitted by grafting only) PEQ 2 Pests that may escape only on solid items “exported” from a facility (e.g. via laboratory coats, hands, shoes, solid waste). PEQ 3 Pests that may also disseminate through water (e.g. via irrigation, wash basins). PEQ 4 Pests that are aerially transmitted (e.g. on dust, pollen, via spores) or disseminate naturally (e.g. insects). |  | EPPO, EC |
|  | APPENDIX 1: TITLE | 95 |  | Substantive | ...BY QUARANTINE CONTAINMENT LEVEL | Containment is a defined term Application of phytosanitary measures in and around an infested area to prevent the spread of pest. the correct term here is probably “quarantine” official confinement of regulated articles for observation and research or for further inspection, testing and/or treatment. | PPPO |
|  | APPENDIX 1: TITLE | 95 | Heading | Substantive | Summary of major requirements recommendations for PEQ facilities by containment level | This is an Appendix, which is not a prescriptive part of the standard, so requirements should be changed to recommendations throughout | EC , EPPO |
|  | APPENDIX 1: TITLE | 96 | Table | Technical Edit Subst. | Add: insect monitoring devices; security alarm; pest free growing medium Re waste water treatment for PEQ3 should be R. Add new item “growing médium” in Operational Requirements. Abbreviations should be na,O,R,R, R. | Also take those factors into account, which are mentioned in the text. Correction. Consistency with text. | China |
|  | APPENDIX 1: TITLE | 96 | Column 1 Column 4, Row 2 Definitions below table Physical requirements – new requirement | Substantive Substantive Substantive | Need to cover all requirements in the standard. Examples not covered: Sealed windows for PEQ2 PEQ3 Waste water treatment - all Solid waste treatment – all Requirement for backup of electricity Explanation required for exceptions Disposal protocols for infested/diseased material/consignments | Not all the requirements shown in the table are covered adequately in the standards Air-supply and security requirements would require a back-up for electricity R* does not explain what exceptions exist, and under what circumstances these exceptions exist Insert this requirement | Australia |
|  | APPENDIX 1: TITLE | 96 | Sub-heading to Column1 | Editorial Substantive Editorial Substantive | Physical requirements Operational requirements Physical requirements - footpath required for all PEQ levels: na, R, R, R,R - fencing around station around PEQ: R,R,R,R,O - moat is required for PEQ: O,R,R,R,O - Signage: R, R, R, R, R - Shower is required in: na, O, O, R, R Re waste water treatment for PEQ3 should be R not R* Add new item “growing médium” in Operational Requirements. Abbreviations should be na,O,R,R, R. | Redundant Correction. Consistency with text. | PPPO |
|  | APPENDIX 1: TITLE | 96 | Linea 2 de requisitos fisicos Linea 6 de requisitos fisicos | Translation | ventana resistentes a quebraduras antirrotura/materiales de invernadero puertas de bisagra autocerrable de cierre automático con llaves | Término más adecuado al español Término más adecuado al español | Costa Rica, Mexico |
|  | APPENDIX 1: TITLE | 96 | 1. 4th line physical requirements, column 4 (vestibule entrance, column PEQ2) 2. 14th physical requirement, column 4 (waste water treatment, PEQ2) 3. Table legend 4. Table legend | Technical | 1. For vestibule entrance, PEQ2, change R to O 2. For “waste water treatment, PEQ2”, change R to R*. 3. Change requirements to recommendations 4. Consider different wording for “required recommended, but exceptions exist”, | 1. See para 58 2. Inconsistent with the entry for PEQ3 3. This is an appendix, so requirements should be changed to recommendations. 4. The 4 PEQ levels are only now being defined through this ISPM, so how is a comparison with existing reality possible? | EPPO |
|  | APPENDIX 1: TITLE | 96 | 1. 1st row, heading of columns 2 to 6 2. 4 th line physical requirements, column 4 (vestibule entrance, column PEQ2) 3. 14th physical requirement, column 4 (waste water treatment, PEQ2) 4. Table legend 5. Table legend | Editorial Technical Technical Technical Technical | 1.PEQ Containment level and type of PEQ facility 2. For vestibule entrance, PEQ2, change R to O 3. For “waste water treatment, PEQ2”, change R to R*. 4. required recommended 5. Consider different wording for “required recommended, but exceptions exist”, | 1. Clarity 2. See para 58 3. Inconsistent with the entry for PEQ3 4. This is an appendix, so requirements should be changed to recommendations. 5. The 4 PEQ levels are only now being defined through this ISPM, so how is a comparison with existing reality possible? | EC |
|  | APPENDIX 1: TITLE | 96 |  | Editorial Substantive | Re waste water treatment for PEQ3 should be R. Add new item “growing médium” in Operational Requirements. Abbreviations should be na,O,R,R, R. | Correction. Consistency with text. | Korea (Republic of) |
|  | APPENDIX 1: TITLE | 96 | Third row – line 6, 7 and 8 | Editorial | Under Operational requirements: decontamination of equipment upon egress exit decontamination of implements upon egress exit hand washing upon egress exit | Replace the word “egress” with “exit” as it is more appropriate. For clarity and for consistency with the text in the Standard. | Canada |
|  | APPENDIX 1: TITLE | 96 | 14th item “waste water treatment” in the column of Physical requirements Add new item in the column of Operational requirements Add a new paragraph as the first paragraph or the header of the appendix | Editorial Substantive | Since abbreviation in the column of PEQ2 of waste water treatment is “R”, “R*” should be “R” in PEQ3. New requirement of “growing medium” should be added in Operational requirements. Abbreviation should be "na" for PEQ1（field site）, "O" for PEQ1（screen house, glasshouse, laboratory）and "R" for PEQ2 , PEQ3 and PEQ4 . This appendix is for reference purpose only and is not a prescriptive part of the standard. | See para [44] There is a description that all plants should be grown in pest-free growing medium in 1st para 3.2.3 operational requirments,PEQ2(para [61]).（see attachment） In accordance with "Criteria for the formation, content and subsequent change of supplements, annexes and appendices in ISPMs" adopted at CPM-1, each Appendix should clarify its status. | Japan |
|  | APPENDIX 1: TITLE | 96 |  |  | [see revised appendix 1 at end of this document] |  | Japan |
|  | APPENDIX 1: TITLE | 96 | Row 24, column 24 Column 1 row 25 | Editorial | Decontamination of equipment upon exit. decontamination of implements upon exit |  | Zambia |

Additional comment on Appendix 1 from Japan

Appendix 1

[95]	SUMMARY OF MAJOR REQUIREMENTS FOR PEQ FACILITIES

BY CONTAINMENT LEVEL

[96]

| Requirements | PEQ containment level and type of facility |
| --- | --- |
|  | PEQ1 | PEQ2 | PEQ3 | PEQ4 |
|  | field site | screen house glasshouse laboratory | screen house glasshouse laboratory | glasshouse laboratory | laboratory |
| Physical requirements |  |  |  |  |  |
| delineation of facility | R | R | R | R | R |
| breakage-resistant window/glasshouse materials | na | O | O | R | R |
| concrete floor | na | O | R | R | R |
| vestibule entrance | na | O | R | R | R |
| self-closing doors | na | O | O | R | R |
| self-locking doors | na | O | O | O | R |
| screen on openings such as air vents, drains | na | O | R | R | na |
| sealed windows | na | O | R* | R | R |
| all penetrations sealed | na | na | R* | R | R |
| negative air pressure | na | na | na | R* | R |
| air pressure gradient | na | na | na | O | R |
| HEPA filtration | na | na | na | R* | R |
| biological safety cabinet | na | na | O | O | R* |
| waste water treatment | O | O | R | R* R | R |
| solid waste treatment | R | R | R | R | R |
| backup source of electricity | na | O | O | R* | R |
| Operational requirements |  |  |  |  |  |
| good management practices | R | R | R | R | R |
| under NPPO or responsible authority | R | R | R | R | R |
| restricted access | R | R | R | R | R |
| protective clothing | O | O | R | R | R |
| decontamination of equipment upon egress | O | O | R | R | R |
| decontamination of implements upon egress | O | O | R | R | R |
| hand washing upon egress | O | O | R | R | R |
| shower out growing medium | na na | na O | na R | O R | R R |

na = not applicable; O = optional; R = required; R*= required, but exceptions exist.